STATE OF HAWAII
DEPARTMENT OF TRANSPORTATION
AIRPORTS DIVISION / OAHU DISTRICT

Daniel K. Inouye International Airport

MSA G1 Self-Contained Breathing Apparatus (SCBA)

May 27, 2022

SCOPE OF WORK:

Furnish and deliver the following good/s

5 each – Current NFPA Compliant MSA G1 4500 psi Self Contained Breathing Apparatus (SCBA) with a 45 min Cylinder, MSA G1 Facepiece.

Please see detailed descriptions below.

Guarantee, Standards & Warranty

The offer shall guarantee that the items being offered shall be clean, new, unused (no demonstration, sample, or display models), of the current production year and model. The items shall be in good working condition and free from defects in material, workmanship, and operation, and of the highest quality that is acceptable to the requesting agency. The construction and craftsmanship on each respective item shall be performed in accordance with the best standard industrial practice used in the manufacture of similar items. All items shall fit, match, and/or be compatible with the other items being offered without any alterations, modifications, or additional costs.

Apparatus shall be approved by National Institute for Occupational Safety and Health (NIOSH), under 42 CFR, Part 84 for chemical, biological, radiological, and nuclear protection (CBRN) with 30-, 45- or 60-minute-rated service life and compliant with all requirements of the National Fire Protection Association's 2018 Edition of NFPA-1981 Standard on Open-Circuit Self-Contained Breathing Apparatus.  Units equipped with integrated PASS devices must meet requirements of NFPA 1982, 2018 edition. Units equipped with an emergency egress system shall also comply with NFPA 1983 Standard on Fire Service Life Safety Rope and System Components, 2017 Edition; Type: Escape.  Units equipped with an accountability system must meet minimum requirements for FCC part 15 and part 90.

Warranties of product must be free from defects in materials and/or faulty workmanship for a period of fifteen (15) years from the date of delivery. The warranty must apply to all components of the SCBA including all accessories and optional equipment purchased and supplied at the time of the original sale. The warranty shall be limited to the repair or replacement, at bidder’s option, if components shown to be defective in either workmanship or materials.

Brand or Trade Name

Whenever a brand or manufacturer's name, designation or material appears in connection with the specified item, such name or designation indicates the standard of quality desired, and the reference shall follow applicable trademark or Copyright laws.

The Officer-In-Charge (O-I-C)

State of Hawaii, Department of Transportation - Airports Division, Airport Fire Chief or his designate.

Payments

Payment will be paid for all items delivered in whole. There will be no partial payments rendered for items delivered in portions.

Delivery/Received Dates

All items will be delivered in whole (one shipment) and delivery address within 90 days from the date notification (letter to proceed) is received by the vendor.

Delivery Address:

Daniel K. Inouye International Airport - FIRE STATION #1

51 Elliott Street

Honolulu, Hawaii 96819

If the entirety of order is not received within 60 days, the Airports Fire Chief reserves the absolute right to rescind purchase from selected vendor and award bid to the next lower bidder.  Any delivery extensions must be approved by the Airport Fire Chief or his designate.

Configuration and description of goods and service

Written price quote must be noted to include the items total cost, to include shipping and tax to the requested location.

Configuration and description of goods are as follows:

Self-Contained Breathing Apparatus / Harness Assembly Make: Mine Safety Appliances / MSA

Model: G1

ATO: A-G1FS441MA2Q0LA0

SYSTEM PRESSURE: 4500 PSIG - 4

CYLINDER CONNECTION: CGA Quick Connect Remote Connection - 4

HARNESS: Standard without Chest Strap - 1

CRADLE TYPE: Metal Band - M

LUMBAR TYPE: Adjustable Swivel Lumbar Pad - A

REGULATOR TYPE: Solid Cover Left Shoulder - 2

REGULATOR HOSE TYPE: Universal Quick Connect - Q

EMERGENCY BREATHING SUPPORT: None - 0

SPEAKER MODULE: Left Chest - L

PERSONAL ALERT SAFETY SYSTEM: PASS Right Shoulder - A

BATTERY TYPE: None – 0

Self-Contained Breathing Apparatus / Facepiece Make: Mine Safety Appliances / MSA

Model: G1

MSA G1 SCBA Facepiece

ATO: A-G1FPFM1M4C1

APPLICATION: FIRE - F

FACEBLANK SIZE: MEDIUM - M

FACEBLANK MATERIAL: HYDROCARBON - 1

NOSECUP: MEDIUM - M

HEAD HARNESS: 4 PT ADJUSTABLE - 4

NECK STRAP: CLOTH - C

REGULATOR CONNECTION: FIXED PUSH TO CONNECT - 1

Self-Contained Breathing Apparatus Breathing Air Cylinder, Assembly

Make: Mine Safety Appliances / MSA

Model: G1

10175714, Lightweight Carbon Cylinder 45 Min, 4500 psig. (less air)

10149702-SP Adapter, Quick Connect, 4500/5500

10158401- Retainer kit for 4500 psig, 45-min. cylinder (type 4 dovetail)