Home CPAP/APAP Machines

Specifications:

- Operating Modes:  CPAP, Auto CPAP

- Pressure Range: 4 to 20 cm H2O

- Pressure Increment: 0.5 cm H2O

- Dimensions & Weight:  Appropriate for Home Use

- Altitude Compensation:  Automatic

- Sound Level:  26 dBA (approximate or less)

- Compatible Tubing: 22 mm or 15 mm standard tubing, optional 12 mm heated tubing available

- Humidification: Integrated or Adaptive

- Filters: Disposable or reusable