Home CPAP/APAP Machines

Specifications:
1. Operating Modes:  CPAP, Auto CPAP
1. Pressure Range: 4 to 20 cm H2O
1. Pressure Increment: 0.5 cm H2O
1. Dimensions & Weight:  Appropriate for Home Use
1. Altitude Compensation:  Automatic
1. Sound Level:  26 dBA (approximate or less)
1. Compatible Tubing: 22 mm or 15 mm standard tubing, optional 12 mm heated tubing available
1. Humidification: Integrated or Adaptive
1. Filters: Disposable or reusable


