## Group II
CAPITOL CENTER BUILDING
Description | Manufacturer | Model No | Serial No | Capacity | UOM | Floor | Area Served | Physical Loc | Install Date
Air Handling Unit | Carrier | 39LF1153CA | 3491T18500 | 5840 | cfm | 1st | Total First Flr | Bsmt Fan Rm | 1992-01-01
Variable Air Volume Boxes | Tempmaster | S-7 |  |  | varies | 1st | 1st Flr Areas | 1st Flr Ceilings | 1996-12-01
Variable Drive | ABB |  |  |  | varies | 1st | 1st Flr Areas | Bsmt Fan Rm | 2011-07-21
Air Handling Unit | York | CS165SV | 15007 | 7000 | cfm | 2nd | Balance 2nd Flr | 2nd Flr Fan Rm | 1996-12-01
Air Handling Unit | Carrier | 39LB1081CA | 3491T18501 | 2685 | cfm | 2nd | 2nd Flr Mauka | DAGS Rm236 | 1992-01-01
Exhaust Fan - Inline | Greenheck | CSP-152 |  | 300 | cfm | 2nd | ICSD Room | ICSD Room | 1992-01-01
Variable Air Volume Boxes | Tempmaster | S-7 |  |  | varies | 2nd | 2nd Flr Areas | 2nd Flr Ceilings | 1996-12-01
Air Handling Unit | York | CS217SV | 15008 | 10400 | cfm | 3rd | Total Third Flr | 3rd Flr Fan Rm | 1996-12-01
Exhaust Fan - Inline | Greenheck | CSP-152 |  | 300 | cfm | 3rd | ICSD Room | ICSD Room | 1992-01-01
Variable Air Volume Boxes | Tempmaster | S-7 |  |  | varies | 3rd | 3rd Flr Areas | 3rd Flr Ceilings | 1996-12-01
Variable Drive |  | ABB |  |  | varies | 3rd | 3rd Flr Areas | Maech room | 2011-07-11
Air Handling Unit | York | CS217SV | 15009 | 9800 | cfm | 4th | Total Fourth Flr | 4th Flr Fan Rm | 1996-12-01
Exhaust Fan - Inline | Greenheck | CSP-152 |  | 300 | cfm | 4th | ICSD Room | ICSD Room | 1992-01-01
Exhaust Fan - Inline | Greenheck | BSQ-140 | 91H05738 | 750 | cfm | 4th | SLEO Lockers | SLEO Lckrs Clg | 1992-01-01
Variable Air Volume Boxes | Tempmaster | S-7 |  |  | varies | 4th | 4th Flr Areas | 4th Flr Ceilings | 1996-12-01
Variable Drive | ABB | ABB |  |  |  | 4th | 4th Flr Areas | Mech room | 1996-12-01
Air Handling Unit | York | CS217SV | 15010 | 10100 | cfm | 5th | Total Fifth Flr | 5th Flr Fan Rm | 1996-12-01
Exhaust Fan - Inline | Greenheck | CSP-152 |  | 300 | cfm | 5th | ICSD Room | ICSD Room | 1992-01-01
Variable Air Volume Boxes | Tempmaster | S-7 |  |  | varies | 5th | 5th Flr Areas | 5th Flr Ceilings | 1996-12-01
Variable Drive | ABB | ABB |  |  |  | 5th | 5th Flr Areas | Mech room | 2011-07-11
Air Handling Unit | York | CS217SV | 15011 | 10700 | cfm | 6th | Total Sixth Flr | 6th Flr Fan Rm | 1996-12-01
Exhaust Fan - Inline | Greenheck | CSP-152 |  | 300 | cfm | 6th | ICSD Room | ICSD Room | 1992-01-01
Variable Air Volume Boxes | Tempmaster | S-7 |  |  | varies | 6th | 6th Flr Areas | 6th Flr Ceilings | 1996-12-01
Variable Drive | ABB | ABB |  |  | varies | 6th | 6th Flr Areas | 6th Flr Ceilings | 2011-07-11
Air Handling Unit | York | CCPY12AYS |  | 940 | cfm | Bsmt | Elev Mach Rm | Custodial Rm | 1996-12-01
Air Handling Unit | Carrier | 39LD1103CA | 3491T18502 | 4320 | cfm | Bsmt | Basement Flr | Bsmt Fan Rm | 1992-01-01
Chilled Water Pump | Aurora | 321 |  | 10 | gpm | Bsmt | Bsmt HECo Rm | Bsmt HECo Rm | 1992-01-01
Chilled Water Pump | Paco | LC10-15957 | 796-05-1 | 130 | gpm | Bsmt | Total Building | Bsmt Mech Rm | 1996-12-01
Chilled Water Pump | Paco | LC10-15957 | 796-05-2 | 130 | gpm | Bsmt | Total Building | Bsmt Mech Rm | 1996-12-01
Compressor/Chiller Unit | Carrier | 30HL060-570 | 3694J07878 | 60 | ton | Bsmt | Total Building | Bsmt Mech Rm | 1994-11-01
Compressor/Chiller Unit | Carrier | 30HL060-570 | 3594J07849 | 60 | ton | Bsmt | Total Building | Bsmt Mech Rm | 1994-11-01
Exhaust Fan - Inline | Greenheck | CSP-152 | 5539 | 240 | cfm | Bsmt | Bsmt Toilets | Bsmt Corr Clg | 1992-01-01
Exhaust Fan - Inline | Greenheck | BSQ-160-7 | 96105837 | 2500 | cfm | Bsmt | Bsmt Mech Rm | Bsmt Mech Rm | 1996-12-01
Fan Coil Unit | Carrier | 42BHB08DC | 1513I28059 | 800 | cfm | Bsmt | Bsmt HECo Rm | Bsmt HECo Rm | 1992-01-01
Variable Air Volume Units | Tempmaster | S-7E | AHU 1-1 |  | varies | Bsmt | Basement Flr | AHU Room
Air -Cooled Chiller | Trane | CGAFC504AHA07 | C04G06725 |  |  | Roof | Total Building | Roof | 1905-06-26
Air Handling Unit | York | YVP44MP | AHEM002481 | 6400 | cfm | Roof | Precon Fresh Air | Roof | 1996-12-01
Air-Cooled Condenser | Trane | CAUCC60G2L0300 | C04G06273 | 60 | ton | Roof | Total Building | Roof
Air-Cooled Condenser | Trane | CAUCC60G2L0301 | C04G06724 | 60 | ton | Roof | Total Building | Roof
Chilled Water Pump | Aurora | G74262 |  |  |  | Roof | Total Building | Roof
Exhaust Fan - Utility Set/Tilt | Loren Cook | 195CPV | 109035106 | 3750 | cfm | Roof | Bldg Toilets | Roof | 1994-01-01
Pre-Cooler AHU | McQuay |  |  | 100 | ton | Roof | Tot. Bldg. | Roof | 1974-01-01
KAM V (POST OFFICE) BUILDING
Description | Manufacturer | Model No | Serial No | Capacity | UOM | Floor | Area Served | Physical Loc | Install Date
Exhaust Fan | Greenheck | GB-160-4 |  | 1345 | cfm | 1&2 | Toilets | Roof | 1994-01-01
Air Handling Unit | Carrier | 39LB08 |  | 3095 | cfm | 1st | Perform. Area | Wom Tlt Clg Sp | 1994-01-01
Air-Cooled Condensing Unit | Carrier | 38AE014-5 |  | 12 | ton | 1st | Perform. Area | Roof | 1994-01-01
Air-Cooled Condensing Unit | Carrier | 38TKB060-3 |  | 5 | ton | 1st | Off/Dres'g Area | Roof | 1994-01-01
Air-Cooled Condensing Unit | Carrier | 38TKB030-3 |  | 2 | ton | 1st | Foyer | Roof | 1994-01-01
Fan Coil Unit | Carrier | FB4ANA060 |  | 1580 | cfm | 1st | Off/Dres'g Area | Men Tlt Clg Sp | 1994-01-01
Fan Coil Unit | Carrier | FB4ANA030 |  | 810 | cfm | 1st | Foyer | Foyer Clg Sp | 1994-01-01
Air-Cooled Condensing Unit | Carrier | 38KB012-3 |  | 0.7 | ton | 2nd | Storage Vault | Roof | 1994-01-01
Fan Coil Unit | Carrier | 42KB012-3 |  | 400 | cfm | 2nd | Storage Vault | Storage Vault | 1994-01-01
Packaged Air Conditioning Unit | Carrier | 50HJ25G560YA | 1399F08457 | 25 | ton | M&2 | Mezz & 2nd Flr | Roof | 1999-07-01
Variable Air Volume Units | Tempmaster | type S-7 |  |  | cfm | M&2 | Mezz & 2nd Flr | M & 2 Clg Sp | 1994-01-01
KEKAULUOHI BUILDING
Description | Manufacturer | Model No | Serial No | Capacity | UOM | Floor | Area Served | Physical Loc | Install Date
Air Handling Unit | Carrier | 39LB-10-31AB1921-T | 4392T28557 |  | cfm | 1st | Various 1st Flr | Work Room #2 | 1993-04-01
Air Handling Unit | Carrier | 39LT-10-31AB1921-S | 4392T28558 |  | cfm | 1st | Various 1st Flr | Work Room #2 | 1993-04-01
Air Handling Unit | Carrier | 39LA103 | 4392T28559 |  | cfm | 1st | Reference Room | Ceiling Space | 1993-04-01
Air Handling Unit | Carrier | 39LA-1031CA1921-R | 4392T28560 |  | cfm | 1st | Various 1st Flr | Library (Public Area) | 1993-04-01
Air Handling Unit | Carrier | 39LA-03-28561 | 4392T28561 |  | cfm | 1st | Various 1st Flr | Work Room #1 | 1993-04-01
Fan Coil Unit | Carrier | 42BH08LD | 2513128080 |  | cfm | 1st | Microphone Room | Ceiling Space | 1993-04-01
Fan Coil Unit | Carrier | 42BH08LD | 2513128080 |  | cfm | 1st | Reference Room | Ceiling Space | 1993-04-01
Fan Coil Unit | Carrier | 42BH08LD | 2513128080 |  | cfm | 1st | Reference Room | Ceiling Space | 1993-04-01
Fan Coil Unit | Carrier | 42BHB12LD | 2513128080 |  | cfm | 1st | Lobby | Ceiling Space | 1993-04-01
Fan Coil Unit | Carrier | 42BHB12LD | 2513128080 |  | cfm | 1st | Lobby | Ceiling Space | 1993-04-01
Fan Coil Unit | Carrier | 42BHB08LD | 2513128080 |  | cfm | 1st | Admin Room | Ceiling Space | 1993-04-01
Fan Coil Unit | Carrier | 42BHB08LD4 | 2513128080 |  | cfm | 1st | Admin Room | Ceiling Space | 1993-04-01
Packaged Chiller Unit - Air-Cooled | McQuay | AGZ029A |  | 28.3 | ton | 1st | Total 1st Flr | Slab Enclosure | 2005-03-18
Chilled Water Pump | Aurora | 341A |  |  | gpm | 1st | Total 1st Flr | Slab Enclosure | 1993-04-01
Fan Coil Unit | Carrier | 42DD8AAL | 6513087192 |  | cfm | 2nd | Various 2nd Flr | Near Ceiling
Fan Coil Unit | Carrier | 42DD8AAR | 65138087192 |  | cfm | 2nd | Various 2nd Flr | Near Ceiling
Fan Coil Unit | Carrier | 42DD1AAR | 65138087192 |  | cfm | 2nd | Various 2nd Flr | Near Ceiling
Fan Coil Unit | Carrier | 42DD8AAR | 6513087192 |  | cfm | 2nd | Various 2nd Flr | Near Ceiling
Fan Coil Unit | Carrier | 42DD8AAR | 6513087192 |  | cfm | 2nd | Various 2nd Flr | Near Ceiling
Air-Cooled Condenser | Carrier | 39EH19 |  | 25 | ton | Bsmt | Bsmt & 2nd Flr | Bsmt Fan Rms | 1987-01-01
Air-Cooled Condenser | Carrier | 39EH19 |  | 25 | ton | Bsmt | Bsmt & 2nd Flr | Bsmt Fan Rms | 1987-01-01
Compressor/Chiller Unit | Carrier | 5H46164 |  | 21 | ton | Bsmt | Bsmt & 2nd Flr | Bsmt Mech Rm | 1987-01-01
Compressor/Chiller Unit | Carrier | 5H46164 |  | 21 | ton | Bsmt | Bsmt & 2nd Flr | Bsmt Mech Rm | 1987-01-01
Inline Fan |  | A10AG0AB |  |  | cfm | Bsmt |  |  | 1987-01-01
Fan Coil Unit | Carrier | 42DD4AAR | 6513087192 |  | cfm | Bsmt | Var Bsmt Flr | Near Ceiling
Fan Coil Unit | Carrier | 42DD4AAR | 6513087193 |  | cfm | Bsmt | Var Bsmt Flr | Near Ceiling
Fan Coil Unit | Carrier | 42DD4AAR | 6513087194 |  | cfm | Bsmt | Var Bsmt Flr | Near Ceiling
Fan Coil Unit | Carrier | 42DD4AAR | 6513087195 |  | cfm | Bsmt | Var Bsmt Flr | Near Ceiling
Chilled Water Pump |  | A10BG0A |  | 50 | gpm | Bsmt | Bsmt & 2nd Flr | Bsmt Mech Rm | 1987-01-01
Chilled Water Pump |  | A10BG0A |  | 50 | gpm | Bsmt | Bsmt & 2nd Flr | Bsmt Mech Rm | 1987-01-01
KINAU HALE
Description | Manufacturer | Model No | Serial No | Capacity | UOM | Floor | Area Served | Physical Loc | Install Date
Air Handling Unit | Carrier | 39ED08S |  |  |  | 1st | Gen Offices | Fan Room | 1993-04-01
Air Handling Unit | Carrier | 40RMS024 | 2402F59733 | 10000 | cfm | 1st | Offices | DH Mechanical Room | 2002-10-22
Air-Cooled Condenser | Carrier | 39NX491 | 5192T28760 |  |  | 1st | Total Building | Fan Room | 1993-04-01
Air-Cooled Condenser | Carrier | 39NX491 | 5192T28758 |  |  | 1st | Total Building | Fan Room | 1993-04-01
Air-Cooled Condenser | Carrier | 39NX491 | 5192T28759 |  |  | 1st | Total Building | Fan Room | 1993-04-01
Air-Cooled Condenser | Carrier | 39NX491 | 5192T28749 |  |  | 1st | Total Building | Fan Room | 1993-04-01
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Mitsubishi | PK30G6 |  | 2.5 | ton | 1st | Gen Offices | Ab Win Overhg
Air-Cooled Condensing Unit | Trane | RUA810 | type#691-20 |  |  | 1st | Vital Records | Bsmt Vault
Air-Cooled Condensing Unit | Carrier | 38HDC018C300 |  | 1.5 | ton | 1st | 1st Floor Vault | Outside Slab | 2002-10-22
Chilled Water Pump | Jacuzzi | B20EM4 |  |  |  | 1st | Total Building | Mech Room
Chilled Water Pump | Jacuzzi | B20EM4 |  |  |  | 1st | Total Building | Mech Room
Compressor/Chiller Unit | Carrier | 30HS120-D | 4792I05254 | 100 | ton | 1st | Total Building | Mech Room | 1993-04-01
Compressor/Chiller Unit | Carrier | 30HS120-D | 4992J05272 | 100 | ton | 1st | Total Building | Mech Room | 1993-04-01
Exhaust Fan - Inline | Greenheck | BSQ-100 |  |  |  | 1st |  | Mech Room | 1993-04-01
Fan Coil Unit - Ductless | Mitsubishi | PK30EK | 21000383C | 2.5 | ton | 1st | Gen Offices | Rm. 123
Fan Coil Unit - Ductless | Mitsubishi | PK30EK | 21000380C | 2.5 | ton | 1st | Gen Offices | Rm. 122
Fan Coil Unit - Ductless | Mitsubishi | PK30EK | 21000384C | 2.5 | ton | 1st | Gen Offices | Rm. 122
Fan Coil Unit - Ductless | Mitsubishi | PK30AK |  | 2.5 | ton | 1st | Gen Offices | Gen Offs Walls
Fan Coil Unit - Ductless | Mitsubishi | PK30AK | 210003920 | 2.5 | ton | 1st | Gen Offices | Ewa Makai Corner
Fan Coil Unit - Ductless | Mitsubishi | PK30EK | 21000264C | 2.5 | ton | 1st | Gen Offices | Rm. 105
Fan Coil Unit - Ductless | Mitsubishi | PK30AK | N/A | 2.5 | ton | 1st | Gen Offices | Rm. 107
Fan Coil Unit - Ductless | Mitsubishi | PK30AK |  | 2.5 | ton | 1st | Gen Offices | Gen Offs Walls
Fan Coil Unit - Ductless | Mitsubishi | PK30AK |  | 2.5 | ton | 1st | Gen Offices | Gen Offs Walls
Fan Coil Unit - Ductless | Magicaire | DHX-600-A | M020737930 |  |  | 1st | 1st Floor Vault | Vital Records Vault | 2002-10-22
Fan Coil Unit - Ductless | Carrier | 40QAC048 | 2406V23152 |  |  | 1st | Front Entrance | Vital Records Issuance Section
Fan Coil Unit - Ductless | Carrier | 40QAB048321 | 4904V19928 |  |  | 1st | Office of Planning Policy & Prgram Dev | Rm. 120
Fan Coil Unit - Ductless | Carrier | 40QAB036321 | 1305V20737 |  |  | 1st | Gen offices | Rm. 119
In Line Fan | Kanalflakt | K6XLSPECIAL 230V | 734881 |  |  | 1st | Office of Planning Policy & Prgram Dev | Room 120
In Line Fan | Kanalflakt | K6XLSPECIAL 230V | 706391 |  |  | 1st | Office of Planning Policy & Prgram Dev | Room 120
KINAU HALE (continued)
Description | Manufacturer | Model No | Serial No | Capacity | UOM | Floor | Area Served | Physical Loc | Install Date
Fan Coil Unit | Trane | BCHB0901E | T00J812? | 2500 | cfm | 2nd | Gen Offices | Gen Offs nr Clg | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81279 | 2500 | cfm | 2nd | Gen Offices | Room 205 | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81292 | 2500 | cfm | 2nd | Gen Offices | Room 214 | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81305 | 2500 | cfm | 2nd | Gen Offices | Room 266 | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81287 | 2500 | cfm | 2nd | Gen Offices | Room 262 | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81282 | 2500 | cfm | 2nd | Gen Offices | Room 250 | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81295 | 2500 | cfm | 2nd | Gen Offices | Room 256 | 2001-02-01
Fan Coil Unit - Ductless | Magicaire | 60-BHW-6-A | 981169893 |  |  | 2nd | Gen Offices | Room 210
Fan Coil Unit - Ductless | Mitsubishi | PK18EK | 53G00557B |  |  | 2nd | Gen Offices | Room 256
Air Handling Unit | Trane | BCVB0901ED0A | T00J81308 |  |  | 3rd | General Offices | DH mauka end of bldg
Fan Coil Unit | Trane | BCHB0901E | T00J81300 | 2100 | cfm | 3rd | Gen Offices | Rm. 307 - Ewa End | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81302 | 2100 | cfm | 3rd | Gen Offices | Rm. 310 | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81195 | 2100 | cfm | 3rd | Gen Offices | Rm. 307 - DH End | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81306 | 2100 | cfm | 3rd | Administrative Services | Rm. 310 | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81307 | 2100 | cfm | 3rd | Gen Offices | DH Mauka Corner | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81304 | 2100 | cfm | 3rd | Gen Offices | Gen Offs nr Clg | 2001-02-01
Fan Coil Unit | Trane | BCHB0901E | T00J81303 | 2100 | cfm | 3rd | Gen Offices | DH End Hallway near exit door | 2001-02-01
Air Handling Unit | Trane | BCHB0901FD0A13 | T01C32059A | 2800 | cfm | 4th | Gen Offices 418-422 | Rm 422 nr Clg | 2001-07-26
Air Handling Unit | Carrier | 39LA08AA | 2503F3864A | 3500 | cfm | 4th | Conf 423 Gen Off 424, 427 | Storage rm. Behind AC2 Panel/ Mauka of hallwy | 2003-11-01
Air Handling Unit | Carrier | 39LA12AA | 2503F38642 | 5200 | cfm | 4th | Conf 436 Gen Off 435, 441 | Through Room 437 door | 2003-11-01
Air Handling Unit | Carrier | 39LA10AA | 2503F38651 | 4500 | cfm | 4th | Conf 461 Gen Offs 453, 454, 457, 460 | Room 458 - Storage Room | 2003-11-01
Air Handling Unit | Carrier | 39B15AA-AN-AJN-19 | 2503F38641 | 6000 | cfm | 4th | Gen Off 403, 405,463, 466, 468 | Rm 462 nr Clg | 2003-11-01
Packaged Air Conditioning Unit | General Electric | BTC024B1 | 27660I829 |  |  | 4th |  | Roof
Variable Air Volume Boxes | [5 empty] | 4th
Air-Cooled Condensing Unit | Carrier | 38AKS016 |  | 15 | ton | Bsmt | Basement | Outside Slab | 2002-10-22
Air-Cooled Condensing Unit | Carrier | 38HDC018C300 |  | 1.5 | ton | Bsmt | Basement Vault | Outside Slab | 2002-10-22
Exhaust Fan | Greenheck |  |  |  |  | Bsmt | Print Room
Fan Coil Unit - Ductless | Carrier | 40RM016 | 2302F58286 |  |  | Bsmt | Gen Offices | 1 Door EWA of HISO
Fan Coil Unit - Ductless | Carrier | 40RMQ016 | 2302F58286 | 5000 | cfm | Bsmt | Basement | Ewa Mauka Corner of Bldg | 2002-10-22
Fan Coil Unit - Ductless | Magicaire | DHX-600-A | W020737918 | 600 |  | Bsmt | Basement Vault | Basement Vault | 2002-10-22
Fan Coil Unit - Ductless | Mitsubishi | PK36GK | 31G0068B |  |  | Bsmt | Basement | Computer Room
Fan Coil Unit - Ductless | Mitsubishi | PK36GK | 31G0074B |  |  | Bsmt | Basement | Computer Room
Packaged Air Conditioning Unit | General Electric |  |  |  |  | Bsmt | Print Room
Exhaust Fan | Penn | CB330 |  |  |  | Roof |  | Roof
Exhaust Fan | Penn | CB330 |  |  |  | Roof |  | Roof
Exhaust Fan | [5 empty] | Roof |  | Roof
Exhaust Fan | [5 empty] | Roof |  | Roof
OR&L
Description | Manufacturer | Model No | Serial No | Capacity | UOM | Floor | Area Served | Physical Loc | Install Date
Air Handler Unit -1 | McQuay | CAH010FDAC |  | 4400 | cfm | 1st | North Wing | N. Mech. Rm. | 2002-09-01
Air Handler Unit -2 | McQuay | CAH010FDAC |  | 4500 | cfm | 1st | West Wing | W. Mech. Rm. | 2002-09-01
Ceiling Cab Exh Fan-1 | Greenheck | SP-262 |  | 650 | cfm | 1st | Mens Tlt-124 | Mens Tlt-Clg | 2002-09-01
Ceiling Cab Exh Fan-2 | Greenheck | SP-262 |  | 650 | cfm | 1st | Womens Tlt-125 | Womens Tlt-Clg | 2002-09-01
Ceiling Cab Exh Fan-3 | Greenheck | SP-218 |  | 120 | cfm | 1st | Toilet-119 | Toilet-Clg | 2002-09-01
Ceiling Cab Exh Fan-7 | Greenheck | SP-218 |  | 120 | cfm | 1st | Toilet | Toilet-Clg | 2002-09-01
Chilled Water Pump | Paco | 10-15959 |  | 124 | gpm | 1st | Total Building | Outside Encl | 2002-09-01
Inline Cab Exh Fan-4 | Greenheck | BSQ-120-4 |  | 1200 | cfm | 1st | Elec Room | Stor Rm-Clg | 2002-09-01
Packaged Air-Cool Chiller | McQuay | AGR080AS |  | 50 | ton | 1st | Total Building | Outside Encl | 2002-09-01
VAV Terminal Units | Titus | AESV |  |  | varies | 1st | Various Ofcs | Ofcs Clg Spaces | 2002-09-01
Air Handler Unit -3 | McQuay | CAH010FDAC |  | 4500 | cfm | 2nd | North Wing | N. Mech. Rm. | 2002-09-01
Air Handler Unit -4 | McQuay | CAH012FDAC |  | 5700 | cfm | 2nd | West Wing | W. Mech. Rm. | 2002-09-01
Ceiling Cab Exh Fan-5 | Greenheck | SP-264 |  | 950 | cfm | 2nd | Mens Tlt-204 | Mens Tlt-Clg | 2002-09-01
Ceiling Cab Exh Fan-6 | Greenheck | SP-264 |  | 950 | cfm | 2nd | Womens Tlt-205 | Womens Tlt-Clg | 2002-09-01
VAV Terminal Units | Titus | AESV |  |  | varies | 2nd | Various Ofcs | Ofcs Clg Spaces | 2002-09-01
PLANT QUARANTINE STATION
Description | Manufacturer | Model No | Serial No | Capacity | UOM | BLDG | Area Served | Physical Loc | Install Date
Air Handling Unit | Climatrol | UFJ084000U | 85F70E1174 |  | cfm | A | Administration | Ab Clg Copy Rm
Air Handling Unit | Climatrol | UFJ084000U | 85F70E1175 |  | cfm | A | Spec. Office | Ab Hall Clg
Air-Cooled Condensing Unit | Carrier | 38TE024300 | K959061 | 2 | ton | A | Old Lab | Outside Slab | 1993-07-01
Air-Cooled Condensing Unit | Trane | TTA090A300BA | G30198206 | 7.5 | ton | A | Spec. Office | Outside Slab
Air-Cooled Condensing Unit | Trane | TTA090A300CA | J04198474 | 7.5 | ton | A | Administration | Outside Slab | 1994-05-01
Air-Cooled Condensing Unit | Trane | TTA120A300AA | F41192904 | 10 | ton | A | Conf Rm 161 | Outside Slab | 1992-12-01
Air-Cooled Condensing Unit | Trane | TTD748B100AO | E22212753 | 4 | ton | A | Plt Ins-New Lab | Outside Slab | 1992-12-01
Fan Coil Unit | Carrier | 40AS030330 | A9A74753 |  | cfm | A | Old Lab | Ab Old Lab Clg
Fan Coil Unit | Trane | TWE048C14080 | F28811582 |  | cfm | A | Plt Ins-New Lab | Ab New Lab Clg | 1992-12-01
Fan Coil Unit | Trane | TWE090A |  |  | cfm | A | Conf Rm 161 | Mech Room | 1992-12-01
Air Handling Unit | Carrier | 39M21 |  | 10500 | cfm | M | NW Area Bldg | Mech Room | 2002-07-01
Air Handling Unit | Carrier | 39M21 |  | 10500 | cfm | M | SE Area Bldg | Mech Room | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-024-3 |  | 2 | ton | M | Sm Vol Cal Rm | Outside Slab | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-036-5 |  | 3 | ton | M | Sm Mass Lab | Outside Slab | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-036-5 |  | 3 | ton | M | Lg Vol Cal Rm | Outside Wall Supp | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-036-5 |  | 3 | ton | M | Lg Vol Cal Rm | Outside Wall Supp | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-060-5 |  | 5 | ton | M | Lg Mass Lab | Outside Wall Supp | 2002-07-01
Air-Cooled Condensing Unit | Mitsubishi |  |  | 0.5 | ton | M | Coffee Roast | Outside Slab | 2002-07-01
Air-Cooled Condensing Unit | Mitsubishi |  |  | 1 | ton | M | Computer Rm | Outside Slab | 2002-07-01
Cab Ceiling Exh Fan | Greenheck | SP-224 |  | 150 | cfm | M | Storage Room | Storage Rm Clg | 2002-07-01
Cab Ceiling Exh Fan | Greenheck | SP-224 |  | 150 | cfm | M | Janitor Room | Janitor Rm Clg | 2002-07-01
Cab In-line Exh Fan | Greenheck | CSP-258 |  | 540 | cfm | M | M&W Tlts | Entryway Clg | 2002-07-01
Cab In-line Exh Fan | Greenheck | CSP-264 |  | 950 | cfm | M | M&W Tlts & Shwr | Women Tlt Clg | 2002-07-01
Countertop Fume Hood | Labconco | 47 |  |  |  | M | Package Lab | Package Lab | 2002-07-01
Dehumidifier | Cargocaire | HC-300 |  | 9.1 | #/hr | M | Sm Mass Lab | Sm Mass Lab Clg | 2002-07-01
Dehumidifier | Cargocaire | HC-300 |  | 9.1 | #/hr | M | Lg Mass Lab | Lg Mass Lab Clg | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 24BHX |  | 800 | cfm | M | Sm Vol Cal Rm | Sm Vol Cal Clg | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 36BHX |  | 1200 | cfm | M | Sm Mass Lab | Sm Mass Lab Clg | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 36BHX |  | 1200 | cfm | M | Lg Vol Cal Rm | Lg Vol Cal Clg | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 36BHX |  | 1200 | cfm | M | Lg Vol Cal Rm | Lg Vol Cal Clg | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 60BHX |  | 2000 | cfm | M | Lg Mass Lab | Lg Mass Lab Clg | 2002-07-01
Ductless Fan Coil Unit | Mitsubishi | MS09TW |  | 215 | cfm | M | Coffee Roast | Coffee Roast | 2002-07-01
Ductless Fan Coil Unit | Mitsubishi | MS12TN |  | 480 | cfm | M | Computer Rm | Computer Rm | 2002-07-01
Roof Exh Fan | Greenheck | GB-141 |  | 1100 | cfm | M | Electric Room | Roof | 2002-07-01
Roof Outside Air Fan | Greenheck | RSFP-90-7 |  | 1800 | cfm | M | Coffee Roast Rm | Roof | 2002-07-01
Upblast Roof Exh Fan | Greenheck | CUBE-141 |  | 1925 | cfm | M | Coffee Room | Roof | 2002-07-01
Upblast Roof Exh Fan | Greenheck | CUBE-141HP |  | 1000 | cfm | M | Food Lab | Roof | 2002-07-01
Variable Air Volume BoxesAA214:J259 | Carrier | 35EA |  |  | varies | M | Various Areas | Various Clg Sps | 2002-07-01
PLANT QUARANTINE STATION (continued)
Description | Manufacturer | Model No | Serial No | Capacity | UOM | BLDG | Area Served | Physical Loc | Install Date
Air Handling Unit | Carrier | 39M21 |  | 9000 | cfm | P | S Area Bldg | Mech Room | 2002-07-01
Air Handling Unit | Carrier | 39M21 |  | 9000 | cfm | P | NE Area Bldg | Mech Room | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-024-3 |  | 2 | ton | P | Entomology Lab | Outside Slab | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-024-3 |  | 2 | ton | P | Animal Hld Rept | Outside Slab | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-048-3 |  | 4 | ton | P | Animal Hld Mam | Outside Slab | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-060-5 |  | 5 | ton | P | Conf Rm West | Outside Slab | 2002-07-01
Air-Cooled Condensing Unit | Carrier | 38HDC-060-5 |  | 5 | ton | P | Conf Rm East | Outside Slab | 2002-07-01
Air-Cooled Condensing Unit | Mitsubishi |  |  | 1 | ton | P | Computer Rm | Outside Slab | 2002-07-01
Cab In-line Exh Fan | Greenheck | CSP-258 |  | 1460 | cfm | P | M&W Tlts | Women Tlt Clg | 2002-07-01
Cab In-line Exh Fan | Greenheck | CSP-265 |  | 1340 | cfm | P | M&W Tlts & Shwr | Women Tlt Clg | 2002-07-01
Chilled Water Pump | Taco | 11-25123 |  | 280 | gpm | P | Total Complex | Chiller Room | 2002-07-01
Chilled Water Pump | Taco | 11-30127 |  | 280 | gpm | P | Total Complex | Chiller Room | 2002-07-01
Countertop Fume Hood | Labconco | 47 |  |  |  | P | Entom Lab Stor | Entom Lab Stor | 2002-07-01
Dual Screw Chiller (R-134A) | Carrier | 30HXA-106 |  | 100 | ton | P | Total Complex | Chiller Room | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 24BHX |  | 800 | cfm | P | Entomology Lab | Entomology Lab | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 24BHX |  | 800 | cfm | P | Animal Hld Rept | Animal Hld Rept | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 48BHX |  | 1600 | cfm | P | Animal Hld Mam | Animal Hld Mam | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 60BHX |  | 2000 | cfm | P | Conf Rm West | Conf Rm West | 2002-07-01
Ducted Fan Coil Unit | Magic Aire | 60BHX |  | 2000 | cfm | P | Conf Rm East | Conf Rm East | 2002-07-01
Ductless Fan Coil Unit | Mitsubishi | MS12TN |  | 480 | cfm | P | Computer Rm | Computer Rm | 2002-07-01
Evaporative Condenser | Frigid Coil | YEC-5-121 |  | 100 | ton | P | Total Complex | Outside Encl | 2002-07-01
Roof Exh Fan | Greenheck | GB-080 |  | 450 | cfm | P | Animal Hld Rept | Roof | 2002-07-01
Roof Exh Fan | Greenheck | GB-101 |  | 800 | cfm | P | Animal Hld Mam | Roof | 2002-07-01
Roof Exh Fan | Greenheck | GB-141 |  | 1400 | cfm | P | Electric Room | Roof | 2002-07-01
Roof Exh Fan | Greenheck | GB-141 |  | 1500 | cfm | P | Chiller Room | Roof | 2002-07-01
Roof Exh Fan | Greenheck | GB-141 |  | 1500 | cfm | P | Misting Room | Roof | 2002-07-01
Roof Exh Fan | Greenheck | GB-141 |  | 1600 | cfm | P | General Storage | Roof | 2002-07-01
Upblast Roof Exh Fan | Greenheck | CUBE-101 |  | 800 | cfm | P | Entom Stor Rm | Roof | 2002-07-01
Upblast Roof Exh Fan | Greenheck | CUBE-141HP |  | 1000 | cfm | P | Autoclave | Roof | 2002-07-01
Variable Air Volume Boxes | Carrier | 35EA |  |  | varies | P | Various Areas | Various Clg Sps | 2002-07-01
Countertop Fume Hood | Labconco | 47 |  |  |  | V | Engine Room | Engine Room | 2002-07-01
Outside In-line Air Fan | Greenheck | CSP-7 |  | 100 | cfm | V | EngRm&WkSp | Work Shop | 2002-07-01
Upblast Roof Exh Fan | Greenheck | CUBE-080 |  | 235 | cfm | V | Storage | Roof | 2002-07-01
Upblast Roof Exh Fan | Greenheck | CUBE-095 |  | 350 | cfm | V | Fuel Storage | Roof | 2002-07-01
Upblast Roof Exh Fan | Greenheck | CUBE-101HP |  | 460 | cfm | V | Maintenance Rm | Roof | 2002-07-01
Upblast Roof Exh Fan | Greenheck | CUBE-131 |  | 1280 | cfm | V | Engine Room | Roof | 2002-07-01
Window AC Unit | Carrier | GCA101B |  | 1 | ton | V | Work Shop | Work Shop Wall | 2002-07-01
Window AC Unit | Carrier | JCA243D |  | 2 | ton | V | Engine Room | Engine Rm Wall | 2002-07-01
WASHINGTON PLACE MUSEUM
Description | Manufacturer | Model No | Serial No | Capacity | UOM | Floor | Area Served | Physical Loc | Install Date
Air Handling Unit | Trane | TWO48B14A | E27563305 |  | cfm | 1st | Main Dining Rm | Outside Slab | 1991-01-01
Air-Cooled Condensing Unit | Carrier | 38VE005300 | C963502 |  | ton | 1st | Main Dining Rm | Outside Slab
Air Handling Unit | Carrier |  |  |  | cfm | 2nd | Family Room |  | 1988-01-01
Air-Cooled Condensing Unit | Trane | TTX724A100A | P36263859 | 2 | ton | 2nd | Master Bedrm | 2nd Flr Roof | 1990-01-01
Air-Cooled Condensing Unit | Carrier | 38ED042300 |  |  | ton | 2nd | Family Room | Roof | 1988-01-01
Air-Cooled Condensing Unit | Carrier | 38CKB018-310 |  | 1.5 | ton | 2nd | Bedroom | Roof
Air-Cooled Condensing Unit | Mitsubishi | PU18G6US |  |  | ton | 2nd | Study | Roof | 1988-01-01
Air-Cooled Condensing Unit | Sanyo | SAP243C |  |  | ton | 2nd | Fam Dining Rm | Outside Slab | 1988-01-01
Air-Cooled Condensing Unit | Carrier | 38CKB048-300 |  | 4 | ton | 2nd | 3 Bedrooms | Roof
Fan Coil Unit | Carrier | FB4ANF-048 |  |  | cfm | 2nd | 3 Bedrooms | Attic
Fan Coil Unit | Trane | TWH724A140A |  |  | cfm | 2nd | Master Bedrm |  | 1990-01-01
Fan Coil Unit | Carrier | FB4ANF-018 |  |  | cfm | 2nd | Bedroom | Attic
Fan Coil Unit | Sanyo |  |  |  | cfm | 2nd | Fam Dining Rm |  | 1988-01-01
Fan Coil Unit - Ductless | Mitsubishi | PK18AG6US |  |  | cfm | 2nd | Study |  | 1988-01-01
Window Air Conditioning Unit | Carrier | AGA1081 |  | 0.7 | ton | 2nd | Master Bathrm | Window | 1991-01-01
WASHINGTON PLACE RESIDENCE
Description | Manufacturer | Model No | Serial No | Capacity | UOM | Floor | Area Served | Physical Loc | Install Date
Air-Cooled Condensing Unit | Rheem | RAKA-042JAZ | 5461F210304491 |  | ton | 1st | lower level | backyard | 2002-10-10
Air-Cooled Condensing Unit | Rheem | RAKA-042JAZ |  |  | ton | 1st | lower level | backyard | 2002-10-10
Fan Coil Unit | Rheem |  |  |  | cfm | 1st | lower level | below house | 2002-10-10
Fan Coil Unit | Rheem |  |  |  | cfm | 1st | lower level | below house | 2002-10-10
Air-Cooled Condensing Unit | Mitsubishi | PU12EK7 | PU12C00934B | 1 | ton | 2nd | Bedroom 2 | Roof | 2002-10-10
Air-Cooled Condensing Unit | Mitsubishi | PU12EK7 | PU22D00800B | 1 | ton | 2nd | Bedroom 3 | Roof | 2002-10-10
Air-Cooled Condensing Unit | Mitsubishi | PU42EK7 | PU15E00058C | 3.5 | ton | 2nd | Master Bedroom | Roof | 2002-10-10
Fan Coil Unit - Ductless/Cassette | Mitsubishi | PL12AK | PL21F00368B |  | cfm | 2nd | Bedroom 2 | Ceiling | 2002-10-10
Fan Coil Unit - Ductless/Cassette | Mitsubishi | PL12AK | PL21F00362B |  | cfm | 2nd | Bedroom 3 | Ceiling | 2002-10-10
Fan Coil Unit - Ductless/Cassette | Mitsubishi | PL42AK | PL12F00138B |  | cfm | 2nd | Master Bedroom | Ceiling | 2002-10-10