NVR Specifications

- 1U rack mounted

- Intel Xeon E-2236

- 16GBDDR4 Ram

- Windows 10 IOT Enterprise SAC (Operating System) or similar

- 2 230GB (RAID1) M.2 SSD’s (OS Drive)

- 4x3.5” Hot Plug (HD’s)

- TPM 2.0 Credential and Key Encryption

- Minimum 32TB Storage

- New VMS/Server must be able to accept all existing cameras located on existing system This includes encoders from existing cameras

- Software should allow for an unrestricted number of users, devices, servers and sites for central surveillance operations and mobile devices

- Server shall allow for minimum 30 days of storage. Cameras to record at 20 FPS with 75% motion. Existing cameras are 5MP. Server shall have room for minimum 25% increase while maintaining ability to record for a minimum of 30 days.

- Server to have a minimum 3-year manufacturer warranty.

- VMS Software to be Milestone approved or similar

- All additional equipment will be the responsibility of winning bidder

- Existing video equipment to be tested by winning bidder to determine if equipment will need to be replaced.