The Department of Land & Natural Resources, Division of State Park’s Kauai District Office is requesting bids for septic tank pumping at the following park facilities.  We will be listing each park site with a description of the tank size(s) that will be required for the duration of September 1, 2023 through February 28, 2025 for a duration of 18 months. Your bid should reflect the cost for each facility as described as a line item, but the total bid amount submitted must be for all facilities.  This contract is to service all parks listed below.

A. 1 pump will equal (2) 2000 gal tanks as needed for the Polihale State Park –   Bid amount should reflect the cost of one pump.  Payment will be made after each completed service.

B.  1 pump will equal (2) 3000 gallon tanks as needed at Waimea Canyon State Park – Waimea Canyon Lookout   Bid amount should reflect the cost for one pump. Payment will be made after each completed service.

C.  1 pump will equal (1) 2500 gallon tank as needed for Russian Fort State Park –  Bid amount should reflect the price of one pump.  Payment will be made after each completed service.

D.  1 pump will equal (1) 3000 gallon tank as needed at Waimea State Recreational Pier –  Bid amount should reflect the cost of 1 pump. Payment will be made after each completed service.

E.  1 pump will equal (2) 1500 gallon tanks as needed for Puu Ka Pele picnic area –   Bid amount should reflect the cost of 1 pump. Payment will be made after each completed service.

F.  1 pump will equal (1) 4000 gallon tank as needed for Puu Hina Hina Lookout -  Bid amount should reflect the cost of 1 pump.  Payment will be made after each completed service.

G. 1 pump will equal  (2) 2500 gallon tanks as needed for Kalalau Lookout -  Bid amount should reflect the cost of 1 pump.  Payment will be made after each completed service.

H. 1 pump will equal  (1) 800 gallon tank as needed for Kokee main pavilion -  Bid amount should reflect the cost of 1 pump.  Payment will be made after each completed service.

I.   1 pump will equal (1) 2000 gallon tank as needed for Wailua Kaumualii boat ramp -  Bid amount should reflect the cost of 1 pump.  Payment will be made after each completed service.

J. 1 pump will equal  (2) 1500 gallon tanks as needed for Kee Beach State Park – Bid amount should reflect the cost of 1 pump.  Payment will be made after each completed pump service.

K.  1 pump will equal (2) 2000 gallon tanks as needed for the Wailua River State Park Opaekaa Falls Lookout -  Bid amount should reflect the cost of 1 pump.  Payment will be made after each completed pump service.

During the duration of the 18 month contract, the contractor agrees to charge the State of Hawaii, Division of State Parks their bid amount per pump for each State Park listed above items A-K.  The State Of Hawaii, Division of State Parks does not guarantee services at each park listed.  This contract is based on an “as needed” service.

Please note that services will require the complete pumping / removal of all liquids and solids (total tank volume) from each tank being serviced.

GENERAL NOTES

1. The Contractor is responsible to perform their work in such a way as to minimize its impact on the operation of the park facilities. Prior to proceeding with the work, the Contractor shall contact, coordinate, and schedule the performance of the work with the Project Administrator (PA) or his designee. All questions regarding pumping and the related schedules are to be directed and approved by David Tsuchiya, District Superintendent. The telephone number at which he may be reached is (808) 346-3921, facsimile (808) 274-3448, email: david.h.tsuchiya@hawaii.gov.

2. Septic tank pumping shall be provided beginning September 1, 2023 or the official commencement date on the Notice to Proceed, whichever is later. Upon mutual agreement between the State and the Contractor, prior to the expiration date, the term may be extended for up to two (2) additional eighteen -month periods.

3. The service will be ordered on a “call as needed” basis. Additional septic pumping not included in the above specifications shall be billed separately from issued purchase order.

4. Days and time of operation. Contractor shall perform septic tank pumping before 9:00AM to minimize disruption to the public use of facilities and the odor from pumping, Monday through Friday, excluding holidays. The contractor shall coordinate with the PA or designee, to determine the work schedule and access to parks.

5. The Contractor shall provide safety signs, barricades, and other devices necessary for the safety and convenience of the general public. Contractor shall at all times conduct his/her work to assure the least possible disruption to normal public traffic (vehicular and pedestrian) and allowing for the free flow of traffic and public rights-of-way. Contractor shall wear bright colored clothing when providing traffic control as needed.

6. The Contractor shall be responsible for verifying the location of all utilities and structures. Any damage, injury, and/or loss to any property resulting from the performance of the work shall be the sole responsibility of the Contractor and shall be remedied promptly by the Contractor at his own expense.

7. The Contractor shall comply with all State Park rules when performing work in the specified park areas, including no alcohol consumption and illegal drug use.

8. Any damage to plants and other property or items in the area and adjoining properties shall be repaired and/or replaced by the Contractor at his/her own expense and restored to the satisfaction of the Project Administrator and the injured party(ies).

9. Adverse conditions which may require major field changes not stated in this request for bids must be reported to the Project Administrator prior to commencement or continuation of work.

10. Safety Requirements. The contractor shall comply with all Local, County, State, Federal of other legal requirements including but not limited to Safety Standard and the Occupational Safety and Health Administration (OSHA).

11. Negative References. Any negative response received from clients or from the State Consumer Protection Agency organizations shall be sufficient cause for disqualification of bidder(s).