Offer Form OF-1:

Submit as an attachment on HIePRO.

Company Name: ___________________________________________________________________

Address: ___________________________________________________________________

Telephone Number: ___________________________________________________________________

Fax Number: ___________________________________________________________________

Contractor shall provide regular monthly service visits to the following areas:

Repair Work

- Remove & dispose of equipment from York XTI AHU for buildings: F, H & I.

- Deliver & install one new fan assembly with new motor & any other parts necessary to return the air handler to normal service in each building.

- Installation work must be scheduled with Plant Ops.

- Adjust fan belts & align sheaves & any other work required for the new fan wheel assembly & motor to run properly.

- Start up & test to insure proper functioning.

- At completion of the work, Contractor will provide a written warranty that the completed project is free from any workmanship or material defects for a period of 1 year starting from the date of the works formal acceptance. The warranty shall state that, in case of any workmanship defects that will occur within the 1 year, the Contractor shall implement the necessary corrective work without charging the government for the costs of materials, labor & equipment use.

$_____________________

Signature: ___________________________________________________________________

Printed Name:                                                                            Date:

___________________________________________________________________

This bid must be signed by a person authorized to legally bind the bidder