Offer Form OF-1:

Submit as an attachment on HIePRO.

Company Name: ___________________________________________________________________

Address: ___________________________________________________________________

Telephone Number: ___________________________________________________________________

Fax Number: ___________________________________________________________________

Contractor shall provide regular monthly service visits to the following areas:

Scope of Work:

1.	The contractor shall provide sprinkler testing and inspection for the following buildings:

a. Four (4) Quarterly Automatic Fire Sprinkler Tests:  Bldg B, I, H F, E, L, S, T, U, and New Patient Facility (Hale Ho’ola)

b. Four (4) Quarterly Automatic Fire Sprinkler Tests:  Cottage M, N, O, P

c. One (1) Fire Pump Annual Test and Inspection: Bldg S,T, U, and New Patient Facility (Hale Ho’ola)

$_     ____________________

2. The contractor shall provide testing and inspection for the following system:

a. Fire Hydrant Annual Flow Test & Inspection-qty. 23

$_     ____________________

3.. The contractor shall provide testing and inspection for the following components:

a. Portable Fire Extinguisher Annual Service- qty. 203 ABC type (10 lb) and 9 K- rated.

$_     ____________________

Bid Total $_     ____________________

Signature: ___________________________________________________________________

Printed Name:                                                                            Date:

___________________________________________________________________

This bid must be signed by a person authorized to legally bind the bidder