Kauai Westside DOFAW Fire and Emergency Response Storage Facility

Background Information

The Department of Land and Natural Resources (DLNR) Division of Forestry and Wildlife (DOFAW) Kauai District is seeking a secured storage facility on the westside of Kauai to store fire and emergency response equipment and supplies.  The facility will not be accessed regularly but will need to house at least three (3) fire brush trucks/engines and a 4000-gal water tender, as well as miscellaneous equipment such as pumps, hoses, and PPE.  DOFAW staff will not need daily access however during an emergency we will need 24/7 hour access to the site for all DOFAW staff which is approximately 35 personnel.  One or two staff members may visit the area on a bi-weekly basis to just double check on the equipment or do maintenance checks. The requested space shall be secured by a lockable 8’ cyclone fence, or shall have security guards on site to provide surveillance of assets.

Minimum Site Requirements

- At least 1200 sqft of covered space

- Additional 1000 sqft of open space

- Access to water (can be non-potable), either a hydrant or standpipe to fill water truck (4000 gal) and 3 slip-on pumps (350 gal) at initial incident response

- Electricity for lights and occasional charging of radios

- Monthly fee includes charge for water and electric