STATE OF HAWAII

DEPARTMENT OF HEATLH

ADULT MENTAL HEALTH DIVISION

HAWAII STATE HOSPITAL

45-710 KEA'AHALA ROAD

KANEOHE, HI 96744

HIePRO SOLICITATION

REQUEST FOR QUOTES

FOR

DIESEL FUEL REPAIR

Release: May 6, 2025

Offer Due:  May 20, 2025, 2:00 PM (HST)

Hawaii State Hospital (HSH) is seeking a contract for the repair of existing Diesel Fuel Piping and Solenoid Valve on the grounds of Hawaii State Hospital set forth in Section 1, Scope of Services, of this solicitation Request for Quote (hereinafter “RFQ”).

- Scope of Services:

Furnish all labor, equipment, materials, and tools to remove and replace two (2) solenoid valves, a one (1) inch pump hose, and approximately two hundred and sixty (260)-if of existing diesel fuel piping between the existing fuel tank and the exterior of the building.

Equipment:

Caterpillar 3516C Standby Diesel Generator – Model CAT 3516C-HD

Kohler Generator – Model 2000REOZMD

- Solenoid Valve and 1” Pump Hose:

- Remove and replace two (2) solenoid valves in the existing diesel foul piping, New valves will be “like-for-like” replacements, ASCO 8210G054V and 8210B057V.

- Remove and replace one (1) rubber hose at existing fuel pump. Rubber hose is approximately eighteen (18”) inch in length.

- Pressure testing at line pressure

- Diesel Fuel Piping:

- Disconnect and remove section(s) of the existing diesel fuel supply and return piping and install replacement sections of piping at the end of each work shift.

- Replacement piping shall be black steel, Sch 80 with threaded fittings and it shall extend from the top of the existing fuel tank to the exterior wall for the adjacent building.

- Pressure testing at the line pressure.

- The existing valves and pipe support shall be reused.

- Qualification and Requirements:

  - Provide qualified candidates who have annual federal and state security background checks performed for employees who handle the contract services under this RFQ. Provide upon request to Facility Manager.

  - Maintain an accurate record and shall report to Facility Manager of Hawaii State Hospital.

|  | General Description |
| --- | --- |
| Prebid Conference | All Contractors must attend a mandatory pre-conference site visit at the Hawaii State Hospital on May 8, 2025, at 9:00a, to do a site visit to evaluate scope of work. Confirm attendance via the HIePRO site. |
| Performance | - The contractor shall provide a schedule for acceptance by HSH for all required services a minimum of two (2) weeks before the actual service occurs. - The contractor shall provide a sufficient number of trained personnel to perform the work and be prepared to complete the chemical treatment within the scheduled time frame. |
| Completion of Work | After completion of service Contractor will notify the Facility Manager to complete evaluate work of completion. |

General Compliance    General guideline to follow while on HSH Property

- All work shall be done between 7:00am to 3:00pm, Monday through Friday, except State Holidays.

- Shirts are required to be worn at all times on the work site, smoking is not allowed anywhere on the property, no radios or headsets are allowed.

- Adverse conditions which may require major field changes not state in the scope of work for this project must be reported to the Hawaii State Hospital Facility Plant Manager prior to commencement or continuation of work.

- Contractor shall re-execute any work that fails to conform to the requirements of this agreement and shall immediately remedy any defects due to faulty workmanship or equipment by the Contractor. Should the Contractor fail to comply, the State reserves the right to engage the services of another company to perform the services and to deduct such costs from monies due to the Contractor.

- The Contractor is required to report to the Plant Operations Office to check in before going to the Security Entrance of HSH when arriving on campus and reporting out when leaving campus.

- HSH shall have the right to terminate the contract at any time by giving the Contractor a thirty (30) day written notice.

- Submission of Questions

All inquiries shall be made using the HIePRO Question and Answer Section. Only those inquires received by the deadline shall be responded to. The State’s responses shall not be construed to make any changes to the IFB unless otherwise revised by an addendum. Responses to inquiries shall be made by way of HIePRO. Question and Answer section. No verbal responses shall be considered as official.

- Qualification and Requirement:

The prime contractor will be responsible for conducting all work listed in scope 1 of Scope of Service.

- Provide qualified candidates who have annual federal and state security background checks performed for employees who handle the contract services under this RFQ.

- Certificate of Insurance, general and auto.

- Vendor Compliance

- Proof of compliance obtained through Hawaii Compliance Express (HCE). The vendor’s name on the Certificate of Vendor Compliance (CVC) must exactly match the vendor’s name under which the quote for this solicitation is submitted. A copy of CVC must be submitted with quote for verification. The vendor is responsible for maintaining compliance. Non-compliance may result in a vendor not receiving an award, delay of payment, or cancellation of award.

- The interested offeror must be a registered company to do business in the State of Hawaii.

- Compensation and Payment Schedule

The Contractor shall submit complete invoice to Hawaii State Hospital for the services provided in accordance with Section 1, “Scope of Services.” Contractor to include all taxes, vehicle fees/charges, trainings, background checks, in each invoice.

- Performance Period:

The Contractor shall provide the services required under the contract from May 26, 2025, through July 31, 2025, unless the contract is sooner terminated.

When in the interest of the State, HSH may terminate the contract at any time and for convenience by providing four (4) weeks prior written notice to the Contractor.

- Submission and Award

The compensation rates in the Rate Schedule that are offered by the Contractor shall be inclusive of wages, fringe benefits, all applicable taxes, and all incidental costs (if any).

All submittals shall be made via HIePRO. The following documents must also be completed and submitted by the vendor.

- Offeror’s Qualification Form

- Offer Form OF-1

- General and Auto Liability Insurance

Selection and award shall be contingent on the lowest and most responsible and responsive offer.

All questions will only be answered when submitted using the HIePRO Questions and Answer Section by due dates.