STATE OF HAWAII

DEPARTMENT OF ACCOUNTING AND GENERAL SERVICES MAUI DISTRICT OFFICE

August 18, 2025
 REQUEST FOR QUOTES TO PROVIDE
THE INSPECTION, TESTING, CERTIFICATION, AND REPAIR OF BACKFLOW PREVENTION DEVICES
FOR STATE PUBLIC FACILITIES ON THE ISLANDS OF MAUI AND MOLOKAI

will be received through the State of Hawaii Electronic Procurement System (HIePRO) at https://hiepro.ehawaii.gov/welcome.html until 2:00 p.m., Hawaii Standard Time (HST)

on

August 14, 2025

Offerors interested in responding to this electronic solicitation must be registered on the HIePRO in order to participate in this procurement.  Once registered, Offerors can login to view and respond to the HIePRO solicitation.

INSPECTION, TESTING, CERTIFICATION, AND REPAIR OF BACKFLOW PREVENTION DEVICES FOR STATE PUBLIC FACILITIES ON THE ISLANDS OF MAUI AND MOLOKAI

Department of Accounting and General Services Maui District Office
755 Mua Street
Kahului, HI 96732

To Whom It May Concern:

The undersigned has carefully read and understands the terms and conditions specified in the Specifications, Special Conditions, and General Conditions attached hereto and hereby submits the following offer to perform the work specified herein, all in accordance with the true intent and meaning thereof. The undersigned further understands and agrees that by submitting this offer, 1) he/she is declaring his/her offer is not in violation of Chapter 84, Hawaii Revised Statutes, concerning prohibited State contracts, and 2) he/she is certifying that the price(s) submitted was (were) independently arrived at without collusion.

The undersigned represents:	(Check √ one only)

c   A Hawaii business incorporated or organized under the laws of the State of Hawaii; OR

c   A Compliant Non-Hawaii business not incorporated or organized under the laws of the State of Hawaii, but registered at the State of Hawaii Department of Commerce and Consumer Affairs Business Registration Division to do business in the State of Hawaii.

State of incorporation:  	
Offeror is:

c   Sole Proprietor	 c   Partnership	 c   Corporation	 c   Joint Venture	c   Other  	

Federal I.D. No.: 	Hawaii General Excise Tax License I.D. No.: 	

Payment address (other than street address is: 	

City, State, Zip Code:  	

Business address (street address):  	

City, State, Zip Code:  	

Date: 		Respectfully submitted:

Telephone No.: 		 	
Authorized (Original) Signature

Fax No.: 		 	
Name and Title (Type or Print)

E-mail Address: 		* 	
Exact Legal Name of Company (Offeror)

*If Offeror is a “dba” or a “division” of a corporation, furnish the exact legal name of the corporation under which the awarded RFQ will be executed:  	 

The following is hereby submitted:

ISLANDS OF MAUI AND MOLOKAI:	

Item	

Description	

State Public Facilities	
		(A)
Est. No. of Units	(B)
Unit Bid Price (each Test*)	(A x B)
Total	

1	Inspection, Testing, and Certification of Backflow Preventers on the Island of Maui	
22	

$ 		

$ 		

2	Inspection, Testing, and Certification of Backflow Preventers on the Island of Molokai	
7	

$ 		

$ 		

Total Sum of Bid Prices (Items 1 and 2)	
$ 		

	Hourly Labor Rate**	

3	
Repairs and Other Authorized Reimbursable Work	

$ 		

* "Each Test" includes the inspection, testing, and certification services for the Backflow Preventer. See EQUIPMENT SCHEDULE for locations of BPs.
** Offeror to enter Hourly Labor Rate. This hourly rate shall be used as the Hourly Labor Rate for all cost proposals and shall be inclusive of all taxes, profits, and other associated costs.

OFFER
MDO-RFQ-2021-01	OF-2

OFFEROR QUALIFICATION

A.	Experience
Contractor shall have a minimum of three (3) consecutive years of experience (immediately prior to the bid opening date), in the field of inspection, testing, certification, and repair of backflow prevention devices.

Enter number of consecutive years of experience (immediately prior to bid opening date): 	years

B.	License

State of Hawaii C-37 Plumbing Contractor License Number: 	
(Copy of license shall be submitted with offer)

C.	Office Location
In accordance with the Special Conditions, Offeror shall provide the following information for the permanent office/service facility location on the Island of Maui. (Please attach additional sheets as necessary):

Name of Company 	

Office/Facility Address 	

Telephone/Facsimile No.  	

E-mail Address  	

Normal Business Hours 	

D.	Personnel

1.	Point-of-Contact (POC)

Name of POC: 	

POC Cellular No.  	

2.	Certified Testers

Offeror shall list two (2) Certified Testers (at the time of bid submittal) who will be assigned to this RFQ to perform the specified work.

Name of 1st Certified Tester: 	

Certificate Number: 	(Copy of certificate shall be submitted with offer)

Number of years with Offeror 	years

Names and dates of previous companies worked at, if any, in the inspection, testing, and certification of backflow prevention devices:

Name of 2nd Certified Tester: 	

Certificate Number: 	(Copy of certificate shall be submitted with offer)

Number of years with Offeror 	years

Names and dates of previous companies worked at, if any in the inspection, testing, and certification of backflow prevention devices:

3.	Licensed Plumber

Offeror shall list at a minimum, one (1) licensed plumber (at the time of bid submittal) who will be assigned to this RFQ to perform the specified work. The licensed plumber listed can also be one of the Certified Testers listed above.

Name of Licensed Plumber: 	

License Number:  	

Number of years with Offeror 	years

Names and dates of previous companies worked at, if any in the repair of backflow prevention devices:

Name of Licensed Plumber: (If more than one licensed plumber will be assigned to this RFQ):

License Number:  	

Number of years with Offeror 	years

Names and dates of previous companies worked at, if any in the repair of backflow prevention devices:

References. Offeror shall list at least two (2) references in the State of Hawaii for whom the Offeror has or is providing inspecting, testing, certification, and repair of backflow prevention devices on a regular basis, that is similar in nature and volume to the services specified in this offer, that shall qualify Offeror to perform the project.

The State of Hawaii reserves the right to reject an offer submitted by any Offeror whose performance on other jobs for this type of service has been proven unsatisfactory.

Name of Company	Address	Contact Person	Telephone No.	

1.  	

2.  	

WAGE CERTIFICATE

Subject:	Project No. 	MDO-RFQ-2026-01	

Description of Project: Inspection, Testing, Certification, and Repair of Backflow Prevention Devices for the State Public Facilities on the Islands of Maui and Molokai	

Pursuant to §103-55, HRS, I hereby certify that, if awarded a contract in excess of $25,000.00, the services to be performed will be performed in accordance with the following conditions:

1.	The services to be rendered shall be performed by employees paid at wages or salaries not less than wages paid to the public officers and employees for similar work, if similar positions are listed in the classification plan of the public sector.

2.	All applicable laws of the federal and state governments relating to workers’ compensation, unemployment compensation, payment of wages, and safety will be fully complied with.

CONTRACTOR shall be obliged to notify its employees performing work under this RFQ of the provisions of
§103-55, HRS, and the current wage rate for public employees performing similar work.  The CONTRACTOR may meet this obligation by posting a notice to this effect in the CONTRACTOR’s place of business accessible to all employees, or the CONTRACTOR may include such notice with each paycheck or pay envelope furnished to the employee

I understand that, in addition to the base wages required by §103-55, HRS, all payments required by federal and state laws that employers must make for the benefit of their employees shall be paid.

Offeror:  	

Signature:  	

Title:  	

Date:	 	

WAGE CERTIFICATE
MDO-RFQ-2021-01	WC-1

SPECIFICATIONS

The State of Hawaii owns several backflow preventers (BPs) located at various locations statewide. These BPs on the islands of Maui and Molokai, need to be annually inspected, tested, and certified to meet the County of Maui’s Department of Water Supply’s (CoM DWS) requirement. Vendors need to be listed with the CoM DWS Backflow section.

GENERAL INFORMATION

The CONTRACTOR shall furnish all necessary labor, engineering and technical personnel, materials, tools, equipment and appurtenances to properly inspect, test, and certify BPs at various public facilities locations on the islands of Maui and Molokai.

All work performed shall further be subject, where applicable, to the national, state and county plumbing codes and CoM Department of Water Supply Water System Standards.

Inspection, Testing and Certification of BPs (CONTRACTOR responsible for all costs)
For the inspection, testing and certification of BPs activities, all labor (including personnel travel costs and per diem), engineering and technical personnel, supervision, taxes, parts, materials, supplies, tools, equipment, safety gear, costs for storage, transportation, shipping, and appurtenances to properly inspect, test, and certify BPs at the various locations statewide shall be included in Bid Item 1 on the offer page(s).  Inspection includes, but not limited to, dismantling BP device to inspect seals, remove debris and flushing out of valves and ports.

All advisory services shall be considered as incidental costs to the CONTRACTOR and included in the CONTRACTOR’s bid price.  Therefore, no separate payment shall be made.

Repairs (Reimbursable Work)
Repair activities (Repair) are cost reimbursable work and include repairs and replacement components and related equipment not listed under the “Description of Work” section. If a Repair is necessary, the CONTRACTOR will submit a cost proposal for the total cost of the Repair to the point-of-contact (POC). The cost proposal shall contain the following minimum information:

a.	Description and breakdown of material, parts, and labor costs (including hourly labor rate).
b.	Estimated completion date.
c.	Additional supporting data as required to support costs.

If approved by the POC, a purchase order or notice to proceed shall be issued to the CONTRACTOR. CONTRACTOR is responsible to retest the repaired or replaced BPs again. Cost for retesting the repaired or replaced BPs will be based on the bid unit price for Bid Item 1.

The CONTRACTOR is not responsible for the following:

•	Repairs due to flagrant vandalism, fire, storm or related damages which can be attributed to causes beyond their control. (However, the CONTRACTOR shall be responsible for such repairs if the damages are caused by the CONTRACTOR’s failure to properly maintain and service the systems and equipment.)
•	
DESCRIPTION OF WORK

The services to be performed herein shall be to inspect, test, and certify such apparatus as Pressure Vacuum Breakers, Spill-Resistant Pressure Vacuum Breakers, Double Check Valve Assemblies, and Reduced Pressure Principle Backflow Prevention Assemblies.

These services shall also include findings and recommendations related to or pertaining to maintenance of main line backflow prevention assemblies, irrigation system assemblies, and backflow prevention assemblies that isolate other types of cross connectional hazards that may exist.

A.	TESTING (Including Updates to Equipment Schedule)

1.	Within ten (10) business days after the start of the RFQ, the POC shall provide an established cycle of tests to be performed at each location.

a.	The annual testing cycle shall require tests to be performed following the established cycle for each location and shall be conducted no sooner than one (1) year from the initial testing date.

b.	Except as otherwise noted, all work shall be performed during "normal working days". The term "normal working days" as used hereinafter shall mean Monday through Friday between the hours of 7:30 a.m. and 4:30 p.m. Hawaii Standard Time (HST).

c.	CONTRACTOR shall obtain permission from the POC to perform the services on the weekends, state holidays, or after normal operating hours. However, there shall be no additional charge to the STATE for work performed outside of “normal working days” if requested by CONTRACTOR.

2.	Within three (3) business days after performing a test, the CONTRACTOR shall prepare and submit approved CoM DWS backflow section test form results of the passed BPs for each location to DWS.  Also, prepare and submit all the approved CoM DWS backflow section test form results, reports or proposals containing the CONTRACTOR’s recommendation for repairs or replacements based on the analysis of the existing conditions, and compiled test data for each location to the POC. This report shall also advise of any other existing problems and conditions that arise during the test of the backflow prevention assembly.

3.	Verify, update, and submit a list of the sizes, makes, models, types, and serial numbers of backflow prevention assemblies. The updated list shall be submitted within ninety (90) days after the start of the RFQ.

4.	Determine if the backflow prevention assembly is properly installed and in good working order.

5.	Contact all the individuals, companies, and government agencies who will be affected by the testing of the backflow prevention assemblies and coordinate with the POC any temporary shutdown of water service for the duration of the test.
1.	
B.	TEST PROCEDURES AND/OR RECOMMENDED TOLERANCES

1.	CONTRACTOR shall select the best and most practical method of conducting the tests.

2.	The test shall establish that the apparatus or device will perform its specific function when operating conditions are simulated or duplicated.

3.	The University of Southern California - Foundation for Cross Connection Control and Hydraulic Research testing procedures shall be used to test Pressure Vacuum Breakers, Spill-Resistant Pressure Vacuum Breakers, Double Check Valve Assemblies, and Reduced Pressure Principle Backflow Prevention Assemblies.

4.	The manufacturer's performance data and instruction books shall be used as reference and shall take precedence over any alternate or recommended procedures, practices or performance criteria.

5.	The CONTRACTOR shall determine the safest, most efficient method and procedure for conducting the test, including whether the test should be conducted, based on the condition of the backflow prevention assembly or other surrounding conditions. If the CONTRACTOR determines that the backflow prevention assembly cannot be tested because of the condition of the backflow prevention assembly or other surrounding conditions, it will be considered a failed test and the CONTRACTOR will be paid for the test, provided the POC for the State of Hawaii, approves the CONTRACTOR’s determination. The CONTRACTOR will not be paid for reasons such as failure to locate the backflow prevention assembly.

C.	ALLOWABLE COSTS FOR PARTS

If replacement parts or materials are required for "chargeable" authorized reimbursable extra work, the STATE shall compensate the CONTRACTOR for the part(s) at the CONTRACTOR’s cost, plus labor. The CONTRACTOR’s material cost mark-up shall not exceed twenty percent (20%), which shall include shipping, overhead, profit, taxes, and any other incidental expenses. The CONTRACTOR shall substantiate all costs by submitting a copy of part or material invoices with their invoice to the STATE. Use only new, standard parts or material as manufactured by the maker of each unit or part of equal quality. No work shall begin until work is authorized by POC.

D.	SITE ACCESS AND SECURITY

The CONTRACTOR must be aware of the heightened security conditions at the state public facilities covered by this RFQ and agrees to follow the site access and security procedures of each facility.
The CONTRACTOR is requested to be aware of and to report to the POC, with as much detailed information as possible, any suspicious activity or obvious breach of security in relation to or in the course of their work at any of the facilities. The CONTRACTOR must keep their work areas closed and secure, before, during and after performing work.

The CONTRACTOR shall be required to schedule and coordinate in advance inspection, testing and certification service, or repair work at the facilities. Schedule shall be approved by the POC before work can commence. The CONTRACTOR shall submit a list of personnel assigned to this RFQ, on company letterhead, to the POC as soon as the RFQ is executed and prior to the start of the work. The STATE reserves the right to request background security checks for each person assigned to this RFQ.

The CONTRACTOR vehicles and personnel shall be properly identified as belonging to the CONTRACTOR, through company signage/logos, uniforms, name tags or identification cards as appropriate to comply with this requirement.

E.	TOOLS, EQUIPMENT AND SUPPLIES

CONTRACTOR shall provide all tools, equipment and supplies. Storage of any tools and supplies at any state facility shall not be allowed without the prior written consent from the STATE. Tools and/or supplies stored at any state facility without the prior written consent from the STATE shall be considered abandoned and may be disposed of by the STATE without compensation to the CONTRACTOR.

F.	SAFETY

If work is performed during normal working days with work site accessible to children and other people, the CONTRACTOR must not perform services until all safety type barricades are in place. The CONTRACTOR shall comply with all applicable safety regulations promulgated by the Occupational Safety and Health Administration (OSHA), Environmental Protection Agency (EPA) and other governmental agencies.  CONTRACTOR must obey signs and posted notices.

G.	CLEANUP AND WORK PRACTICES

The CONTRACTOR shall keep the job site free, including but not limited to, debris, litter, refuse, and shall clean all fluids, oil, grease drippings or spills during the daily progress of work. The CONTRACTOR shall remove all tools, used parts, fluids and lubricants, and equipment from the service area upon completion of the work. Legally dispose of used parts, fluids and lubricants, whether hazardous or not, in accordance with EPA and/or other government regulations including providing written records, as required.

CONTRACTOR shall exercise caution during the progress of his maintenance and repair work to prevent damage to any of the building structure. CONTRACTOR shall restore all damaged equipment and property caused by the CONTRACTOR’s negligence, at the CONTRACTOR’s own expense, when/as requested by the STATE. If such repairs are not completed immediately, the POC, reserves the right to purchase, in the open market, a corresponding quantity of the services specified herein and to deduct from any moneys due or that may thereafter become due to the CONTRACTOR, the difference between the price named in the RFQ and the actual cost to the STATE. In case any money due the CONTRACTOR is insufficient for said purpose, the CONTRACTOR shall pay the difference upon demand from the STATE. The STATE may also utilize all other remedies provided by law.

SPECIAL CONDITIONS

GENERAL INFORMATION

1.	Scope

Work under this agreement shall consist of the inspection, testing, certification, and repair of backflow prevention devices for state public facilities on the islands of Maui and Molokai and shall be in accordance with these Special Conditions, the attached Specifications, and the General Conditions AG- 008 (latest revision).

2.	Point of Contact

For purposes of this RFQ, Eric Agena, is the designated Contract Administrator (CA). He may be contacted at (808) 873-3504 or via e-mail at eric.m.agena@hawaii.gov. 

Questions regarding on-island issues shall be directed to Malia Cardoza, DAGS Maui, at (808) 873-3939 or via email at malia.r.cardoza@hawaii.gov. 

The POC is responsible for:

o	the terms, conditions, quantities, specifications, scope of services, other RFQ terms, and all decisions relating to the RFQ;
o	monitoring the CONTRACTOR’s work, documenting that CONTRACTOR maintains the required insurance coverage (if applicable), resolving RFQ disputes and discrepancies, evaluating the work of the CONTRACTOR, assuring the services or goods are delivered as required in the RFQ, and processing payment for services rendered; and

3.	RFQ Period

This RFQ shall commence upon Aug.18,2025 and shall end on July 28, 2026, subject to availability of funds as specified in the General Conditions.

Beyond July 28, 2026, this RFQ may be extended for not more than three (3) additional twelve (12)- month periods upon mutual written agreement of the parties, prior to expiration. As each option(s) to extend is mutually agreed upon, the CONTRACTOR will be notified in writing for each additional period. The RFQ price for the extended period shall remain the same or lower than the initial RFQ price, subject to any price adjustment allowed by the RFQ.

OFFEROR INFORMATION

4.	Offeror’s Authority to Bid

The STATE will not participate in determinations regarding an Offeror’s authority to perform a service. If there are any questions or doubts regarding an Offeror’s right or ability to render a service, the Offeror should resolve those issues prior to submitting a bid. If the Offeror’s offer meets specifications and is acceptable and the bid price submitted is the lowest bid, the RFQ will be awarded to that Offeror.

5.	Offeror Qualification

In addition to meeting legal and any other requirements of this solicitation, the Offeror must meet these qualifications to be considered for award.

A.	Experience
The Offeror shall have a minimum of three (3) consecutive years of experience (immediately prior to bid opening date), in the field of inspection, testing and certification, and repair of backflow prevention devices. Within three (3) working days of the STATE’s request, the Offeror shall provide written documentation to support and verify this experience.

B.	License
At the time of bidding and throughout the RFQ period, Offeror must have a current State of Hawaii C-37 Plumbing Contractor license which will be kept in force during the life of this RFQ. Offeror’s license number shall be provided on the appropriate offer page along with a copy of the license.

C.	Office Location
The Offeror shall be capable of providing inspection, testing, certification and repair of BPs for the STATE. Offeror should have an office/facility on the Island of Maui from where business is conducted and from where the company is accessible to telephone calls for complaints or requests that need immediate attention. An answering service is not acceptable. Offeror shall provide office/facility information on the appropriate offer page.

D.	Personnel

1.	Point-of-Contact

The offeror shall designate at least one (1) employee as the point-of-contact (POC) for this RFQ. This individual shall be based in the State of Hawaii and available during regular business hours, Monday – Friday excluding holidays, and shall be capable of answering questions, resolving problems, and providing sales, ordering, and follow-up assistance.

2.	Certified Testers

Offeror shall designate at least two (2) Certified Testers, trained and certified by the backflow prevention assembly certification institutions listed in the specification, to provide the inspection, testing, and certification of backflow prevention devices. The Certified Testers named shall be full-time employees of the Offeror and shall have a minimum of three (3) years of experience performing the inspecting, testing and certification on the backflow prevention devices. Certified Tester’s certificate number shall be provided on the appropriate offer page along with a copy of the certificate.

3.	Licensed Plumber

The Offeror shall designate at least one (1) Licensed Plumber (at the time of bid submittal) who will be assigned to this RFQ to perform the specified work. The Licensed Plumber named shall be a full-time employee of the bidder and shall have a minimum of three (3) years of experience performing repairs of backflow prevention devices. The Licensed Plumber named can also be included as one of the Certified Testers. Plumber’s license number shall be provided on the appropriate offer page. A copy of the Plumber’s license shall be submitted to the POC within 7 days after award.

Failure on the Offeror’s part to meet these requirements may result in rejection of bid. These requirements must remain in effect during the entire contact period. Failure to maintain these requirements may result in cancellation of award.

6.	References

Offeror shall provide the names of at least two (2) references in the State of Hawaii with whom Offeror has done business in the past and who can attest to the quality level and reliability of all aspects of Offeror’s work and service for the inspection, testing, certification and repair of backflow prevention devices. The STATE reserves the right to contact these references to verify Offeror’s quality level and reliability.

7.	Site Inspection

Prior to submittal of a bid, Offeror may inspect the project site to become thoroughly familiar with existing conditions, rules and regulations, and the extent and nature of work to be performed.

Offeror inspection is not mandatory; however, bid submission shall be evidence that the Offeror understands the scope of the project and shall comply with all requirements stated herein, if awarded the RFQ. Offerors must contact the POC to arrange for an inspection visit. No additional compensation, subsequent to bid opening, shall be allowed by reason of any misunderstanding or error regarding site conditions or work to be performed.

8.	Responsibility of Offerors

Offeror is advised that if awarded this RFQ under this solicitation, Offeror must furnish proof of compliance with the requirements of §103D-310(c), HRS as a pre-requisite to receiving an award:

1.	Chapter 237, General Excise Tax Law;
2.	Chapter 383, Hawaii Employment Security Law;
3.	Chapter 386, Workers’ Compensation Law;
4.	Chapter 392, Temporary Disability Insurance;
5.	Chapter 393, Prepaid Health Care Act; and
6.	Chapter 103D-310(c), Certificate of Good Standing (COGS) for entities doing business in the State.

The STATE will verify compliance on Hawaii Compliance Express (HCE).

The HCE is an electronic system that allows vendors/contractors/service providers doing business with the STATE to quickly and easily demonstrate compliance with applicable laws. It is an online system that replaces the necessity of obtaining paper compliance certificates from the Department of Taxation, Federal Internal Revenue Service; Department of Labor and Industrial Relations, and Department of Commerce and Consumer Affairs.

Vendors/contractors/service providers should register with HCE prior to submitting an offer at https://vendors.ehawaii.gov. The annual registration fee is $12.00 and the ‘Certificate of Vendor Compliance’ is accepted for the execution and payment of this RFQ.

BID PREPARATION

9.	Offer Page OF-1

Offeror is requested to submit the bid under the company’s exact legal name as registered with the Department of Commerce and Consumer Affairs, if applicable, and to indicate exact legal name in the appropriate space on Offer Page OF-1. Failure to do so may delay proper execution of the RFQ.

The submission of the bid on HIePRO shall indicate the Offeror’s intent to be bound.

10.	Taxable Transaction

Unless the HRS exempts a person from paying the applicable general excise tax, work to be performed under this solicitation is a business activity taxable under Chapter 237, HRS and Chapter 238, HRS, where applicable. Both out-of-state and Hawaii-based companies are advised that the gross receipts derived from this RFQ are subject to the general excise tax imposed by Chapter 237, HRS, at the current rate and, where applicable, to tangible property imported into the State of Hawaii for resale, subject to the applicable use tax imposed by Chapter 238, HRS.

The “State of Hawaii Information on Hawaii State Taxes Administered by the Department of Taxation,” Publication-1 (Revised 2014) is included herein by reference and available online at http://files.hawaii.gov/tax/news/pubs/14pub1.pdf.

11.	Tax Exempt Transaction

If, however, an Offeror is a person exempt by the HRS from paying the general excise tax and therefore not liable for the taxes on this solicitation, Offeror shall state its tax exempt status and cite the HRS chapter or section allowing the exemption.

For evaluation purposes, pursuant to §103D-1008, HRS, a tax-exempt bid submitted in response to a solicitation shall be increased by the applicable retail rate of general excise tax and the applicable use tax. Under no circumstance shall the dollar amount of the award include the aforementioned adjustment.

12.	Bid Price

Unit Bid Price shall include all costs for labor, equipment, materials, transportation, overhead, profit, any reimbursement costs, all applicable taxes and, any other incidental and operational expenses incurred in the performance of all obligations hereunder. Bid price shall be the all-inclusive cost to the STATE and no other charges will be honored. In case of error in extension of bid price, unit bid price shall govern.

13.	Offeror Information

Offeror shall provide information regarding its office location, STATE’s point-of-contact, certified testers and licensed plumbers on the appropriate offer page.

14.	License/Certificate

License/Certificate number shall be provided on the appropriate offer page. Offeror shall also submit a copy of the license/certificate with the bid.

15.	References

Offeror shall list on the appropriate offer page at least two (2) companies in the State of Hawaii to whom Offeror was or is providing inspection, testing, certification and repair of backflow prevention devices and who can attest to the reliability of bidder’s services and personnel. The STATE reserves the right to contact the references listed to inquire about bidder’s past and/or current performance.

16.	Wage Certificate

Offeror shall complete and submit a Wage Certificate by which the Offeror certifies that services required will be performed pursuant to §103-55, HRS. Accordingly, Offeror should consider the public sector wage rates and/or benefits when preparing this bid, as applicable.

Although Item 1 of the Wage Certificate may not be applicable to this solicitation if there are no STATE or public sector employees performing work similar to the requirements herein, Item 2 of the certificate is applicable in all situations.  Offeror is therefore advised that submission of the Wage Certificate is required.

Offeror shall refer to the Wage Certificate clause for additional information regarding this requirement.

17.	Liability Insurance

Work included under this agreement requires the provision of liability and property damage insurance, to remain in full force and effect during the life of this RFQ. Offeror shall refer to Liability Insurance clause for additional information regarding this requirement.

Accordingly, Offeror should consider these insurance requirements when preparing this bid. Offeror shall provide insurance information as requested on the applicable offer page.

18.	Offer Guaranty

An offer guaranty (bid bond) is not required for this RFQ.

BID SUBMITTAL

19.	Submission of Bid

Bids will be received through the Hawaii Electronic Procurement System (HIePRO) Public Procurement Notices Website at https://hiepro.ehawaii.gov/welcome.html no later than the date and time stated on the HIePRO.

Submission of a bid shall constitute an incontrovertible representation by the Offeror of compliance with every requirement of this RFQ, and that the RFQ documents are sufficient in scope and detail to indicate and convey reasonable understanding of all terms and conditions of performance of the work.

Before submitting a bid, each Offeror must:

1.	examine the solicitation documents thoroughly for defects and questionable or objectionable material. Solicitation documents include this RFQ, any attachments, plans referred to herein, and any other relevant documentation.

2.	become familiar with State, local, and federal laws, ordinances, rules, and regulations that may in any manner affect cost, progress, or performance of the work.

All bids shall be made through the HIePRO (https://hiepro.ehawaii.gov/welcome.html) on the solicitation document(s) available on the HIePRO. Offers shall be completed in accordance with the solicitation instructions, and addenda, if any.

The Specifications, Special Conditions, General Conditions and other documents referenced in or attached to the offer shall be considered a part of the offer submitted, whether or not attached to the offer at the time of submission. Such documents shall not be altered in any way; any alterations made by the Offeror may result in rejection of the offer.

Bids will be received only until the hour and date set for the close of bids. Unless otherwise stated, Offeror shall submit only one (1) offer. If more than one offer is submitted, all offers shall be rejected for that item.

20.	Confidential Information

If an Offeror believes that any portion of his proposal contains information that should be withheld as confidential, then the POC should be so advised in writing.

Offeror shall request in writing nondisclosure of designated trade secrets or other proprietary data to be confidential. Such data shall accompany the bid, be clearly marked, and shall be readily separable from the bid in order to facilitate eventual public inspection of the non-confidential portion of the bid.

Pursuant to Section 3-122-58, Hawaii Administrative Rules (HAR), the head of the purchasing agency or designee shall consult with the Attorney General and make a written determination in accordance with Chapter 92F, Hawaii Revised Statutes (HRS). If the request for confidentiality is denied, such information shall be disclosed as public information, unless the person appeals the denial to the Office of Information Practices in accordance with Section 92F-42(12), HRS.

21.	Certification of Independent Cost Determination

By submitting a bid in response to this solicitation, Offeror certifies as follows:

1.	The costs in this RFQ have been arrived at independently, without consultation, communication, or agreement with any other Offeror, as to any matter relating to such costs for the purpose of restricting competition.

2.	Unless otherwise required by law, the costs which have been quoted in this RFQ have not been knowingly disclosed by the Offeror prior to award, directly or indirectly, to any other Offeror or competitor prior to the award of the RFQ.

3.	No other attempt has been made or will be made by the Offeror to indicate any other person or firm to submit or not to submit for the purpose of restricting competition.

22.	Acceptance of Bid

Acceptance of bid, if any, will be made within sixty (60) calendar days after the close of bids and the prices quoted by the Offeror shall remain firm for the sixty day period.

BID EVALUATION

23.	Disqualification of Offers

Any one or more of the following causes will be considered as sufficient for disqualification of the offer:

1.	Offer not signed by an authorized individual.
2.	More than one offer from an individual, firm, corporation or joint venture under the same or different names.
3.	Evidence of collusion among Offerors or prices obviously unbalanced, lack of responsibility and cooperation as shown by past work, being in arrears on existing contracts with the State of Hawaii, or defaulting on previous contract(s).
4.	Lack of proper equipment and/or sufficient experience to perform the work contemplated.
5.	Offer received after specified deadline for close of offers.
6.	Evidence of any noncompliance with any applicable law, any unauthorized additions or deletions, of submission of conditional offer, incomplete offer, or irregularities of any kind which may make the offer incomplete, indefinite, or ambiguous as to its meaning.
1.	
24.	Method of Award

Normally, award shall be made within sixty (60) calendar days after opening but in no case will award be made until all necessary investigations are made.

In the event the bid price(s) submitted exceed available funds, the STATE reserves the right to shorten the RFQ period or delete location(s)/unit(s).

Award, if made, shall be to the responsive, responsible Offeror submitting the lowest Evaluated Total Sum of Bid Prices (Items 1 and 2). However, if the resulting offer based upon the qualified low offers exceeds allotted funds, the STATE shall have the option to shorten the RFQ period or delete location(s)/unit(s) to allow award to be made within the allotted funds.

25.	Failure to Execute Award

Normally, award shall be made within sixty (60) calendar days after the close of bids but in no case will award be made until all necessary investigations are made. After award is made, failure on the CONTRACTOR’s part to provide required documents as required within ten (10) calendar days (or such further time as the POC may allow) after the Offeror has received the notice of award shall be just cause for the annulment of the award. The POC reserves the right to cancel or reject this solicitation or all offers in whole or in part when it is in the best interest of the STATE or to award the RFQ to the next lowest Offeror or may publish another call for tenders, if the lowest bid is non-responsive to the STATE’s needs.

26.	Availability of Funds

This RFQ is subject to the availability of funds. Pursuant to Section 103D-309, HRS, except in certain instances, no contract entered into between the STATE and the CONTRACTOR shall be binding or of any force unless the POC certifies that there is an available unexpended appropriation or balance of an appropriation over and above all outstanding contracts sufficient to cover the amount required by the RFQ.

If the RFQ calls for performance or payment in more than one fiscal year (July 1 to June 30), the POC may certify only that portion of the total funds allocated to satisfy the STATE’s obligations for payments in the current fiscal year.  In that event, the STATE will not be liable for the unpaid balance beyond the end of the current fiscal year, and availability of funds in excess of the amount certified shall be contingent upon future appropriations or special fund revenues. All partially-funded RFQs shall be enforceable only to the extent that funds are certified as available.  The STATE agrees to notify the CONTRACTOR of such non-allocation at the earliest possible time. The STATE shall not be penalized in the event this provision is exercised. This provision is not meant to permit the STATE to terminate the RFQ in order to acquire similar equipment from a third party.

27.	Wage Certificate

Section 103-55, HRS, provides that the services to be performed shall be performed by employees paid at wages not less than wages paid to public officers and employees for similar work. CONTRACTOR is advised that in the event of an increase in wage rates to public employees performing similar work during the RFQ period, employees shall be paid wages no less than those increased wages.

CONTRACTOR is obliged to notify its employees performing work under this RFQ of the provisions of Section 103-55, HRS, and of the current wage rate for public employees performing similar work.
CONTRACTOR may meet this obligation by posting a notice to this effect in the CONTRACTOR's place of business in an area accessible to all employees, or CONTRACTOR may include such notice with each paycheck or pay envelope furnished to the employee.

To assist the CONTRACTOR in determining whether the work his employees are to perform under this RFQ is similar to that performed by public employees, more information on the Class Specifications and Minimum Qualifications of the below-referenced Class titles, please visit the State of Hawaii Department of Human Resources Development at the following website:  http://dhrd.hawaii.gov/.

Effective July 01, 2025, the basic hourly wages paid to the state positions are as follows: Class	Hourly Rate
Plumber I (BU 01 / BC 10)	$33.78
Plumber II (BU 01 / WS 10)	$37.13

The STATE reserves the right to inspect the CONTRACTOR’s wage records to ensure compliance with Section 103-55, HRS.

28.	Liability Insurance

The CONTRACTOR shall maintain in full force and effect, during the life of this RFQ, liability and property damage insurance. This insurance shall protect the CONTRACTOR and his subcontractors, if any, from claims for damages for personal injury, accidental death and property damage which may arise from operations under this RFQ, whether such operations be by himself or by a subcontractor or anyone directly or indirectly employed by either of them. If any subcontractor is involved in the performance of the RFQ, the insurance policy or policies shall name the subcontractor as additional insured.

As an alternative to the CONTRACTOR providing insurance to cover operations performed by a subcontractor and naming the subcontractor as additional insured, CONTRACTOR may require subcontractor to provide its own insurance which meets the requirements herein. It is understood that a subcontractor's insurance policy(ies) are in addition to the CONTRACTOR’s own policy or policies.

The following minimum insurance coverage(s) and limit(s) shall be provided by the CONTRACTOR, including its subcontractor(s) where appropriate:

•	Commercial General Liability:	$2,000,000 aggregate
(Occurrence Form)	$1,000,000 combined single limit per occurrence for bodily injury and property damage.

•	 Workers’ Compensation:	The CONTRACTOR shall maintain workers’
compensation and employer’s liability insurance that comply with statutory limits.

•	Automobile Liability:	$1,000,000 per accident (Combined Single Limit)

General liability and automobile liability policies required by this RFQ, including a subcontractor's policy, shall contain the following clauses:

1)	"It is agreed that any insurance maintained by the State of Hawaii will apply in excess of, and not contribute with, insurance provided by this policy."

2)	“The State of Hawaii is added as an additional insured as respects to operations performed for the State of Hawaii.”

The minimum insurance required shall be in full compliance with the Hawaii Insurance Code throughout the entire term of the RFQ, including supplemental agreements.  Each insurance policy shall be written by

1) an insurance company licensed to do business in the State of Hawaii, or 2) if not licensed by the State of Hawaii, an insurance company which meets §431:8-301, Hawaii Revised Statutes.

Upon CONTRACTOR’s execution of the RFQ, the CONTRACTOR agrees to deposit with the STATE certificate(s) of insurance necessary to satisfy the STATE that the insurance provisions of this RFQ have been complied with and to keep such insurance in effect and the certificate(s) therefore on deposit with the STATE during the entire term of this RFQ, including those of its subcontractor(s), where appropriate. Upon request by the STATE, CONTRACTOR shall be responsible for furnishing a copy of the policy(ies).

Failure of the CONTRACTOR to provide and keep in force such insurance shall be regarded as material default under this RFQ, entitling the STATE to exercise any or all of the remedies provided herein.

The procuring of such required insurance shall not be construed to limit CONTRACTOR's liability hereunder nor to fulfill the indemnification provisions and requirements of this RFQ. Notwithstanding said policy(ies) of insurance, CONTRACTOR shall be obliged for the full and total amount of any damage, injury, or loss caused by the CONTRACTOR, its employees, officers, or agents, in connection with this RFQ.

CONTRACTOR shall notify the STATE, via written notice within twenty-four (24) hours should any of the insurance policies evidenced on its Certificate of Insurance form be cancelled, limited in scope, or not renewed upon expiration.

RFQ PRICE ADJUSTMENTS

All requests for RFQ price adjustments shall be in writing and shall be addressed and submitted to the POC in accordance with the following conditions:

29.	Adjustment Pursuant to Section 103-55, HRS – Wage Rates

At the time of award, only the current wages of STATE employees performing similar work were known. Should these wages increase during any period of the RFQ including supplements, the CONTRACTOR may request an increase in RFQ price. The increase requested must result in increase in wages to the CONTRACTOR’s employees performing the work under this agreement, including any increase in benefits required by law that are automatically increased as a result of increased wages, such as federal old age benefits, workers’ compensation, temporary disability insurance, unemployment insurance, and prepaid public health insurance.

CONTRACTOR’s request for increase must meet the following criteria:

1.	At the time of request, CONTRACTOR shall provide documentation to show that he/she is in compliance with §103-55, HRS, i.e., the employees are being paid no less than the known wages of the State position listed herein.  Documentation shall include the employees' payroll records and a statement that the employees’ services are being engaged for this RFQ.

2.	The Hourly Labor Rate for Repairs and Other Authorized Reimbursable Work may be adjusted, provided the wages paid to a State Plumber I, BC 10 and State Plumber II, WS 10 are adjusted due to contract negotiations for state workers during the RFQ period previous to the extension.

3.	Adjustment of the RFQ price shall be limited to the dollar amount of adjustment in wages paid to the aforementioned STATE position.

Note that if a price adjustment is not requested by the CONTRACTOR for any extended RFQ period, it cannot be requested during a future extension period. For example, if a price adjustment is requested during the second RFQ extension period but not during the first RFQ extension period, the price adjustment, if approved, will include an adjustment for the second extension period only, not both the first and second extension period - it is not retroactive.

The increase shall be reflected in either a RFQ modification or in the supplemental agreement issued for any extended period of the initial RFQ.

30.	Adjustment Pursuant to Change in the Number of Backflow Preventers

The total RFQ price is based on the estimated maximum amount of backflow preventers inspected, tested and certified per RFQ period. The STATE reserves the right to increase or decrease the number of units at the same bid price. These increases and decreases shall be made only upon written authorization and approval of a RFQ modification for permanent changes to the number of units.

31.	New Locations

The STATE reserves the right to add to the RFQ new locations within a district. The new locations shall be serviced only upon authorization by the POC and the additional cost shall be calculated based on the unit bid price.

PERFORMANCE OF RFQ

32.	Authority of the STATE

The STATE shall decide all questions which may arise as to the work performed, as to the manner of such performance, as to the interpretation of any term, condition or provision, as to the applicability and interpretation of any law, rule or regulation, policies and procedures, as to compensation, or additional reason to service, and as to any other matter which may arise under the RFQ. The decision of the STATE in such matters shall be final provided that decision is not in violation of law and not arbitrary, capricious or characterized by abuse of discretion.

33.	Time of Completion

Upon receipt of CONTRACTOR’s written notice of completion, the STATE will schedule an inspection of work; inspection shall be completed within one (1) week of notification by CONTRACTOR. CONTRACTOR must correct any deficiencies or unsatisfactory work within one (1) week of STATE’s notification

34.	Relief Available to STATE

In addition to all rights and remedies available to the STATE provided in this RFQ or otherwise provided under law, if the CONTRACTOR is in non-compliance with RFQ requirements, the STATE may:

1.	Suspend Payments – Temporarily withhold or disallow all or part of the billing cost/payments pending correction of a deficiency or a non-submission of a required deliverable by the CONTRACTOR;

2.	Suspend Referrals – Suspend referrals to the CONTRACTOR should the CONTRACTOR fail to comply with any of the requirements or other term(s) or condition(s) of this RFQ and, further, the STATE may maintain the suspension of referrals until such time as the deficiency or non- compliance is corrected and the CONTRACTOR’s corrective actions are determined to be acceptable by the STATE; and

3.	Seek Reimbursement – Seek reimbursement from the CONTRACTOR or withhold future payments for any funds paid to the CONTRACTOR subsequent to a determination that such was unauthorized, fraudulently obtained, or inappropriately billed.
1.	
4.	Seek Market Value – In the event the CONTRACTOR fails, refuses or neglects to perform the services in accordance with the requirements of these Special Conditions, the Scope of Services or the General Conditions, the STATE reserves the right to purchase, in the open market, a corresponding quantity of the services specified herein and to deduct from any monies due or that may thereafter become due to the CONTRACTOR, the difference between the price named in the RFQ and the actual cost to the STATE.  In case any money due the CONTRACTOR is
insufficient for said purpose, the CONTRACTOR shall pay the difference upon demand from the STATE.  The STATE may also utilize all other remedies provided by law.

35.	Payroll Affidavits

Upon the STATE’s request, CONTRACTOR will be required to submit quarterly payroll documentation for all employees working under this RFQ. Documentation shall include employee's time cards, payroll records, and copies of cancelled checks to verify that CONTRACTOR’s employees are being paid State of Hawaii prevailing wages for hours worked under this RFQ.

36.	Exclusion of Specific Workers

The STATE reserves the right to require the CONTRACTOR to remove an employee, agent, subcontractor or volunteer (Worker) from performing work under this RFQ. The POC shall notify the CONTRACTOR in writing and this exclusion of a specific Worker(s) shall take effect as indicated on the notice. The CONTRACTOR may appeal this decision to the POC, in writing within ten (10) working days of receipt of the notice. Removal of the employee, agent, subcontractor or volunteer shall remain in effect pending the outcome of the appeal. This provision shall not infringe upon the right of the CONTRACTOR to employ the removed individual, but shall apply to any work requiring interaction with the STATE and its employees.

PAYMENT

37.	Invoicing

CONTRACTOR shall submit original invoice to the following address:

Department of Accounting and General Services Maui District Office
P.O. Box 1030 Wailuku, Hawaii 96793

Invoice should reference the RFQ number.

38.	Payment

Section 103-10, HRS, provides that the STATE shall have thirty (30) calendar days after receipt of invoice to make payment. For this reason, the STATE may reject any bid submitted with a condition requiring payment within a shorter period. Further, the STATE may reject any bid submitted with a condition requiring interest payments greater than that allowed by §103-10, HRS, as amended.

The STATE will not recognize any requirement established by the CONTRACTOR and communicated to the STATE after award of the RFQ, which requires payment within a shorter period or interest payment not in conformance with statute.

APPROVALS

39.	State’s General Conditions

The Special Conditions shall serve to supplement the General Conditions; both documents remain part of the RFQ with full force and effect. In the case of a conflict between the General Conditions and Special Conditions, the Special Conditions shall control to the extent necessary to resolve the conflict.

40.	Approvals

Any agreement arising out of this offer may be subject to the approval of the Department of the Attorney General as to form, and is subject to all further approvals, including the approval of the Governor, required by statute, regulation, rule, order, or other directive.

ISLAND OF MAUI AND MOLOKAI EQUIPMENT SCHEDULE

FACILITY	SIZE IN	MAKE	MODEL	SERIAL NO	LAST TESTED	LOCATION	
MAUI BACKFLOW DEVICES	
DAGS-MAUI DISTRICT OFFICE                              755 Mua Street                                              Kahului, HI 96732	0.75	WATTS	007	18877	10/2024	BTN BLDG C & D-1 (FIRELINE)	
DAGS-MAUI DISTRICT OFFICE                              755 Mua Street                                              Kahului, HI 96732	2	FEBCO	825Y	J013598	10/2024	755 MUA STREET, KAHULUI	
DAGS-MAUI DISTRICT OFFICE                              755 Mua Street                                              Kahului, HI 96732	3	WATTS	909	140841	10/2024	755 MUA STREET, KAHULUI	
DAGS-MAUI DISTRICT OFFICE                              755 Mua Street                                              Kahului, HI 96732	10	WATTS	709DCDA	109587	10/2024	BTN BLD C & D-1 (FIRELINE)	
DEPARTMENT OF AGRICULTURE                         635 Mua Street                                                          Kahului, HI 96732	1.5	FEBCO	825Y	Y7820	1/2025	BEHIND BLDG, NORTH OF WATER METER	
DEPARTMENT OF AGRICULTURE                         635 Mua Street                                                          Kahului, HI 96732	2	WATTS	909	2079	1/2025	BEHIND BLDG, AFTER CONCRETE METER BOX (IN GREEN FIBERGLASS BOX)	
KAHULUI LIBRARY                                                     90 School Street                                                       Kahului, HI 96732	1.5	WATTS	709	N/A	08/2023	NEXT TO BLDG AFTER/BY MAIN BACKFLOW	
KAHULUI LIBRARY                                                     90 School Street                                                       Kahului, HI 96732	2	FEBCO	825Y	N7217	08/2024	CORNER OF KAM AVE AND SCHOOL ST.	
KIHEI LIBRARY                                                           35 Waimahaihai Street                                     Kihei, HI 96753	0.75	WATTS	007M1QT	26207	9/2024	35 WAIMAHAIHAI ST., KIHEI, RT OF ENTRANCE IN DCDC VAULT	
KIHEI LIBRARY                                                             35 Waimahaihai Street                                      Kihei, HI 96753	1.5	WATTS	909	273492	9/2024	FAR RIGHT CORNER OF LOT	
KIHEI LIBRARY                                                            35 Waimahaihai Street                                     Kihei, HI 96753	4	WATTS	709DCDA	111471	9/2024	35 WAIMAHAIHAI ST., KIHEI, RT OF ENTRANCE IN DCDC VAULT	
LAHAINA COMPREHENSIVE HEALTH CENTER                                                                      Akoakoa Place                                                                Lahaina, HI 96761	2	WATTS	909M1	234129	5/2025	BTWN POLICE STATION & HEALTH CENTER, NEXT TO ROAD	
LAHAINA LIBRARY                                                     680 Wharf Street                                            Lahaina, HI 96761	1.5	WATTS	009M2QT	110137		680 WHARF ST NEAR SIDEWALK	
STATE OFFICE BUILDING                                         54 S. High Street                                                  Wailuku, HI 96793	0.75	WATTS	709	113022	07/2024	WELLS STREET PARKING LOT	
STATE OFFICE BUILDING                                         54 S. High Street                                                  Wailuku, HI 96793	1.25	WATTS	LF909QT	699	07/2024	CHILLER ROOM (replaced RA0544)	
STATE OFFICE BUILDING                                         54 S. High Street                                                  Wailuku, HI 96793	2	FEBCO	805Y	A13668	07/2024	IN PLANTER BETWEEN SOB AND JUDICIARY MALL	
STATE OFFICE BUILDING                                         54 S. High Street                                                  Wailuku, HI 96793	4	WATTS	909	205411	07/2024	BTWN STATE BLDG & COURT HSE ON MAUI ST SIDE/LF OF MAIN ST ENTRANCE TO PARKING?	
STATE OFFICE BUILDING                                         54 S. High Street                                                  Wailuku, HI 96793	1	WATTS	009M2 	164735	07/2024	PLANTER AREA LEFT OF WALKWAY ALONG MAIN STREET	

ISLAND OF MAUI AND MOLOKAI EQUIPMENT SCHEDULE

STATE OFFICE BUILDING NO. 2                                    2264 Aupuni Street                                                      Wailuku, HI 96793	1.5	ZURN WILKINS	975XL2	ACC1960	10/2024	AUPUNI STREET NEAR STAIRS ON SIDE OF BUILDING	
WAILUKU HEALTH CENTER                                   121 Mahalani Street                                                     Wailuku, HI 96793	1.5	WATTS	909	222298	09/2024	BACK OF DOH LAB	
WAILUKU HEALTH CENTER                                  121 Mahalani Street                                                     Wailuku, HI 96793	2	WILKINS	975XL2	4296831	09/2024	ACROSS THE STREET ON HILL NEAR DLNR OFFICE	
WAILUKU LIBRARY                                                 251 S. High Street                                                    Wailuku, HI 96793	2	WATTS	009M2QT	125818	7/2024	LF OF STAIRS TO LIBRARY	
MOLOKAI BACKFLOW DEVICES	
KAUNAKAKAI STATE CIVIC CENTER                       35 Ala Malama Street                                                            Kaunakakai, HI 	0.75	WATTS	007M1QT	28445	07/2024	LT OF MAKAENA PL ENTRANCE TO PARKING LOT (FIRE LINE), PASS COURT HSE, INSIDE DCDC VAULT	
KAUNAKAKAI STATE CIVIC CENTER                       35 Ala Malama Street                                                            Kaunakakai, HI 	1.5	FEBCO	805Y	A005043	07/2024	RT OF DRIVEWAY NEXT TO BLDG/COURT HOUSE NEXT TO LOADING ZONE? 	
KAUNAKAKAI STATE CIVIC CENTER                       35 Ala Malama Street                                                            Kaunakakai, HI 	1.5	FEBCO	825Y	AF8478	07/2024	NEXT TO CHILLER	
KAUNAKAKAI STATE CIVIC CENTER                      35 Ala Malama Street                                                            Kaunakakai, HI 	2	FEBCO	825Y	AM7241	07/2024	LF OF MAKAENA PL ENTRANCE, NEXT TO CHILLER AREA	
KAUNAKAKAI STATE CIVIC CENTER                      35 Ala Malama Street                                                            Kaunakakai, HI 	2.5	FEBCO	825YD	9611081502	07/2024	35 STEPS RT OF RPBP MAIN LF OF HYD #178/RT OF ENT TO PARKING LOT/ COURT HSE NEX TO LOADING ZONE	
KAUNAKAKAI STATE CIVIC CENTER                      35 Ala Malama Street                                                            Kaunakakai, HI 	8	WATTS	709DCDA	113298	07/2024	IN VAULT, PASS COURT HOUSE, LEFT OF BACK PARKING ENTRANCE, NEXT TO SIDEWALK MAUINA OF PARKING	
MOLOKAI LIBRARY                                                    15 Ala Malama Avenue                                  Kaunakakai, HI 96748	1	WATTS	009M2QT	N/A	04/2024 	RIGHT OF ENTRANCE TO BUILDING