SPECIFICATIONS AND PROPOSAL

FOR

PROVIDE ELECTRICAL SERVICES FOR FY25

AT NAWILIWILI HARBOR AND PORT ALLEN,

KAUAI ISLAND, HAWAII

DOT-HAR-K-26-1

STATE OF HAWAII

DEPARTMENT OF TRANSPORTATION

HARBORS

# SECTION I – GENERAL REQUIREMENTS

1.1  GENERAL – The provisions of this Section shall govern the activities of the Contractor under this contract for required/requested electrical services by the Harbors Kauai District personnel at Nawiliwili Harbor and Port Allen on the Island of Kauai.

All items necessary to return the electrical equipment to a safe condition and within the requirements set forth by the current electrical code shall be considered part of the electrical equipment and shall be maintained as per these Specifications unless specifically noted in these Specifications.

1.2  LICENSING REQUIREMENT – To be eligible for award, bidders must possess a valid State of Hawaii Specialty Contractor’s “C-13” license at the time of the bid opening.

1.3  SPECIAL PERSONNEL SKILL AND QUALIFICATIONS

A.	Contractor Qualifications – The Contractor shall have a minimum of two (2) consecutive years of experience, immediately prior to the bid opening date, in the field of electrical equipment maintenance and repair service.

B.	Personnel Qualifications

1.	Personnel assigned to this project shall be journeyman electricians with a minimum of two (2) consecutive years, immediately prior to the bid opening date, of maintenance and repair service experience on similar type of equipment as indicated in these Specifications.

2.	All prospective bidders must be able to produce documented maintenance experience to substantiate his claims of experience as indicated in Sections 1.3.A and 1.3.B.1.

1.4  CERTIFICATION FOR PERFORMANCE OF SERVICES – Pursuant to Section 103-55, Hawaii Revised Statutes, and unless indicated otherwise, bidders should submit the attached “Certificate for Performance of Services”.

As of the bid opening date, salaries of State employees performing work similar to the work called for under this contract are as follows:

| Class | Salary Range | Min. Hourly Rate |
| --- | --- | --- |
| Apprentice | BC-05 | $28.03 |
| Journeyman Electrician | BC-10 | $35.07 |
| Electrician Working Supervisor | WS-10 | $37.13 |

The above information is provided to the Contractor for guidance only and is subject to change in accordance with existing collective bargaining contracts or shall change as contracts are renegotiated.  It is the bidder’s responsibility to verify the accuracy of the wage rates contained herein and to provide for changes in the minimum wages which must be paid personnel working on this project at all times.  Information on the status of Bargaining Unit (BU) contracts can be obtained from the State Department of Transportation, Harbors Personnel Management Office (808-587-1925) or at https://dhrd.hawaii.gov/state-hr-professionals/class-and-comp/salary-schedules/bu-01-blue-collar-non-supervisor/.

Bidders are further advised that they are not restricted to hire only those classifications of employees as listed, but are free to employ such other classifications of workers as the bidder deems proper and proposes to use on the project, and as may be according to the bidder’s common hiring practice.  However, the principal duties of employees other than those listed hereinabove working on the project will be matched against those of State workers to determine the closest equivalent State employee classification, and the Contractor must compensate such employee(s) at a rate which is no less than that of the equivalent State employee.

1.5  COORDINATION OF WORK – All work under this contract shall be coordinated with the Harbors Kauai District Manager or his authorized representative.  Upon award of the contract, the Contractor, in writing, shall give work schedules, parts requirements, and other essential information to the Kauai District Manager as requested.

The Contractor shall also furnish the Harbors District Manager with telephone numbers through which the Contractor can be called from, any day of the year, 24 hours a day.

Before the 10th of each month, the Contractor shall submit a monthly written report to the Harbors District Manager listing equipment, the dates of examinations, services and repairs if any, performed on each during the previous month.

1.6  TROUBLE CALLS – The term “regular working hours” as used in these Specifications shall mean 7:45 A.M. to 4:30 P.M., Monday through Friday, State holidays excepted.

The term “off-hours” as used in these Specifications shall mean 12:01 A.M. to 7:45 A.M. and 4:30 P.M. to midnight, Monday through Friday, and all hours on Saturdays, Sundays and State holidays.

In case of electrical failure or malfunction of any electrical equipment for any cause, the Contractor is subject to be called by the State; such calls hereinafter will be referred to as “trouble calls”.

The Contractor shall respond onsite to all trouble calls from the State within one working day to restore electrical service in a safe and satisfactory operating condition.

Payment to the Contractor for repair work in response to trouble calls shall be as follows:

A.	Repair work performed during regular working hours shall be paid for based on the hourly bid rate for trouble calls in the Contractor’s proposal multiplied by the time spent at the job site to complete the repair work.  Time spent at the job site to complete the work during regular working hours shall be taken to the closest one-quarter (1/4) of an hour and any fraction of one-quarter (1/4) of an hour shall be considered a full one-quarter (1/4) of an hour.

All trouble call tickets shall be certified and signed by the Harbors District Manager or his representative in order to receive payment therefore.

The Contractor’s hourly bid price shall include all labor, materials, equipment, tools, overhead, travel, insurance, taxes, and all other incidentals necessary to complete the repair work.

B.	Repair work performed during off-hours shall be paid one hundred and fifty percent (150%) of the straight time hourly bid rate for trouble calls for each hour of repair work performed.

Off-hours work shall be taken to the closest one-quarter (1/4) of an hour and any fraction of one-quarter (1/4) of an hour shall be considered a full one-quarter (1/4) of an hour.

Repair work initiated during off-hours and finished during regular working hours shall be paid accordingly.  That is, off-hours hourly rate shall only apply to repair work performed during off-hours, and regular working hours hourly rate shall apply for repair work performed during regular working hours.

All off-hour trouble tickets shall be certified and signed by the Harbors District Manager or his representative in order for the Contractor to receive payment therefore.

1.7  REPLACEMENT OF PARTS AND EQUIPMENT USAGE – The Contractor shall replace necessary parts of the damaged electrical equipment.  The Contractor shall be reimbursed for the cost of the new parts and the usage of equipment, including taxes and shipping charges, plus 10% for overhead, profit, and other incidental expenses.  The Contractor shall substantiate its charges by submitting original billings as requested by the Harbors District Manager.

The Contractor shall use only parts that are certified new and correctly designed.  Payment for the new replacement parts and equipment usage shall be paid at time of invoice using the State Purchase Order.  This payment shall be for actual replacement parts and equipment usage provided to the State for repair work.  The State makes no guarantee whatsoever as to the minimum amount of replacement parts and equipment usage that will be required under this Contract and no fee adjustment will be made if the amount of replacement parts and equipment usage is less than anticipated.

A task(job) order (quote) must be provided to the State and agreed to by the State prior to any work being performed.  Such task(job) order shall include, at a minimum, the number of personnel assigned to the task, an estimate of hours, and an estimate for replacement parts.  Estimated hours must include all hours associated with the work, inclusive of deployment/return.

Purchase orders will be issued for the project as each task(job) is assigned.  The purchase order amount will be the total of the parts and equipment usage and the labor charge prices bid in the HIePRO solicitation.

Upon completion of work, an invoice shall be provided to the State reflecting actual amount of hours, equipment, and parts utilized.  The contractor must be compliant within HCE at time of purchase order issuance and at time of payment.  If contractor is not compliant, award of purchase order or payment may be delayed until such time as the contractor is deemed compliant.

1.8  TERMINATION OF CONTRACT – The importance of the electrical equipment functioning properly demands that they be maintained in a satisfactory and safe operation condition.  For this reason, the electrical equipment is subject to periodic inspections by the Harbors District Manager to ascertain the requirements and the intent of this contract.  Should it be found that the electrical equipment is not being repaired satisfactorily, the State may immediately demand that the Contractor place the electrical equipment in proper condition.  Failure to comply with these requirements, within seven calendar days, may be cause for the State to terminate the contract without any liability on the part of the State.

1.9  TERM OF CONTRACT – The term of this contract shall be for a one-year period beginning from the date indicated in the Notice to Proceed from the State, unless renewed as provided for under Section 1.10.

# 1.10  OPTION TO EXTEND TERM – Subject to the satisfactory performance of the Contractor and the availability of State funds/appropriations, this Contract may be extended for two (2) additional one-year periods at the option of the State provided:

# A.	The option to so extend is exercised by the State not less than 30 days prior to the expiration of the term of the existing Contract.

# B.	The Contract may be extended for additional one-year periods without the necessity for rebidding upon mutual agreement in writing, provided the Contract price for the extended period shall remain equal to the initial bid price.

# C.	The term, including yearly extensions, shall not exceed three (3) years and total of all expenditures for all terms must be less than $100,000.

# 1.11  HARBOR SECURITY – The Contractor shall submit required documentation of all contractor and sub-contractor’s employees, their representatives, suppliers, manufacturers, and alike, and of all necessary vehicles needing access to the project site to the Harbors District Manager before starting work on the project.  The documentation will include the following:

- Authorized personnel’s first name, middle initial(s), and last name by company name.

- Vehicle(s) license plate number(s) by company name.

- If security personnel are required (see Item H, below), they shall be an employee of an established security guard company doing business in the State of Hawai`i for at least the past 6 months.  Each guard providing security services for the project shall have, at minimum, been successfully trained in accordance with Maritime Transportation Security Act of 2002 and 33 Code of Federal Regulations.  Copies of proof of successful training shall be furnished by the Contractor.

In addition, for each work day, Harbors security procedures will be as follows:

- The Contractor may be directed to use a specified entrance to enter and exit the harbor. Upon every entry, each employee must present and possess a photo identification (ID) card.

- All Contractor’s and sub-contractor’s employees, their representatives, suppliers, manufacturers, and authorized personnel needing access to the project site shall wear their photo ID card at all times.

- Contractor’s vehicles must be identified with a company logo and will be subject to search.  Any employee’s personal belongings will also be subject to search.

- If the Contractor wishes to remove any fencing or open any locked gates, they shall coordinate with and request approval from the Harbors District Manager.  If approval is granted, the Contractor shall then be responsible for securing open fencing or gate(s) immediately after entering, or posting a security guard to monitor ingress and egress.

- By the end of each day, the Contractor shall re-erect and/or restore any and all fencing/barrier/perimeter security measures to the satisfaction of the Harbors District Manager.  Electricity and lighting shall also be restored and in satisfactory working order, to no less than pre-construction conditions, by the end of each day, to the satisfaction of the Harbors District Manager.

- Under no circumstances shall perimeter security be compromised.  If determined by the State, and solely by the State, that the contractor has left the project site in a condition that compromises security of the harbor, the State reserves the right to make the necessary arrangements to provide and/or enhance perimeter security, including restoration of electrical power and lighting, all at the sole expense of the contractor.

- At times, the maritime security level for the State of Hawaii and/or the general color coded security level for State of Hawaii may be temporarily elevated.  In these events, the contractor may be prohibited to access the project site and may be required to stop work as directed by the Harbors District Manager.  Harbors will consider impacts to the work and schedule as a result of prolonged work stoppages.

With the possible exception of paragraph J. above, all other requirements indicated shall be considered incidental to the project, for the life of the project, and shall be provided by the contractor at no additional cost to the State.

The Contractor’s personnel requiring access to secure areas of maritime facilities will be required to obtain a Transportation Worker Identification Credential (TWIC).  The project area has been deemed to be within a secured area.  TWIC was established by Congress through the Maritime Transportation Security Act and is administered by the Transportation Security Administration (TSA) and U.S. Coast Guard.  To obtain a TWIC, the applicant must provide biographic and biometric information such as fingerprints, sit for a digital photograph and successfully pass a security threat assessment conducted by TSA.  The Contractor will be responsible to obtain and pay for all costs associated in providing their appropriate employees with TWIC.  Information regarding TWIC is available on the TSA website at: http://www.tsa.dhs.gov/what_we_do/layers/twic/index.shtm.

1.12  BEST MANAGEMENT PRACTICES – The Contractor must follow standard best management practices (BMPs) for air pollution, water pollution, noise and solid waste control, as required by Federal, State and County regulations, to protect the environment from effects of construction activity, including prohibiting any construction debris or other deleterious materials to fall, flow or otherwise enter harbor waters.

The Contractor shall remove all debris resulting from his work.  The Contractor agrees to reimburse the State for all costs expended in performance of the above work if required for public health and safety, or made necessary by non-performance by the Contractor.

1.13  PERMITS – The Contractor will require permits for all welding and burning operations, if welding is contemplated.  The Contractor shall obtain the required work permits from the Harbors District Manager.