## Sheet1
The following offer is hereby submitted:
PART A - LEEWARD DISTRICT OFFER FOR ORIGINAL CONTRACT PERIOD
Item Number | FPE INSPECTION, MAINTENANCE AND TESTING | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers
1 | Annual Maintenance and Inspection | 3412 | Each |  | 0
2 | 6-Year Maintenace (includes recharge) and Recharge Fire Extinguisher
2a | Dry Chemical ABC and/or BC Type (5 pounds) | 231 | Each |  | 0
2b | Dry Chemical ABC and/or BC Type (10 pounds) | 39 | Each |  | 0
3 | 12-year Hydrostatic Test (includes recharge) | 64 | Each |  | 0
4 | 5-year Hydrostatic Tect (includes recharge) CO2 Type (5 pounds) | 7 | Each |  | 0
5 | 5-year Hydrostatic Tect (includes recharge) K Type | 3 | Each |  | 0
Fire Hose Cabinets
6 | Annual Inspection and Service | 78 | Each |  | 0
Standpipe Systems (SPS)
7 | 5-year Inspection and Test of Wet SPS | 15 | Each |  | 0
8 | 5-year Inspection and Test of Dry SPS | 3 | Each |  | 0
Fire Sprinkler Systems (FSS)
9 | Annual Inspection and Testing of Wet FSS | 90 | Each |  | 0
10 | Annual Inspection and Testing of Pre-Action FSS | 10 | Each |  | 0
11 | 5-year Internal Inspection | 16 | Each |  | 0
Kitchen Hood Suppression Systems
12 | Semi Annual (6-month) Inspection and Testing | 66 | Each |  | 0
13 | 12-year Hydrostatic Test (includes recharge) | 3 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
Item Number | FPE REPLACEMENT and SERVICE | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers - Includes mounting of the new Fire Extinguisher in a designated location and disposal of old extinguisher, as applicable.
14 | ABC Type (5 pounds) | 140 | Each |  | 0
15 | ABC Type (10 pounds) | 20 | Each |  | 0
16 | BC Type (5 pounds) | 5 | Each |  | 0
17 | BC Type (10 pounds) | 5 | Each |  | 0
18 | CO2 (5 pounds) | 5 | Each |  | 0
19 | K Type (6 liters) | 2 | Each |  | 0
20 | Additional Recharge to Portable Fire Extinguisher
20a | Dry Chemical ABC and/or BC Type (5 pounds) | 29 | Each |  | 0
20b | Dry Chemical ABC and/or BC Type (10 pounds) | 4 | Each |  | 0
20c | CO2 Type (5 pounds) | 1 | Each |  | 0
20d | K Type (6 liters) | 1 | Each |  | 0
21 | Mount, Remount or Relocate Fire Extinguishers | 20 | Each |  | 0
Fire Hose Replacement
22 | 75 foot Fire Hose Replacement | 25 | Each |  | 0
Signs
23 | Furnish and Install Signs | 20 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
Item Number | AUTHORIZED EXTRA WORK | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
24 | Hourly Rate for Authorized Extra Work (Emergency Services, Trouble Calls) | 600 | Hours |  | 0
*Unit Bid Price shall be the all-inclusive cost to the STATE and no other charges willl be honored. Refer to IFB Special Conditions 13. Unit Bid Price.
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEM 24) |  |  |  | 0
| **TOTAL SUM BID PRICE for Original Contract Period (ITEMS 1 THROUGH 24) |  |  |  | 0
**This amount will be used for future contract supplements, if applicable.
OFFEROR
PART B - LEEWARD DISTRICT OFFER FOR 1ST SUPPLEMENTAL YEAR
Item Number | FPE INSPECTION, MAINTENANCE AND TESTING | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers
1 | Annual Maintenance and Inspection | 3412 | Each |  | 0
2 | 6-Year Maintenace (includes recharge) and Recharge Fire Extinguisher
2a | Dry Chemical ABC and/or BC Type (5 pounds) | 231 | Each |  | 0
2b | Dry Chemical ABC and/or BC Type (10 pounds) | 39 | Each |  | 0
3 | 12-year Hydrostatic Test (includes recharge) | 64 | Each |  | 0
4 | 5-year Hydrostatic Tect (includes recharge) CO2 Type (5 pounds) | 7 | Each |  | 0
5 | 5-year Hydrostatic Tect (includes recharge) K Type | 3 | Each |  | 0
Fire Hose Cabinets
6 | Annual Inspection and Service | 78 | Each |  | 0
Standpipe Systems (SPS)
7 | 5-year Inspection and Test of Wet SPS | 15 | Each |  | 0
8 | 5-year Inspection and Test of Dry SPS | 3 | Each |  | 0
Fire Sprinkler Systems (FSS)
9 | Annual Inspection and Testing of Wet FSS | 90 | Each |  | 0
10 | Annual Inspection and Testing of Pre-Action FSS | 10 | Each |  | 0
11 | 5-year Internal Inspection | 16 | Each |  | 0
Kitchen Hood Suppression Systems
12 | Semi Annual (6-month) Inspection and Testing | 66 | Each |  | 0
13 | 12-year Hydrostatic Test (includes recharge) | 3 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
Item Number | FPE REPLACEMENT and SERVICE | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers - Includes mounting of the new Fire Extinguisher in a designated location and disposal of old extinguisher, as applicable.
14 | ABC Type (5 pounds) | 140 | Each |  | 0
15 | ABC Type (10 pounds) | 20 | Each |  | 0
16 | BC Type (5 pounds) | 5 | Each |  | 0
17 | BC Type (10 pounds) | 5 | Each |  | 0
18 | CO2 (5 pounds) | 5 | Each |  | 0
19 | K Type (6 liters) | 2 | Each |  | 0
20 | Additional Recharge to Portable Fire Extinguisher
20a | Dry Chemical ABC and/or BC Type (5 pounds) | 29 | Each |  | 0
20b | Dry Chemical ABC and/or BC Type (10 pounds) | 4 | Each |  | 0
20c | CO2 Type (5 pounds) | 1 | Each |  | 0
20d | K Type (6 liters) | 1 | Each |  | 0
21 | Mount, Remount or Relocate Fire Extinguishers | 20 | Each |  | 0
Fire Hose Replacement
22 | 75 foot Fire Hose Replacement | 25 | Each |  | 0
Signs
23 | Furnish and Install Signs | 20 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
Item Number | AUTHORIZED EXTRA WORK | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
24 | Hourly Rate for Authorized Extra Work (Emergency Services, Trouble Calls) | 600 | Hours |  | 0
*Unit Bid Price shall be the all-inclusive cost to the STATE and no other charges willl be honored. Refer to IFB Special Conditions 13. Unit Bid Price.
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEM 24) |  |  |  | 0
| **TOTAL SUM BID PRICE for 1st Supplemental Year (ITEMS 1 THROUGH 24) |  |  |  | 0
**This amount will be used for future contract supplements, if applicable.
OFFEROR
PART C - LEEWARD DISTRICT OFFER FOR 2ND SUPPLEMENTAL YEAR
Item Number | FPE INSPECTION, MAINTENANCE AND TESTING | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers
1 | Annual Maintenance and Inspection | 3412 | Each |  | 0
2 | 6-Year Maintenace (includes recharge) and Recharge Fire Extinguisher
2a | Dry Chemical ABC and/or BC Type (5 pounds) | 231 | Each |  | 0
2b | Dry Chemical ABC and/or BC Type (10 pounds) | 39 | Each |  | 0
3 | 12-year Hydrostatic Test (includes recharge) | 64 | Each |  | 0
4 | 5-year Hydrostatic Tect (includes recharge) CO2 Type (5 pounds) | 7 | Each |  | 0
5 | 5-year Hydrostatic Tect (includes recharge) K Type | 3 | Each |  | 0
Fire Hose Cabinets
6 | Annual Inspection and Service | 78 | Each |  | 0
Standpipe Systems (SPS)
7 | 5-year Inspection and Test of Wet SPS | 15 | Each |  | 0
8 | 5-year Inspection and Test of Dry SPS | 3 | Each |  | 0
Fire Sprinkler Systems (FSS)
9 | Annual Inspection and Testing of Wet FSS | 90 | Each |  | 0
10 | Annual Inspection and Testing of Pre-Action FSS | 10 | Each |  | 0
11 | 5-year Internal Inspection | 16 | Each |  | 0
Kitchen Hood Suppression Systems
12 | Semi Annual (6-month) Inspection and Testing | 66 | Each |  | 0
13 | 12-year Hydrostatic Test (includes recharge) | 3 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
Item Number | FPE REPLACEMENT and SERVICE | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers - Includes mounting of the new Fire Extinguisher in a designated location and disposal of old extinguisher, as applicable.
14 | ABC Type (5 pounds) | 140 | Each |  | 0
15 | ABC Type (10 pounds) | 20 | Each |  | 0
16 | BC Type (5 pounds) | 5 | Each |  | 0
17 | BC Type (10 pounds) | 5 | Each |  | 0
18 | CO2 (5 pounds) | 5 | Each |  | 0
19 | K Type (6 liters) | 2 | Each |  | 0
20 | Additional Recharge to Portable Fire Extinguisher
20a | Dry Chemical ABC and/or BC Type (5 pounds) | 29 | Each |  | 0
20b | Dry Chemical ABC and/or BC Type (10 pounds) | 4 | Each |  | 0
20c | CO2 Type (5 pounds) | 1 | Each |  | 0
20d | K Type (6 liters) | 1 | Each |  | 0
21 | Mount, Remount or Relocate Fire Extinguishers | 20 | Each |  | 0
Fire Hose Replacement
22 | 75 foot Fire Hose Replacement | 25 | Each |  | 0
Signs
23 | Furnish and Install Signs | 20 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
Item Number | AUTHORIZED EXTRA WORK | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
24 | Hourly Rate for Authorized Extra Work (Emergency Services, Trouble Calls) | 600 | Hours |  | 0
*Unit Bid Price shall be the all-inclusive cost to the STATE and no other charges willl be honored. Refer to IFB Special Conditions 13. Unit Bid Price.
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEM 24) |  |  |  | 0
| **TOTAL SUM BID PRICE for 2nd Supplemental Year (ITEMS 1 THROUGH 24) |  |  |  | 0
**This amount will be used for future contract supplements, if applicable.
OFFEROR
PART D - LEEWARD DISTRICT OFFER FOR 3RD SUPPLEMENTAL YEAR
Item Number | FPE INSPECTION, MAINTENANCE AND TESTING | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers
1 | Annual Maintenance and Inspection | 3412 | Each |  | 0
2 | 6-Year Maintenace (includes recharge) and Recharge Fire Extinguisher
2a | Dry Chemical ABC and/or BC Type (5 pounds) | 231 | Each |  | 0
2b | Dry Chemical ABC and/or BC Type (10 pounds) | 39 | Each |  | 0
3 | 12-year Hydrostatic Test (includes recharge) | 64 | Each |  | 0
4 | 5-year Hydrostatic Tect (includes recharge) CO2 Type (5 pounds) | 7 | Each |  | 0
5 | 5-year Hydrostatic Tect (includes recharge) K Type | 3 | Each |  | 0
Fire Hose Cabinets
6 | Annual Inspection and Service | 78 | Each |  | 0
Standpipe Systems (SPS)
7 | 5-year Inspection and Test of Wet SPS | 15 | Each |  | 0
8 | 5-year Inspection and Test of Dry SPS | 3 | Each |  | 0
Fire Sprinkler Systems (FSS)
9 | Annual Inspection and Testing of Wet FSS | 90 | Each |  | 0
10 | Annual Inspection and Testing of Pre-Action FSS | 10 | Each |  | 0
11 | 5-year Internal Inspection | 16 | Each |  | 0
Kitchen Hood Suppression Systems
12 | Semi Annual (6-month) Inspection and Testing | 66 | Each |  | 0
13 | 12-year Hydrostatic Test (includes recharge) | 3 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
Item Number | FPE REPLACEMENT and SERVICE | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers - Includes mounting of the new Fire Extinguisher in a designated location and disposal of old extinguisher, as applicable.
14 | ABC Type (5 pounds) | 140 | Each |  | 0
15 | ABC Type (10 pounds) | 20 | Each |  | 0
16 | BC Type (5 pounds) | 5 | Each |  | 0
17 | BC Type (10 pounds) | 5 | Each |  | 0
18 | CO2 (5 pounds) | 5 | Each |  | 0
19 | K Type (6 liters) | 2 | Each |  | 0
20 | Additional Recharge to Portable Fire Extinguisher
20a | Dry Chemical ABC and/or BC Type (5 pounds) | 29 | Each |  | 0
20b | Dry Chemical ABC and/or BC Type (10 pounds) | 4 | Each |  | 0
20c | CO2 Type (5 pounds) | 1 | Each |  | 0
20d | K Type (6 liters) | 1 | Each |  | 0
21 | Mount, Remount or Relocate Fire Extinguishers | 20 | Each |  | 0
Fire Hose Replacement
22 | 75 foot Fire Hose Replacement | 25 | Each |  | 0
Signs
23 | Furnish and Install Signs | 20 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
Item Number | AUTHORIZED EXTRA WORK | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
24 | Hourly Rate for Authorized Extra Work (Emergency Services, Trouble Calls) | 600 | Hours |  | 0
*Unit Bid Price shall be the all-inclusive cost to the STATE and no other charges willl be honored. Refer to IFB Special Conditions 13. Unit Bid Price.
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEM 24) |  |  |  | 0
| **TOTAL SUM BID PRICE for 3rd Supplemental Year (ITEMS 1 THROUGH 24) |  |  |  | 0
**This amount will be used for future contract supplements, if applicable.
OFFEROR
PART E - LEEWARD DISTICT OFFER FOR 4TH SUPPLEMENTAL YEAR
Item Number | FPE INSPECTION, MAINTENANCE AND TESTING | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers
1 | Annual Maintenance and Inspection | 3412 | Each |  | 0
2 | 6-Year Maintenace (includes recharge) and Recharge Fire Extinguisher
2a | Dry Chemical ABC and/or BC Type (5 pounds) | 231 | Each |  | 0
2b | Dry Chemical ABC and/or BC Type (10 pounds) | 39 | Each |  | 0
3 | 12-year Hydrostatic Test (includes recharge) | 64 | Each |  | 0
4 | 5-year Hydrostatic Tect (includes recharge) CO2 Type (5 pounds) | 7 | Each |  | 0
5 | 5-year Hydrostatic Tect (includes recharge) K Type | 3 | Each |  | 0
Fire Hose Cabinets
6 | Annual Inspection and Service | 78 | Each |  | 0
Standpipe Systems (SPS)
7 | 5-year Inspection and Test of Wet SPS | 15 | Each |  | 0
8 | 5-year Inspection and Test of Dry SPS | 3 | Each |  | 0
Fire Sprinkler Systems (FSS)
9 | Annual Inspection and Testing of Wet FSS | 90 | Each |  | 0
10 | Annual Inspection and Testing of Pre-Action FSS | 10 | Each |  | 0
11 | 5-year Internal Inspection | 16 | Each |  | 0
Kitchen Hood Suppression Systems
12 | Semi Annual (6-month) Inspection and Testing | 66 | Each |  | 0
13 | 12-year Hydrostatic Test (includes recharge) | 3 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
Item Number | FPE REPLACEMENT and SERVICE | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
Portable Fire Extinguishers - Includes mounting of the new Fire Extinguisher in a designated location and disposal of old extinguisher, as applicable.
14 | ABC Type (5 pounds) | 140 | Each |  | 0
15 | ABC Type (10 pounds) | 20 | Each |  | 0
16 | BC Type (5 pounds) | 5 | Each |  | 0
17 | BC Type (10 pounds) | 5 | Each |  | 0
18 | CO2 (5 pounds) | 5 | Each |  | 0
19 | K Type (6 liters) | 2 | Each |  | 0
20 | Additional Recharge to Portable Fire Extinguisher
20a | Dry Chemical ABC and/or BC Type (5 pounds) | 29 | Each |  | 0
20b | Dry Chemical ABC and/or BC Type (10 pounds) | 4 | Each |  | 0
20c | CO2 Type (5 pounds) | 1 | Each |  | 0
20d | K Type (6 liters) | 1 | Each |  | 0
21 | Mount, Remount or Relocate Fire Extinguishers | 20 | Each |  | 0
Fire Hose Replacement
22 | 75 foot Fire Hose Replacement | 25 | Each |  | 0
Signs
23 | Furnish and Install Signs | 20 | Each |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
Item Number | AUTHORIZED EXTRA WORK | Estimated Quantity | Unit | Unit Bid Price* | Total Bid Price
24 | Hourly Rate for Authorized Extra Work (Emergency Services, Trouble Calls) | 600 | Hours |  | 0
*Unit Bid Price shall be the all-inclusive cost to the STATE and no other charges willl be honored. Refer to IFB Special Conditions 13. Unit Bid Price.
| SUB-TOTAL BID PRICE (ITEMS 1 THROUGH 13) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEMS 14 THROUGH 23) |  |  |  | 0
| SUB-TOTAL BID PRICE (ITEM 24) |  |  |  | 0
| **TOTAL SUM BID PRICE for 4th Supplemental Year (ITEMS 1 THROUGH 24) |  |  |  | 0
**This amount will be used for future contract supplements, if applicable.
PART F - SUMMARY
| TOTAL SUM BID PRICE FOR ORIGINAL CONTRACT PERIOD (ITEMS 1 THROUGH 24) |  |  |  | 0
| TOTAL SUM BID PRICE FOR 1ST SUPPLEMENTAL YEAR (ITEMS 1 THROUGH 24) |  |  |  | 0
| TOTAL SUM BID PRICE FOR 2ND SUPPLEMENTAL YEAR (ITEMS 1 THROUGH 24) |  |  |  | 0
| TOTAL SUM BID PRICE FOR 3RD SUPPLEMENTAL YEAR (ITEMS 1 THROUGH 24) |  |  |  | 0
| TOTAL SUM BID PRICE FOR 4TH SUPPLEMENTAL YEAR (ITEMS 1 THROUGH 24) |  |  |  | 0
| ***GRAND TOTAL SUM BID PRICE FOR ALL FIVE YEARS (ITEMS 1 THROUGH 24) |  |  |  | 0
***See page SC-7, Special Conditions #24, Method of Award.
OFFEROR