YSTATE OF HAWAII

DEPARTMENT OF HEATLH

ADULT MENTAL HEALTH DIVISION

HAWAII STATE HOSPITAL

45-710 KEA'AHALA ROAD

KANEOHE, HI 96744

HIePRO SOLICITATION

FOR

REPAIR OF THREE (3) FAN COIL UNITS

Release: September 24, 2025

Offer Due:  October 10, 2025, 2:00 PM (HST)

Hawaii State Hospital (HSH) is seeking a contract for the repair Fan Coil Unit(s) at building(s) F,H &I on the grounds of Hawaii State Hospital set forth in Section 1, Scope of Services, of this solicitation Request for Quote (hereinafter “RFQ”).

- Scope of Services

Contractor shall remove and replace three (3) existing HP Horizontal Ceiling Concealed fan coil units in Buildings F, H, and I. The new units will be like-in-kind specifications of the existing equipment to ensure seamless integration and optimal performance. Installation and integration into existing HVAC system. Comprehensive testing and commissioning reports for each unit.

Repair Work

- Remove existing Units. Safely disconnect and remove the three existing fan coil units, ensuring that all associated piping, electrical connections, and mounting hardware are properly handled to prevent damage to the surrounding infrastructure.

- Procurement of New Unit(s). Supply three (3) new HP Horizontal Ceiling Concealed fan coil units with the following specification.

- Electrical Requirements 120V/1Ph/60Hz

- Coil Configuration, Right Hand, 4-row, 5-circuit cooling coil

- Airflow, High speed at 1, 350 CFM

- System Type, 2-pipe hydronic

- Materials, Aluminum fins with galvanized steel casing

- Actuator

- Installation of New Units. Install the new fan coil units in the same locations as the previous units, ensuring proper alignment and secure mounting. Reconnect all piping and electrical connections in compliance with manufacturer guidelines and local buildings codes.

- Integration of 2-way Actuators. Each fan coil unit shall be equipped with a 2-way motorized control valve actuator to regulate the flow of hot or chilled water. The actuators should be compatible with the fan coil units and the building’s control systems.

- Testing and Commissioning. After installation, test each unit to verify proper operations, including checking for leaks, verifying airflow rates, and ensuring that all controls function as intended. Adjust settings as necessary to achieve optimal performance.

- Building F, Demolition of Existing Drop Ceiling. Carefully remove the existing drop ceiling tiles and grid system in the areas where the fan coil units are located. Ensure that all electrical fixtures, such as lighting, are safely disconnected and removed prior to ceiling demolition. Properly dispose of all debris and materials resulting from the demolition in accordance with the local regulations.

- Building F, Reinstallation of Drop Ceiling. Install a new drop ceiling grid system and tiles to match the existing ceiling design and aesthetics. Reinstall any electrical fixture that were removed during the demolition process, ensuring they are properly secured and operations.

- Cleanup and Disposal. Remove all debris resulting from the replacement process and dispose of the old units and materials in accordance with local regulations.

Equipment:

Bldg F: XTI-054X078-BAJA046A

Bldg H: XTI-045XO75-BAHA046A

Bldg I:   XTI-054X078-FAHA046A

|  | General Description |
| --- | --- |
| Prebid Conference | All Contractors must attend a mandatory meeting at the Hawaii State Hospital on September 29, 2025, at 12:00pm. To do a walk through to evaluate scope of work. Only those who attend the mandatory pre-conference, turn in all required documents, and who are compliant with Hawaii Compliance Express (HCE) will be eligible for award. |
| Completion of Work | At completion of the work, Contractor will provide a written warranty that the completed project is free from any workmanship or material defects for a period of one (1) year starting from the date of the works formal acceptance. The warranty shall state that, in case of any workmanship defects that will occur within the period of one (1) year period the Contractor shall implement the necessary corrective work without charging the State for the costs of materials, labor, and equipment use. Submit Documentation of the disposal process for the old units and materials. |
| Professional Reference | Provide 3 References for Hawaii State Hospital to contact. - Reference #1 - Reference #2 - Reference #3 |

General Compliance     General guideline to follow while on HSH Property

      - All work shall be done between 7:30am to 3:00pm, Monday through Friday, except State Holidays.

      - The duration of this work shall be no longer than ninety (90) workdays, excluding rain out days unless agreed to be Hawaii State Hospital Facility Plant Manager, within the performance period.

      - Contractor to provide safety signs, barricades, and other devices necessary for the safety and convenience of the general public. Contractor shall at all times conduct his/her work to assure the least possible disruption to normal public traffic (vehicular and pedestrian) and allowing for the free flow of traffic and public rights-of way.

      - Shirts are required to be worn at all times on the work site, smoking is not allowed anywhere on the property, no radios or headsets are allowed.

      - Adverse conditions which may require major field changes not stated in the scope of work for this project must be reported to the Hawaii State Hospital Facility Plant Manager prior to commencement or continuation of work.

      - Contractor shall re-execute any work that fails to conform to the requirements of this agreement and shall immediately remedy any defects due to faulty workmanship by the Contractor. Should the Contractor fail to comply, the State reserves the right to engage the services of another company to perform the services and to deduct such costs from monies due to the Contractor.

- Qualification and Requirement:

- Prevailing wages will apply.

- Provide qualified candidates to perform the services under this RFQ.

- Maintain an accurate record and shall report to HSH Facility Plant Manager.

- Certificate of insurance.

- Vendor Compliance

- Proof of compliance obtained through Hawaii Compliance Express (HCE). The vendor’s name on the Certificate of Vendor Compliance (CVC) must exactly match the vendor’s name under which the quote for this solicitation is submitted. A copy of CVC must be submitted with quote for verification. The vendor is responsible for maintaining compliance. Non-compliance may result in a vendor not receiving an award, delay of payment, or cancellation of award.

- The interested offeror must be a registered company to do business in the State of Hawaii.

- Compensation and Payment Schedule

The Contractor shall submit one complete invoice to Hawaii State Hospital for the services provided in accordance with Section 1, “Scope of Services.”

- Performance Period:

The Contractor shall provide the services required under the contract from November 3, 2025, to April 1, 2026, unless the contract is sooner terminated.

- Submission and Award

The compensation rates in the Rate Schedule that are offered by the Contractor shall be inclusive of wages, fringe benefits, all applicable taxes, and all incidental costs (if any).

All submittals shall be made via HIePRO. The following documents must also be completed and submitted by the vendor.

- Form W-9

- Wage Certificate

- Offeror’s Qualification Form

- Offer Form OF-1

HSH reserves the right to cancel this procurement or award at any time and for convenience by providing four (4) weeks prior written notice to the Contractor.