STATE OF HAWAII

DEPARTMENT OF HEATLH

ADULT MENTAL HEALTH DIVISION

HAWAII STATE HOSPITAL

45-710 KEA'AHALA ROAD

KANEOHE, HI 96744

HIePRO SOLICITATION

REQUEST FOR QUOTES

FOR

SEWER/MANHOLE REPAIR

Release: September 26, 2025

Offer Due:  October 10, 2025 2:00 PM (HST)

Hawaii State Hospital (HSH) is seeking a contractor for the materials, supplies, and labor for the repair of the sewer line, manhole that is damaged on grounds of the Hawaii State Hospital set forth in Section 1, Scope of Services, of this solicitation Request for Quote (hereinafter “RFQ”).

- Scope of Work:

All materials, equipment, and labor to demolish, remove existing manhole, and repair any piping that has been damaged. Replacement of new man hole cover.

- Demo and haul away existing manhole that is broken.

- Install 48-inch concentric manhole supply/pickup/deliver similar to attached specification sheet.

- Chip new hole at base of manhole for existing 6-inch sewer pipe.

- Concrete patch around existing 6-inch sewer pipe.

|  | General Description |
| --- | --- |
| Pre-Offer Conference | All Contractors must attend a mandatory meeting at the Hawaii State Hospital on October 2, 2025, at 12:00pm to do a walk through to evaluate scope of work. |
| Performance | - The contractor shall provide all materials, parts, and labor being requested. - The contractor shall perform quarterly maintenance to ensure all ovens are running to manufacturers specifications. - The contractor to provide certified technicians to handle work for each listed “equipment” listed in “Scope of Service”. |

General Compliance     General guideline to follow while on HSH Property

      - All work shall be done between 7:30am – 3:00pm, Monday through Friday, except State Holidays, unless agreed upon with Contract Holder.

      - The duration of this work shall be no longer than ten (10) business days, excluding holidays and weekend, unless agreed to by Hawaii State Hospital Facility Plant Manager within the performance period.

      - Contractor to provide safety signs, barricades, and other devices necessary for the safety and convenience of the general public. Contractor shall at all times conduct his/her work to assure the least possible disruption to normal public traffic (vehicular and pedestrian) and allowing for the free flow of traffic and public right-of way.

      - Shirts are required to be worn at all times on the work site, smoking is not allowed anywhere on the property, no radios or headsets are allowed.

      - Adverse conditions which may require major field changes not stated in the scope of work for this project must be reported to the Hawaii State Hospital Facility Plant Manager prior to commencement of continuation of work.

      - Contractor shall re-execute any work that fails to conform to the requirements of this agreement and shall immediately remedy and defects due to faulty workmanship by the Contractor. Should the Contractor fail to comply to perform the services and to deduct such costs from monies due to the Contractor.

- Vendor Compliance

- Proof of compliance obtained through Hawaii Compliance Express (HCE). The vendor’s name on the Certificate of Vendor Compliance (CVC) must exactly match the vendor’s name under which the quote for this solicitation is submitted. A copy of CVC must be submitted with quote for verification. The vendor is responsible for maintaining compliance. Non-compliance may result in a vendor not receiving an award, delay of payment, or cancellation of award.

- The interested offeror must be a registered company to do business in the State of Hawaii.

- Compensation and Payment Schedule

The Contractor shall submit single invoice at completion of work provided to Hawaii State Hospital for the services in accordance with Section 1, “Scope of Services.” All materials, transportation, fuel, labor, materials, parts, etc. for maintenance serving to be included win electronic submission.

The Contractor shall include all applicable taxes, shipping, fees of any kind when submitting the via electronic bid.

- Performance Period:

The Contractor shall provide the product required under the contract from October 20, 2025, through December 31, 2025, unless the contract is sooner terminated.

When in the interest of the State, HSH may terminate the contract at any time and for convenience by providing four (4) weeks prior written notice to the Contractor.

- Submission and Award

All submittals shall be made via HIePRO. The following documents must also be completed and submitted by the vendor.

- Offer Form OF-1

- Liability License

Selection and award shall be contingent on the lowest and most responsible and responsive offer.

All questions and answers will be provided via the State of Hawaii HIePRO system only on the given due dates.