| AHU Unit | # of Lamps | Lamp Length (in) | AHU Interior Dimensions (H × W, in) | Voltage | Model Description | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| AHU-1 | 4 | 61 | 80 × 123 | 120 | RLM XTREME 61″ Single-Ended – High Output Encapsulamp or Approved Equal | 1-9 |
| AHU-2 | 4 | 61 | 60 × 97 | 120 | RLM XTREME 61″ Single-Ended – High Output Encapsulamp or Approved Equal | 1-9 |
| AHU-3 | 4 | 61 | 82 × 136 | 120 | RLM XTREME 61″ Single-Ended – High Output Encapsulamp or Approved Equal | 1-9 |
| AHU-4 | 4 | 61 | 82 × 136 | 120 | RLM XTREME 61″ Single-Ended – High Output Encapsulamp or Approved Equal | 1-9 |
| AHU-5 | 4 | 61 | 69 × 121 | 120 | RLM XTREME 61″ Single-Ended – High Output Encapsulamp or Approved Equal | 1-9 |
| AHU-6 | 4 | 61 | 61 × 96 | 120 | RLM XTREME 61″ Single-Ended – High Output Encapsulamp or Approved Equal | 1-9 |

Notes (1–9) referenced in Remarks:

- Interlock with door switch

- Provide waterproof toggle switch

- Provide warning sign on access doors

- Provide IP67 lamp connector with 4' cable kit

- Provide quick-slip / C-clip mounting kit

- Provide RLM-X-BOC 4PS

- Provide UvRepeat Kit 2 board

- Provide M12 extension cables as necessary

- Provide UVC fixture installation framing kit