STATE OF HAWAI'I

DEPARTMENT OF HAWAIIAN HOME LANDS

REQUEST FOR PROPOSALS

Solicitation No.: RFP-26-HHL-008

Title: Installation of Solar Charging Stations at Various Locations

Federal Grant Project: NTIA Tribal Broadband Connectivity Program Award ID: NT23TBC0290054

1. INTRODUCTION

The Department of Hawaiian Home Lands (DHHL) is seeking proposals from qualified vendors to furnish, deliver, and install seven (7) commercial-grade solar charging workstations across multiple islands in Hawaii. This procurement includes all equipment, shipping, delivery, installation, site preparation, taxes, fees, and 5-year basic maintenance plans.

This project is funded through the National Telecommunications and Information Administration's (NTIA) Tribal Broadband Connectivity Program and is subject to federal procurement and labor requirements including prevailing wage provisions under the Davis-Bacon Act.

This procurement supports DHHL's broadband initiatives to expand community access to reliable charging and connectivity infrastructure across Hawaii's islands.

2. PROJECT SCOPE AND LOCATIONS

DHHL requires seven (7) solar charging stations deployed across six (6) Hawaii State Public Library System locations and one (1) DHHL facility, supporting digital connectivity initiatives statewide.

Installation Locations:

Oahu (3 stations):

- Nānākuli Public Library: 89-070 Farrington Highway, Waianae, HI 96792

- Kapolei Public Library: 1020 Manawai Street, Kapolei, HI 96707

- Waimanalo Public Library: 41-1320 Kalanianaole Highway, Waimanalo, HI 96795

Kauai (1 station):

4. Hanapepe Public Library: 4490 Kona Road, Hanapepe, HI 96716

Molokai (2 stations):

5. Molokai Public Library: 15 Ala Malama Street, Kaunakakai, HI 96748

6. DHHL Moloka'i District Office: 600 Mauna Loa Highway, Kaunakakai, HI 96748

Hawaii Island (1 station):

7. Naalehu Public Library: 95-5669 Mamalahoa Highway, Naalehu, HI 96772

3. TECHNICAL SPECIFICATIONS

DHHL requires solar charging stations that meet the performance, durability, and user features appropriate for Hawaii's climate and public use. DHHL seeks cost-effective, proven commercial solutions that deliver reliable functionality within budget constraints.

Detailed Technical Specifications:

Construction and Durability:

- Heavy-duty, weather-resistant materials designed to withstand salt spray, high winds, heavy rain, and intense UV exposure with minimal upkeep

- All metal components shall be marine-grade aluminum or stainless steel with appropriate corrosion protection coatings

- Operating temperature range: 32°F to 120°F (-0°C to 49°C)

- Humidity resistance: Up to 95% relative humidity non-condensing

ADA Accessibility:

- Seating and access compliant with current ADA guidelines and Hawaii Accessibility Code

- Minimum 1 space for wheelchair users; preference for 2 wheelchair-accessible spaces

- Minimum 30" x 48" clear floor space at accessible seating positions

- Accessible route to charging station from existing pathways

Capacity:

- Seating for at least four (4) users, with an integrated tabletop workspace

- Tabletop minimum dimensions: 4' x 6' with smooth, weather-resistant surface

Charging Outlets:

- At least four (4) GFCI-protected 120V outlets (NEMA 5-15R)

- At least four (4) USB-A ports (minimum 2.4A output each)

- At least four (4) USB-C ports (minimum 18W PD output each)

- All outlets protected by individual circuit breakers or fuses

Solar Power System:

- Solar array: 700-900 watts peak power (higher capacity acceptable only if cost-neutral)

- Lithium iron phosphate (LiFePO4) or quality lead-acid battery system: 1.0-1.5 kWh usable capacity

- Battery management system with overcharge, over-discharge, and thermal protection

- Capability to fully charge minimum 50 typical smartphones (3,000 mAh each) on single battery charge

- System shall operate during overcast conditions and provide limited charging for minimum 2 consecutive cloudy days

- MPPT charge controller included

Shade Structure:

- Overhead canopy minimum 10' x 12' to protect users from sun and light rain

- UV-resistant fabric or solid roofing material

- Minimum 8' clearance height at lowest point

Security:

- Secure anchoring system using reinforced concrete footings to deter theft, vandalism, and withstand high winds

- Self-ballasted system preferred to minimize foundation requirements

- Lockable electrical compartments with tamper-resistant hardware

- GPS tracking capability

Smart Controls:

- Programmable timer system to disable charging outside of business hours (basic timer functionality required)

- LED status indicators showing system operational status

Industry Standards:

- Standard commercial solar charging stations preferred over custom fabrication

- Quality equivalent to established manufacturers (Steelcase, Sunbolt, Landscape Forms, or approved equal)

- All electrical components UL listed for outdoor use

- Cost-effectiveness prioritized - over-specification beyond requirements discouraged

- Electronic Information Technology (EIT) Accessibility: All electronic information technology developed or provided under this contract shall comply with the applicable requirements of the Hawaii Electronic Information Technology Disability Access Standards (Access Standards)

4. SITE PREPARATION AND INSTALLATION REQUIREMENTS

Code Compliance: All construction shall comply with the 2021 International Building Code as adopted by the State of Hawaii with local amendments. All electrical work shall comply with current Hawaii electrical codes and requirements.

Contractor Responsibilities:

Pre-Installation (All Locations):

- Conduct site visits at all seven (7) locations within 10 days of Notice to Proceed

- Site surveys and condition documentation with photographs and measurements

- Coordinate with DHHL and HSPLS facility managers for access and scheduling

- Submit comprehensive installation plan including site-specific requirements

- Resolve any site discrepancies before proceeding

Site Preparation:

- Site-specific preparation as needed for each location, including:

  - Grubbing, clearing, leveling, and grading

  - New concrete pad installation required at the following locations:

    - Kapolei Public Library

    - Hanapepe Public Library

    - Naalehu Public Library

    - Molokai Public Library

    - DHHL Moloka'i District Office

  - Existing pad modification/enhancement at remaining locations as needed

  - Concrete pad installation per manufacturer specifications and site requirements (minimum 4" thick, reinforced with #4 rebar grid)

  - Utility coordination and irrigation system modifications (where applicable)

  - ADA-compliant pathway connections

- Minimize disruption to library operations during installation

Installation:

- Professional installation at all seven (7) locations

- Anchor and secure equipment to manufacturer's requirements and applicable building codes

- Install equipment to withstand hurricane-force winds per Hawaii Building Code

- Complete electrical connections in compliance with Hawaii electrical codes

- Test all systems and charging functions prior to handover

Quality Control:

- Protect existing infrastructure and landscaping during installation

- Clean installation areas and remove all construction debris

- Provide comprehensive system documentation for each location

- Coordinate final inspections with DHHL and facility managers

5. DELIVERY AND INSTALLATION TIMELINE

Project Duration: All seven (7) stations shall be delivered and installed within 180 calendar days of Notice to Proceed, accounting for:

- Multi-island logistics and shipping schedules

- Coordination with multiple facility locations

- Weather contingencies

Proposed Milestone Schedule:

- Equipment purchase (all islands) within 30 days of NTP

- Equipment delivery (all islands): Within 60 days of NTP

- Installation completion (all locations): Within 180 days of NTP

6. WARRANTY AND INITIAL MAINTENANCE REQUIREMENTS

Basic Warranty and Support Period: All proposals must include basic warranty coverage and initial support for all seven (7) stations.

Initial Warranty Coverage:

Comprehensive Warranty:

- Minimum 2-year comprehensive warranty on all materials and workmanship from DHHL acceptance date

- Minimum 3-year warranty on solar panels and battery system

- Minimum 5-year structural warranty on anchoring and structural components

Warranty Service Requirements:

- Emergency response for system failures during warranty period

- Component replacement for defective parts during warranty

- Technical support contact information and response procedures

- Parts availability guarantee for warranty repairs

Training and Handover:

Comprehensive Training Program:

- Operational training for DHHL and HSPLS staff at each location

- Basic maintenance training including panel cleaning, system monitoring, and troubleshooting

- System documentation including operation manuals, maintenance schedules, and warranty information

- 24/7 emergency contact information for first 90 days post-installation

System Documentation:

- Operation manuals for each location

- Maintenance schedules and recommended service intervals

- Troubleshooting guides for common issues

- Warranty documentation and service contact information

- Parts lists and replacement part availability information

Performance Guarantees:

Initial Performance Standards:

- Solar system shall maintain minimum 80% of rated capacity for 3 years

- Battery system shall maintain minimum 80% of rated capacity for 2 years

- System availability during warranty period with reasonable maintenance

Handover Support:

- Coordination assistance for HSPLS maintenance transition

- Service provider recommendations for post-warranty maintenance

- Technical support for first 90 days after installation

7. MAINTENANCE AND WARRANTY REQUIREMENTS

Warranty Requirements:

- Minimum 2-year comprehensive warranty on materials and workmanship

- Minimum 3-year warranty on solar panels and battery systems

- Minimum 5-year structural warranty

Training and Support:

- Comprehensive operational training for DHHL and HSPLS staff at each location

- Detailed maintenance manuals and documentation

- 24/7 emergency contact for first 90 days post-installation

- Ongoing technical support throughout maintenance period

7. FEDERAL FUNDING COMPLIANCE

This project is funded with federal funds (NTIA TBCP Grant NT23TBC0290054) and contractors must comply with all applicable federal requirements including:

Federal Labor Standards:

- Davis-Bacon Act (40 U.S.C. 3141-3144) - Prevailing wages for construction work

- Contract Work Hours and Safety Standards Act (40 U.S.C. 3702-3704)

- Copeland "Anti-Kickback" Act (40 U.S.C. 3145)

Equal Employment Opportunity:

- Executive Order 11246 - Non-discrimination and affirmative action requirements

Environmental and Procurement Compliance:

- Clean Air Act and Federal Water Pollution Control Act compliance

- Buy American/Domestic Preferences for materials and equipment

- Debarment and Suspension verification (SAM.gov exclusions)

- Anti-Lobbying requirements (Byrd Amendment)

Electronic Information Technology (EIT) Accessibility:

- Hawaii Electronic Information Technology Disability Access Standards - All electronic information technology developed or provided under this contract shall comply with applicable Access Standards

- Section 508 compliance and WCAG 2.1 Level AA requirements for any digital interfaces, control systems, or monitoring applications

- Accessibility Conformance Report (ACR) required for all electronic components with digital interfaces

Required Certifications:

All bidders must provide signed federal compliance certifications including:

- Davis-Bacon Act acknowledgment and wage compliance

- Equal Employment Opportunity certification

- Debarment/suspension certification

- Anti-lobbying certification

- Buy American preferences acknowledgment

- Electronic Information Technology (EIT) Accessibility compliance certification

- Accessibility Conformance Report (ACR) for all electronic components with digital interfaces, control systems, or monitoring capabilities

8. PROPOSAL SUBMISSION REQUIREMENTS

Total Project Budget: Not to exceed $599,538 (inclusive of all equipment, shipping, installation, site preparation, permits, taxes, fees, and 5-year maintenance plans)

Proposal Format: Proposals shall be submitted electronically via HIePRO and include:

Technical Proposal:

- Detailed equipment specifications for proposed solar charging stations

- Site-specific installation plans for all seven (7) locations

- Project management approach and timeline

- 5-year maintenance plan with detailed schedules and coverage

- Quality assurance and testing procedures

Management Proposal:

- Project team qualifications and experience

- References from minimum five (5) similar multi-site installations

- Risk management and contingency planning

- Coordination approach for multi-island deployment

Cost Proposal:

- Detailed cost breakdown by location and work element

- 5-year maintenance cost included in total price

- Unit pricing for potential future additional stations

- Payment schedule aligned with project milestones

Compliance Documentation:

- Federal compliance certifications (complete package)

- Current Hawaii Compliance Express (HCE) Certificate

- Licensing and insurance documentation

- Buy American compliance documentation

- Electronic Information Technology (EIT) Accessibility Conformance Report (ACR) for all electronic components, digital interfaces, control systems, or monitoring capabilities

- Hawaii Electronic Information Technology Disability Access Standards compliance certification

9. EVALUATION CRITERIA

Proposals will be evaluated using the following criteria:

- Technical Approach (30%) - Equipment specifications, installation methodology, 5-year maintenance plan, and EIT accessibility compliance

- Management Capability (25%) - Team qualifications, experience, and project management approach

- Cost (25%) - Total project cost including 5-year maintenance

- Past Performance (20%) - References and demonstrated capability for similar projects

Evaluation Process:

- Initial responsiveness review and federal compliance verification

- EIT Accessibility compliance verification and ACR review

- Technical evaluation by subject matter experts

- Cost analysis and best value determination

- Reference checks and past performance verification

- Oral presentations may be requested from highest-ranked proposers

10. CONTRACT TERMS AND CONDITIONS

- Contract Type: Firm Fixed Price with 5-year maintenance services Payment Terms: Progress payments based on milestone completion Liquidated Damages: $100 per day for failure to meet contract milestones Performance Bond: Required for contracts exceeding $100,000

11. PROPOSAL SCHEDULE

Pre-Proposal Conference: October 14, 2025 via Microsoft Teams

- Mandatory attendance for all proposers

- Technical questions and site visit coordination

Site Visit Opportunities: Tentative Dates October 20-24, 2025

- Coordinated visits to all seven (7) locations available

- Individual site visits by appointment

Questions Due: October 24, 2025 Answers Posted: October 30, 2025 Proposals Due: November 7, 2025 at 2:00 PM HST

12. POINT OF CONTACT

Name: Aislen Bacalso, Broadband Outreach Coordinator
Phone: (808) 570-4883
Email: aislen.v.bacalso@hawaii.gov

Method of Submission: HIePRO only

Questions and Clarifications: All questions must be submitted electronically through HIePRO. DHHL may refuse to answer questions received outside of HIePRO or after the deadline.

ATTACHMENTS

- Exhibit A -- Site Plans and Installation Drawings (All 7 Locations)

  - Nānākuli Public Library

  - Kapolei Public Library

  - Waimanalo Public Library

  - Hanapepe Public Library

  - Molokai Public Library

  - DHHL Moloka'i District Office

  - Naalehu Public Library

- Exhibit B – Bidder Offer Form

- Exhibit C – Technical Specification Requirements Checklist

- Exhibit D -- Federal Compliance Certification Package

- Exhibit E -- State Procurement Office Requirements (Procurement Circular No. 2025-07)

  - Hawaii Electronic Information Technology Disability Access Standards

  - EIT Accessibility Compliance Requirements

  - Accessibility Conformance Report (ACR) Template