EXHIBIT C - TECHNICAL SPECIFICATION REQUIREMENTS CHECKLIST

DEPARTMENT OF HAWAIIAN HOME LANDS

RFP-26-HHL-008: Solar Charging Work Stations – Statewide Multi-Island Deployment

Federal Grant Project: NTIA Tribal Broadband Connectivity Program Award ID: NT23TBC0290054

Instructions: Bidders must complete this checklist and provide supporting documentation for each requirement. All items marked "MANDATORY" must be met for proposal to be considered responsive. This checklist applies to all seven (7) solar charging work stations across all four (4) Hawaiian islands.

Bidder: _________________________________________ Date: _____________

Total Stations: 7 (Oahu: 3, Kauai: 1, Molokai: 2, Hawaii Island: 1)

CONSTRUCTION AND DURABILITY REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Heavy-duty, weather-resistant materials designed for Hawaii climate | ☐ | ☐ Yes ☐ No | Manufacturer specs, material certifications |
| Withstands 170 mph sustained winds (all 7 stations) | ☐ | ☐ Yes ☐ No | Engineering certification, wind load analysis |
| Salt spray and coastal corrosion resistance | ☐ | ☐ Yes ☐ No | Corrosion resistance test documentation |
| Marine-grade aluminum or stainless steel components | ☐ | ☐ Yes ☐ No | Material specifications and certifications |
| Operating temperature: 32°F to 120°F (-0°C to 49°C) | ☐ | ☐ Yes ☐ No | Environmental operating specifications |
| Humidity resistance: Up to 95% RH non-condensing | ☐ | ☐ Yes ☐ No | Humidity resistance test results |

ADA ACCESSIBILITY REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| ADA guidelines and Hawaii Accessibility Code compliance | ☐ | ☐ Yes ☐ No | ADA compliance certification |
| Min. 1 wheelchair space per station (preference: 2 spaces) | ☐ | ☐ Yes ☐ No | Dimensional drawings, accessibility plans |
| 30" x 48" clear floor space at accessible positions | ☐ | ☐ Yes ☐ No | Detailed accessibility drawings |
| Accessible route capability from existing pathways | ☐ | ☐ Yes ☐ No | Site accessibility coordination plans |

WORKSPACE AND SEATING REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Seating for minimum 4 users per station | ☐ | ☐ Yes ☐ No | Seating layout and capacity drawings |
| Integrated tabletop workspace per station | ☐ | ☐ Yes ☐ No | Workspace design specifications |
| Tabletop minimum 4' x 6' with weather-resistant surface | ☐ | ☐ Yes ☐ No | Dimensional specs and material properties |

CHARGING CAPABILITIES

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Min. 4 GFCI-protected 120V outlets per station | ☐ | ☐ Yes ☐ No | Electrical specifications and GFCI documentation |
| Min. 4 USB-A ports per station (2.4A output each) | ☐ | ☐ Yes ☐ No | USB-A port specifications and output ratings |
| Min. 4 USB-C ports per station (18W PD output each) | ☐ | ☐ Yes ☐ No | USB-C PD specifications and power delivery |
| Individual circuit breakers or fuses for all outlets | ☐ | ☐ Yes ☐ No | Circuit protection details and electrical drawings |

SOLAR POWER SYSTEM

| Requirement | MANDATORY | Meets Spec (Y/N) | Actual Specification | Supporting Documentation |
| --- | --- | --- | --- | --- |
| Solar array: 700-900W per station (higher only if cost-neutral) | ☐ | ☐ Yes ☐ No | _______ watts per station | Solar panel specifications and performance data |
| LiFePO4 or quality lead-acid battery system | ☐ | ☐ Yes ☐ No | Battery type: _________ | Battery technology specifications |
| Battery capacity: 1.0-1.5 kWh usable per station | ☐ | ☐ Yes ☐ No | _______ kWh per station | Battery capacity specifications |
| Battery Management System (BMS) with protection | ☐ | ☐ Yes ☐ No | BMS features: _________ | BMS documentation and safety features |
| Charge min. 50 smartphones (3,000 mAh each) per cycle | ☐ | ☐ Yes ☐ No | Est. devices: _________ | Performance calculations and testing |
| 2+ consecutive cloudy day operation capability | ☐ | ☐ Yes ☐ No | _______ days capacity | Performance analysis and modeling |
| MPPT solar charge controller included | ☐ | ☐ Yes ☐ No | Controller model: _____ | MPPT controller specifications |

SHADE STRUCTURE

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Overhead canopy minimum 10' x 12' per station | ☐ | ☐ Yes ☐ No | Canopy dimensions and structural drawings |
| UV-resistant fabric or solid roofing material | ☐ | ☐ Yes ☐ No | Material UV resistance specifications |
| Minimum 8' clearance height at lowest point | ☐ | ☐ Yes ☐ No | Height specifications and clearance drawings |
| Rain protection capability | ☐ | ☐ Yes ☐ No | Weather protection performance data |

SECURITY FEATURES

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Secure anchoring system (170 mph wind resistance) | ☐ | ☐ Yes ☐ No | Anchoring specifications and wind analysis |
| Lockable electrical compartments with tamper resistance | ☐ | ☐ Yes ☐ No | Security features and locking mechanisms |
| GPS tracking (may be included if cost-effective) | ☐ | ☐ Yes ☐ No ☐ N/A | GPS tracking system specifications |

SMART CONTROLS AND EIT ACCESSIBILITY

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Programmable timer system (business hours control) | ☐ | ☐ Yes ☐ No | Timer/control system specifications |
| LED status indicators for operational status | ☐ | ☐ Yes ☐ No | Status indicator specifications |
| Remote monitoring (may be included if cost-effective) | ☐ | ☐ Yes ☐ No ☐ N/A | Remote monitoring system specifications |
| EIT Accessibility Standards compliance | ☐ | ☐ Yes ☐ No | Hawaii EIT Disability Access Standards certification |

INDUSTRY STANDARDS AND QUALITY

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Standard commercial solar stations preferred over custom | ☐ | ☐ Yes ☐ No | Commercial product documentation |
| Quality equivalent to Steelcase, Landscape Forms, or similar | ☐ | ☐ Yes ☐ No | Quality certifications and comparisons |
| All electrical components UL listed for outdoor use | ☐ | ☐ Yes ☐ No | UL listing documentation for all components |
| Cost-effectiveness prioritized - no over-specification | ☐ | ☐ Yes ☐ No | Cost justification for premium features |

FEDERAL COMPLIANCE REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| NTIA TBCP Grant compliance (Award NT23TBC0290054) | ☐ | ☐ Yes ☐ No | Federal grant compliance certification |
| Davis-Bacon Act prevailing wage compliance | ☐ | ☐ Yes ☐ No | Davis-Bacon wage determination acknowledgment |
| Buy American preferences for materials and equipment | ☐ | ☐ Yes ☐ No | Buy American compliance documentation |
| Equal Employment Opportunity compliance (Executive Order 11246) | ☐ | ☐ Yes ☐ No | EEO compliance certification |
| Debarment/Suspension verification (SAM.gov exclusions) | ☐ | ☐ Yes ☐ No | SAM registration and exclusion verification |
| Anti-lobbying compliance (Byrd Amendment) | ☐ | ☐ Yes ☐ No | Anti-lobbying certification |

INSTALLATION AND SITE REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| 2021 International Building Code compliance (Hawaii amendments) | ☐ | ☐ Yes ☐ No | Building code compliance certification |
| Hawaii electrical code compliance | ☐ | ☐ Yes ☐ No | Electrical code compliance documentation |
| Site surveys and condition documentation (all 7 locations) | ☐ | ☐ Yes ☐ No | Pre-construction site documentation plans |
| Utility location verification and coordination | ☐ | ☐ Yes ☐ No | Utility coordination procedures |
| Irrigation system modifications (where applicable) | ☐ | ☐ Yes ☐ No | Irrigation coordination and modification plans |

WARRANTY AND SUPPORT REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Actual Warranty | Supporting Documentation |
| --- | --- | --- | --- | --- |
| Min. 2-year comprehensive warranty (materials & workmanship) | ☐ | ☐ Yes ☐ No | _______ years | Comprehensive warranty documentation |
| Min. 3-year solar panels and battery system warranty | ☐ | ☐ Yes ☐ No | _______ years | Extended warranty terms |
| Min. 5-year structural warranty | ☐ | ☐ Yes ☐ No | _______ years | Structural warranty documentation |
| Training (all 7 locations) | ☐ | ☐ Yes ☐ No | Training program plan | Training curriculum and schedule |
| 24/7 emergency contact for first 90 days | ☐ | ☐ Yes ☐ No | Emergency contact plan | Emergency response procedures |

ENVIRONMENTAL AND REGULATORY COMPLIANCE

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Clean Air Act compliance | ☐ | ☐ Yes ☐ No | Environmental compliance certification |
| Federal Water Pollution Control Act compliance | ☐ | ☐ Yes ☐ No | Water protection compliance documentation |
| Energy Policy and Conservation Act compliance | ☐ | ☐ Yes ☐ No | Energy efficiency compliance certification |

ACCESSIBILITY CONFORMANCE REPORTING

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Accessibility Conformance Report (ACR) for electronic components | ☐ | ☐ Yes ☐ No | Complete ACR for digital interfaces/controls |
| Hawaii EIT Disability Access Standards compliance | ☐ | ☐ Yes ☐ No | EIT accessibility compliance certification |
| Section 508 and WCAG 2.1 Level AA compliance | ☐ | ☐ Yes ☐ No | Section 508/WCAG compliance documentation |

COST AND BUDGET COMPLIANCE

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Total project cost within $599,538 budget ceiling | ☐ | ☐ Yes ☐ No | Detailed cost breakdown and budget analysis |
| Cost-effectiveness demonstration (no unnecessary over-specification) | ☐ | ☐ Yes ☐ No | Cost justification for all features and specifications |

BIDDER CERTIFICATION

I certify that:

- The proposed equipment and installation meet or exceed all mandatory requirements listed above for all seven (7) solar charging work stations

- All supporting documentation is accurate and complete

- The proposal complies with all federal grant requirements (NTIA TBCP Award NT23TBC0290054)

- The total project cost does not exceed the $599,538 budget ceiling

- The bidder is prepared to coordinate deployment across all four (4) Hawaiian islands

- The bidder understands the DHHL/HSPLS partnership structure and ownership transfer requirements

Authorized Signature: ________________________________________

Print Name: ________________________________________________

Title: ____________________________________________________

Date: ____________________________________________________

Company Seal: (if applicable)

FOR DHHL USE ONLY

Technical Evaluation Summary:

Overall Technical Score: _____ / 100 points

Federal Compliance Score: _____ / 25 points

Multi-Island Deployment Score: _____ / 20 points

Cost-Effectiveness Score: _____ / 15 points

Primary Evaluator: _________________________ Date: _____________

Secondary Evaluator: _________________________ Date: _____________

Evaluation Notes:

Recommendation: ☐ RESPONSIVE ☐ NON-RESPONSIVE

Reason if Non-Responsive: ___________________________________