KENNETH S. FINK, MD, MGA, MPH

DIRECTOR OF HEALTH

KA LUNA HOʻOKELE

#### JOSH GREEN, M.D.

GOVERNOR OF HAWAIʻI

KE KIAʻĀINA O KA MOKUʻĀINA ʻO HAWAIʻI

In reply, please refer to:

File:

STATE OF HAWAIʻI

## DEPARTMENT OF HEALTH

## KA ʻOIHANA OLAKINO

ADULT MENTAL HEALTH DIVISION

HAWAII STATE HOSPITAL

45-710 KEA'AHALA ROAD

KANEOHE, HI 96744

November 5, 2025

COMPETITIVE SEALED BIDDING (IFB)

ULTRAVIOLET-C LIGHT INSTALLATION

Offer Due Date and Time:

November 19, 2025, 2:00 PM HST

The Hawaii State Hospital (“State”) is seeking a contract for the installation of Ultraviolet-C Light throughout HVAC system of Hale Ho’ola Building on the grounds of Hawaii State Hospital as set forth in Section 1, Scope of Services, of this Competitive Sealed Bidding (“IFB”). For the purposes of this IFB, “employee” means any individual provided for contract work through a Contract resulting from this IFB by the awarded bidder.

Questions regarding this IFB shall be submitted via HIePRO by November 14, 2025, 2:00 PM. Answers to questions shall be published on November 18, 2025, 2:00 PM. Only questions submitted via HIePRO shall be answered, no other questions shall be accepted.

By submitting a bid under this IFB, the vendor understands and agrees to the State’s General Conditions, as attached to this solicitation, and all other administrative requirements included in this solicitation.

- Scope of Services

Installing UV-C germicidal lighting downstream of the cooling coils in Air Handling Units (AHU-1 through AHU-6) to inhibit microbial growth on coil surfaces. These services are to be executed during planned outages of no more than four hours per AHU, performed after hours or on weekends, and coordinated with hospital maintenance staff.

- Notify and coordinate with the contracting officer regarding any major deviations from the plans due to unforeseen or variable field conditions.

  - Coordinate outage timing, access, and security protocols with hospital maintenance and contract Manager.

  - Schedule each (AHU) for a maximum four-hour outage to perform installations after hours or on weekends.

- Comply with all relevant regulations: Building Code of Honolulu, State Department of Health, Uniform Plumbing Code, Uniform Fire Code, National Electrical Code, and all other applicable authorities.

- Furnish and install all required materials and equipment, including cutting, patching, and finishing, to deliver a complete and operational system.

- Install materials and equipment to first-class workmanship standards aligned with recognized commercial practice.

  - UVC Fixtures fully installed with complete cooling coil face coverage.

  - Wiring, interlocks, signage, and finishes comply with code and schedule specifications.

  - AHUs can be de-energized for up to four-hours without compromising hospital operations.

  - 120 V supply and suitable mounting areas are available.

  - Fixture spacing, wiring, and installation align with manufacturer and AHU recommendations.

  - Install all components – including interlocks, waterproof toggles, warning signage, IP67 connectors, mounting kits, and UV repair kits – as reference in the UV Light Schedule Notes. (See attachment: UVLightSchedule)

- Paint all exposed materials to match adjacent surfaces.

- Route all control and power wiring in conduit.

- Install UVC lights per manufacturer and AHU-manufacturer recommendations, ensuring full cooling coil face coverage.

- Conduct an 8-hour (work hours) training course for designated operating staff, covering operation, maintenance, and safety per UVC O&M manuals. Submit an on-site training schedule at least 14 days prior to training.

- Submit the on-site training schedule at least 14 days before training.

  - Provide an eight-hour training session for designated staff, covering safety, operation, and routine maintenance as outlined in UVC O&M manuals.

  - Training to occur upon approval of completed installations and must be preceded by submission of training schedule.

- Upon completion, provide as-built documentation, commissioning/test reports, O&M manuals, training documentation, and warranty information.

  - Six (6) copies of all literature and operation and maintenance manuals

  - As-built documentation

  - Commissioning and test reports

  - Training records and confirmation

  - Warranty Documentation

- Compensation and Payment Schedule.

The Contractor shall submit single invoice to the State for the services provided in accordance with Section I, Scope of Services.

- Period of Performance.

The Contractor shall provide the services required under any Contract resulting from this IFB. With a warranty period of one year from final acceptance to include repair, replacement of any defective materials or workmanship at no cost to the owner.

Contractor shall provide the services required under the contract from December 1, 2025, to March 31, 2026. All installation and training to be completed within the period of performance.

- Bidder Requirements.

  - Interested bidders must attend a Pre-Offer Conference meeting to be held on October 28, 2025, at 10:00am, to complete a site review and evaluate scope of work.

  - Interested bidders must be a registered company to do business in the State of Hawaii. No individual or sole proprietor may submit a bid.

  - Contractor warrants that it holds a current and valid Hawaii Contractor License, License No, for all work to be performed under this IFB.

  - Vendor Compliance. Bidders must provide proof of compliance obtained through Hawaii Compliance Express (HCE). The vendor’s name on the Certificate of Vendor Compliance (CVC) must exactly match the vendor’s name under which the quote for this solicitation is submitted. A copy of the CVC must be submitted with bid for verification. The vendor is responsible for maintaining compliance. Non-compliance may result in a vendor not receiving an award, delay of payment, or cancellation of award.

  - Insurance Required. The Contractor, before contract execution, shall obtain, maintain, and keep in force throughout the period of the contract the following insurance:

- General liability insurance issued by an insurance company in the amount of at least one million and no/100 dollars ($1,000,000) for bodily injury and property damage liability arising out of each occurrence and two million and no/100 dollars ($2,000,000) aggregate.

- Automobile Liability insurance in the amount of at least one million and no/100 dollars ($1,000,000) per accident.

The insurance shall be obtained from a company authorized by law to issue such insurance in the State of Hawaii (or meet Section 431: 8-301, Hawaii Revised Statutes, if utilizing an insurance company not licensed by the State of Hawaii).

The insurance coverage shall be primary and shall cover the insured for all work to be performed under the contract, including changes, and all work performed incidental thereto or directly or indirectly connected therewith. The vendor shall maintain in effect this liability insurance until the State has certified that the vendor’s work under the contract has been completed satisfactorily.

The vendor shall obtain a certificate of insurance verifying the existence of the necessary insurance coverage in the amounts stated above. The certificate of insurance shall be attached and be made part of the contract.

Each insurance policy required by the contract shall contain the following clause:

- The State of Hawaii and its officers and employees are additional insured with respect to operations performed for the State of Hawaii.

- It is agreed that any insurance maintained by the State of Hawaii will apply in excess of, and not contribute with, insurance provided by this policy.

The certificate of insurance shall indicate these provisions are included in the policy.

The vendor shall immediately provide written notice to the State should any of the insurance policies evidenced on its certificate of insurance forms be cancelled, limited in scope, or not renewed upon expiration.

If the scheduled expiration date of the insurance policy is earlier than the expiration date of the time of performance under the contract, the vendor, upon renewal of the policy, shall promptly cause to be provided to the State an updated certificate of insurance.

- Bid Submission and Award.

All bids shall be by hourly rate by position inclusive of wages, fringe benefits, all applicable taxes, and any other incidental costs. No other costs shall be honored. Bidders shall submit offers for all positions listed. No partial bid shall be accepted.

The annual working hours of each employee are estimated at 2,080 hours. The actual working hours may vary. There is no commitment by the State as to the number of hours and the award amount for the term of this IFB. The hours may be decreased or increased due to funding or workload requirement.

All bids shall be made via HIePRO. The following documents must be completed and submitted for the bid to be considered complete and accepted by the State.

  - Form W-9

  - Insurance

  - Offer’s Qualification Form

  - Offer Form OF-1

  - Contractor License

Selection and award shall be contingent on the lowest, most responsible and responsive offer.

The State reserves the right to cancel this procurement or award at any time and for convenience.