INVITATION FOR BIDS (IFB) NO. 26-4478

TO

FURNISH AND DELIVER UNSATURATED NON-ISOTHERMAL TRIAXIAL

APPARATUS FOR SOIL TESTING

FOR

THE COLLEGE OF ENGINEERING

UNIVERSITY OF HAWAII AT MANOA

HONOLULU, HAWAII

OCTOBER 2025

BOARD OF REGENTS

UNIVERSITY OF HAWAII

HONOLULU, HAWAII

TABLE OF CONTENTS

IFB No. 26-4478, to Furnish and Deliver Unsaturated Non-Isothermal Triaxial Apparatus for Soil Testing for the College of Engineering, University of Hawaii at Manoa, Honolulu, Hawaii

| Section | Pages |
| --- | --- |
| Notice to Bidders………………………………………………………………………... | 2 |
| Bid Requirements………………………………………………………………………. | 3 - 4 |
| Technical Specifications……………………………………………………………….. | 5 - 6 |
| Special Provisions………………………………………………………………………. | 7 - 14 |
| ATTACHMENT - Mandatory Bid Form……………………………………………….. | 1 - 6 |

IT IS THE RESPONSIBILITY OF ALL BIDDERS TO CHECK THE TABLE OF CONTENTS TO CONFIRM THAT ALL PAGES LISTED THEREIN ARE REVIEWED AND THAT THE MANDATORY BID FORM IS SUBMITTED AS PART OF THEIR BID PACKAGE.

NOTICE TO BIDDERS

The University of Hawaii IFB No. 26-4478 to Furnish and Deliver an Unsaturated Non-Isothermal Triaxial Apparatus for Soil Testing for the College of Engineering, University of Hawaii at Manoa, Honolulu, Hawaii is issued and will be awarded through the State of Hawaii’s electronic procurement system (HIePRO). All bid responses must be submitted electronically through HIePRO no later than 2:30 p.m., November 19, 2025. Bids received after the due date and time or received in a form other than electronically through HIePRO will not be considered.

Bidders are advised that they should not wait until the last minute to submit their bid through HIePRO. Bidders are solely responsible for ensuring that their electronic submission through HIePRO is complete and all necessary files (Mandatory Bid Form) are attached to their bid prior to the IFB due date and time. The University shall not be responsible for any delay or failure of any Bidder to submit any materials updated through the IFB process on a timely basis.

Electronic Procurement

Bidders interested in responding to this electronic solicitation must be registered on HIePRO. To register, visit the following link: https://hiepro.ehawaii.gov/videos/video/vendor_registration.html. Reference the Vendor Quick Reference Guide for additional information at https://hiepro.ehawaii.gov/static-resources/VendorQuickReferenceGuide.pdf.

HIePRO will be the system of record for the issuance of the IFB, to receive the Mandatory Bid Form and other Bid requirements, issue Amendments, and make award for the IFB. Amendments and other information and materials provided through HIePRO, may include additions or changes with respect to the due date and time.

Special instructions in HIePRO related to this solicitation are incorporated herein and made a part of this IFB through reference. Bidders shall review all special instructions located in HIePRO.

Questions and Clarifications

All questions and requests for clarifications must be submitted electronically through HIePRO. Questions must be submitted by November 12, 2025 at 4:00 p.m., Hawaii Standard Time. Responses will be posted on November 14, 2025.  The University may refuse to answer any questions received outside of HIePRO or after the Questions/Answers deadline.

Kalbert K. Young

Chief Procurement Officer

University of Hawaii

Amendment Posting Date:  November 3, 2025

Vendors are responsible for notifying the Procurement Specialist Bonnie Anderson

(e-mail: bonnie27@hawaii.edu) for accessibility concerns related to this IFB.

BID REQUIREMENTS

FURNISH AND DELIVER AN UNSATURATED NONISOTHERMAL

TRIAXIAL APPARATUS FOR SOIL TESTING

FOR

THE COLLEGE OF ENGINEERING

UNIVERSITY OF HAWAII AT MANOA

By attaching The Mandatory Bid Form to HIePRO, the bidder has carefully examined the INVITATION FOR BIDS (IFB) NO. 26-4478, TO FURNISH AND DELIVER  AN UNSATURATED NON-ISOTHERMAL TRIAXIAL APPARATUS FOR SOIL TESTING FOR THE COLLEGE OF ENGINEERING, UNIVERSITY OF HAWAII AT MANOA, HONOLULU, HAWAII, and offers to furnish and deliver the workstation PC systems for the College of Engineering, as required by the University in strict accordance with the true intent and meaning of the Invitation for Bids (IFB), and shall complete delivery within NINETY (95) consecutive calendar days from the date designated in the Notice to Proceed, as follows:

TAX LIABILITY

Both out-of-state and Hawaii bidders are advised that the amount bid on this solicitation is subject to the general excise tax imposed by Chapter 237, Hawaii Revised Statutes (HRS) and, if tangible property is being imported into the State of Hawaii for resale, the use tax (currently 1/2%) imposed by Chapter 238, HRS.  (Refer to Taxes in the General Provisions.)  Bidders are therefore cautioned to consider such taxes in formulating their bids since no adjustments to the prices bid shall be allowed.

BASIS FOR AWARD

The award of contract, if awarded, shall be made to the lowest responsive and responsible bidder on the TOTAL BID PRICE.

NOTE TO BIDDERS

An acceptable bid must conform in all material respects to this Invitation for Bids.  Any of the following may be grounds for disqualification:

1.	Taking exception to any of the specifications, terms or conditions contained in the IFB.

2.	Placing conditions on the furnishing of solicited goods or services.

3.	Inclusion of a quotation or order form containing additional specifications, terms or conditions.

4.	Referencing external documents containing additional specifications, terms or conditions.

Bidders are advised that bids are evaluated as submitted and requests by bidders to delete conditions contained in their bids after bid opening cannot be considered.

TECHNICAL SPECIFICATIONS

This section indicates the Technical Specifications for the Unsaturated non-isothermal triaxial apparatus for soil testing required.  The Technical Specifications listed herein are the minimum requirements and are mandatory for an accepted bid.

1.	Furnish and Deliver One (1) New, Unsaturated Non-isothermal triaxial apparatus for soil 	testing with the following technical specifications:

- Load frame

- 50 kN minimum axial load

- Provide both on-frame digital displacement and load control and PC control of displacement and load.

- Digital load cell with PC readout

- Digital axial displacement transducer with PC readout

- Triaxial cell with minimum 4 MPa cell pressure capacity

  - Ability to accommodate minimum 60 mm and maximum 65 mm diameter, with a height to diameter ratio of at least 2:1, soil specimen with accessories.

  - Base pedestal with minimum 15 bar high air entry disk installed in the base pedestal that can accommodate a minimum 60 mm and maximum 65 mm diameter soil specimen.

- Soil sample temperature control from 10 degrees C (or lower) to at least 65 degrees C

- Cell temperature transducer

- Sample temperature transducer

- Soil sample volume change measurement using either the double wall technique and/or a local strain transducer with hall-effects

- Digital pore water pressure and pore water volume change controller

- Minimum 3 MPa pore water pressure

- Volume change accuracy minimum 0.25% of measured value

- Pressure accuracy minimum 0.15% of measured value

- Volume change measured and displayed to maximum 1 cu, mm (0.001cc)

- Pressure regulated and displayed to maximum 1 kPa

- Digital air pressure volume controller

- Minimum 2 MPa pressure capacity

- Stand alone or PC control of pressure and volume

- Automatically protect against pressure and volume overages

- Volume accuracy minimum 0.25% of measured value

- Pressure accuracy minimum 0.1% of full range

- Volume change measured and displayed to 0.1 cu.mm

- Pressure regulated and displayed to 0.1 kPa

- Pore air pressure applied through specimen top cap

- Cell air pressure applied to outer cell (as necessary)

- Air pressure transducer

- Pore water pressure transducer with de-airing block

- Data acquisition system

- Top cap to measure and control pore air pressure for a minimum 60 mm and maximum 65 mm diameter soil specimen.

- Computer software with user interface

- Soil suction control using the axis-translation technique with a high entry disk installed in the base pedestal rated to at least 15 bars of suction

- Minimum 3-year warranty on apparatus and software

- On-site installation and training

2.	Delivery

The Contractor shall deliver the Unsaturated Non-Isothermal Triaxial Apparatus for soil testing within NINETY FIVE (95) consecutive calendar days from the date designated in the Notice to Proceed.  The Contractor shall contact the Technical Representative, Dr. Melia Talagi, phone: (808) 956-9618,

email: meliaki@hawaii.edu to coordinate delivery.

Inside delivery shall be F.O.B. destination to:

College of Engineering

University of Hawaii at Manoa

Holmes Hall 208

2540 Dole Street

Honolulu, Hawaii 96822

All equipment and materials incorporated in the work under these specifications shall be 	new.  All work to be executed shall be of the highest quality and performed by skilled 	service technicians in the best workmanlike manner.

3.	Correction of Deficiencies

In the event that the Contractor is unable to perform any scheduled training or 	maintenance of the equipment during the warranty period, the Technical Representative 	shall be notified immediately.

4.	Customer Service Representative

The Contractor shall assign a Customer Service Representative to act as the single 	point of contact for all issues pertaining to this contract that will respond to all service 	needs of the University. The Contractor shall furnish campus representatives with 	dispatch phone numbers for service calls.

All questions pertaining to the Technical Specifications must be submitted electronically through HIePRO. Questions must be submitted by 4:00 pm November 12, 2025.  Responses will be posted on November 14, 2025.

The University may refuse to answer any questions received outside of HIePRO or after the Questions/Answers deadline.

Bidders are cautioned to review the Technical Specifications carefully and thoroughly.  Objections to or requests for clarification of the specifications shall be made through HIePRO as a Question or in writing in accordance with the General Provisions to the Office of Procurement Management prior to the submittal of a bid.  The submittal of a bid shall be considered as acceptance of the specifications as published.

SPECIAL PROVISIONS

1.	SCOPE

The furnishing and delivery of the Unsaturated Non-Isothermal Triaxial Apparatus for Soil Testing for the College of Engineering, University of Hawaii at Manoa, Honolulu, Hawaii shall be in accordance with the terms and conditions of IFB No. 26-4478 and the General Provisions dated September 2013 included by reference.  Copies of the General Provisions are available at the Office of Procurement Management, University of Hawaii, 1400 Lower Campus Road, Room 15, Honolulu, Hawaii 96822 or the General Provisions may be viewed at:  https://www.hawaii.edu/procurement/vendor-info/terms-and-conditions/general-provisions-for-goods-and-services/

2.	AUTHORITY

IFB No. 26-4478 is issued under the provisions of Hawaii Revised Statutes, Chapters 103 and 103D.  All prospective bidders are charged with presumptive knowledge of all requirements of the cited legal authorities.  Submission of a valid executed bid by any prospective bidder shall constitute an affirmation of such knowledge on the part of such prospective bidder.

3.	TECHNICAL REPRESENTATIVE OF THE PROCUREMENT OFFICER (TRPO)

The Technical Representative of the Procurement Officer is Dr. Melia Talagi, Assistant Professor, College of Engineering, University of Hawaii at Manoa, phone: (808) 956-9618, email: meliaki@hawaii.edu.

4.	BIDDER'S QUALIFICATIONS

To qualify to bid on the specified goods and/or services, the bidder must be engaged in a business whose primary and customary interest is to provide the specified goods and/or services.  The bidder must also have the requisite experience, appropriate forms of insurance, and proper licenses.  The University reserves the right to disqualify any potential bidder if, in its discretion, the University determines that the bidder does not have the requisite experience or expertise to provide the goods and/or services.

5.	INDEPENDENT CONTRACTOR

It is understood and agreed that the Contractor shall provide said services as an independent contractor and shall not be under the direction or control of the University. The University shall not be responsible for any claims and demands of any kind or nature that may be brought against it on any matter or thing arising out of or in connection with the services provided by the Contractor.

10.	REFERENCES

Each bidder shall provide the names, addresses, email address and phone numbers of FIVE (5) companies/universities, for which an Unsaturated Non-Isothermal Triaxial or an Isothermal Unsaturated Triaxial Apparatus for Soil Testing has been provided within the last FIFTEEN (15) years and no earlier than the last TWO (2) years, who can attest to the reliability of the bidder's apparatus, service and personnel.  The University reserves the right to reject the bid submitted by any bidder whose performance on other jobs has been unsatisfactory.

6.	SUBMITTAL OF TECHNICAL DATA

With their bids, bidders shall submit manufacturer's literature or brochures with technical 	data and illustrations of the Unsaturated Non-Isothermal Triaxial Apparatus for Soil 	Testing being offered.  Technical data must demonstrate that the Unsaturated Non-	Isothermal Triaxial Apparatus for Soil Testing being offered meets the minimum 	requirements of the Technical Specifications.

7.	DAMAGED/DEFECTIVE GOODS

The University reserves the right to reject damaged or defective goods, which shall be promptly and satisfactorily replaced by the Contractor at no additional cost of the University.

8.	SOFTWARE LICENSE AGREEMENTS

The University will execute Software License Agreements, if necessary, as long as the 	terms 	and conditions of the License Agreements do not conflict with the terms and 	conditions of this Invitation for Bids.  Inasmuch as the Contractor will be selecting the 	software for the University, the standard waivers of warranties of merchantability and 	fitness for a particular purpose shall not be accepted.  The University shall be protected 	from claims of copyright infringement not occasioned by University modification of the 	software.  The University will not execute software license agreements with third parties.

8.	WARRANTY

The goods furnished shall be new and as specified.  The Contractor shall warrant that all workmanship and materials of all goods furnished under this contract shall be guaranteed for minimum of THREE (3) years from date of acceptance. The Contractor shall replace and/or repair any defective workmanship and/or materials at no cost to the University during the period of warranty, provided such defects are not due to abuse or negligence on the part of the University.

9.	INSURANCE

Contractor shall, and shall ensure that all Contractor Agents shall, during the entire term 	of this Agreement, at no cost to UH, procure and maintain, or cause to be procured and 	maintained, the following insurance described below, issued by an insurance company 	or companies authorized to do business in the State of Hawai’i with at least an A – VII 	Financial Rating according to the current edition of Best’s Key Rating Guide:

  - Required Insurance Coverage.

    - Commercial General Liability Insurance.  Commercial general liability insurance written on occurrence basis covering claims with respect to injuries or damages to persons or property sustained as a result of the activities of the Contractor and/or the Contractor Agents, within, on, or about the Premises and/or the UH Campus, with limits not less than the following:

Bodily Injury and Property Damage Combined Single Limit

$1,000,000.00 Each occurrence

$2,000,000.00 General Aggregate per policy year

$2,000,000.00 Products and Completed Operations Aggregate per policy year

Medical Expenses -- Any one person			       $5,000.00

Personal/Advertising Injury (Included)

Damage to Rented Premises (Included)

Personal/Advertising Injury coverage shall include coverage for mental injury, sexual harassment, sexual molestation or misconduct, invasion of privacy, and wrongful detention.

Such limits may be achieved through the use of umbrella/excess liability insurance sufficient to meet the requirements of this paragraph ___ (Insurance) covering the Contractor’s conduct of the services on or within the Premises and/or the UH Campus and all of the activities and operations of the Contractor and the Contractor Agents in connection therewith.

    - Automobile Insurance.  Automobile Liability Insurance to include coverage for any owned, non-owned, leased, or hired automobiles with limits of not less than the following:

Bodily Injury – Per Person				$1,000,000.00

Bodily Injury – Per Accident			$1,000,000.00

Property Damage – Each Accident		$1,000,000.00

Basic No-Fault Insurance			As required by Hawaiʻi law

In the event there is a change in Hawai’i law regarding financial responsibility and insurance requirements of automobile owners or users which make this requirement obsolete, UH shall have the right to impose a new requirement consistent with the then Applicable Laws.

    - Workers’ Compensation Insurance.  Workers’ Compensation insurance with respect to work by employees of the Contractor and the Contractor Agents on or about the Premises and/or the UH Campus, with coverage, amounts, and limits as required by law.

    - Employers Liability Insurance:  Employers Liability Insurance with limits not less than:

Bodily Injury – Each Accident				$1,000,000.00

Bodily Injury by Disease – Policy Limit			$1,000,000.00

Bodily Injury by Disease – Each Employee		$1,000,000.00

The Contractor shall ensure that the Contractor Agents (if any) obtain workers compensation and employer’s liability insurance with the limits described herein to cover the work performed.

  - Common provisions.  Each insurance policy that Contractor and/or any of the 	Contractor Agents are obligated to obtain under this Agreement shall be subject 	to the following:

    - Notice of changes.  Contractor will be required to notify UH of any cancellation, limitation in scope, material change, or non-renewal of any insurance coverage right away (but no later than five (5) business days of receiving notice from the insurer).

    - UH insurance not primary.  Insurance obtained by Contractor and/or any Contractor Agents pursuant to this Agreement will be primary and any UH insurance will apply only in excess of and not contribute with such insurance obtained by Contractor and/or any Contractor Agents.

    - Name UH as an additional insured.  UH shall be named as an additional insured on all insurance coverage that Contractor and/or any Contractor Agent is required to obtain under this Agreement except for workers compensation and employers liability insurance.

    - Waiver of subrogation.  All insurance obtained by Contractor will contain a waiver of subrogation endorsement in favor of UH.

    - UH not required to pay premiums.  Contractor and Contractor Agents will be responsible for paying all costs associated with obtaining the required insurance coverage described in this Agreement, including all premiums.  UH will not be responsible for paying any such costs.

    - Acceptable deductibles.  The terms and amounts of any deductibles for the required insurance coverage under this Agreement must be reasonable and acceptable to UH based upon the type of insurance involved and the conduct of the Services.

  - Deposit insurance certificates.  Contractor will timely deposit and keep on deposit with UH, certificates of insurance necessary to satisfy UH that the insurance requirements of this Agreement have been and continue to be satisfied during the term of the Agreement.

  - UH may cure failure to obtain/maintain insurance.  If Contractor fails to provide and maintain the insurance required by this Agreement after written notice to comply from UH, UH may, but shall not be required to, procure such insurance at the sole cost and expense of Contractor, who shall be obligated to immediately reimburse UH for the cost thereof plus ten percent (10%) to cover UH’s administrative overhead.

  - Lapse in insurance constitutes a breach.  Any lapse in, or failure by Contractor or any Contractor Agents to procure and maintain the insurance coverage required under this Agreement, at any time during and throughout the term of this Agreement, shall be a breach of this Agreement and UH may terminate the rights of Contractor and all Contractor Agents to conduct the Services.

  - Insurance shall not limit Contractor liability.  Obtaining the required insurance coverage will not be construed to limit Contractor’s liability hereunder or to fulfill Contractor’s indemnification, defense, and hold harmless obligations under this Agreement.  Notwithstanding the required insurance coverage, Contractor shall be obligated for the full and total amount of any damage, injury, or loss arising from acts or omissions of Contractor and/or the Contractor Agents.

g.	UH may adjust insurance requirements.  UH may, upon reasonable notice and reasonable grounds, increase or change the form, type, coverage, or coverage limits of the insurance required hereunder, in which event Contractor shall, and shall cause the Contractor Agents to, obtain insurance, as modified.  UH’s requirements shall be reasonable and shall be designed to provide protection against the kind and extent of risks that exist at the time a change in insurance is required. Contractor shall satisfy all UH risk management requirements that are in effect as of the Effective Date and as may be amended from time to time.

10.	INDEPENDENT CONTRACTOR

It is understood and agreed that the Contractor shall provide said services as an independent contractor and shall not be under the direction or control of the University. The University shall not be responsible for any claims and demands of any kind or nature that may be brought against it on any matter or thing arising out of or in connection with the services provided by the Contractor.

11.	AVAILABILITY OF FUNDS

Bidders are advised that the award of this contract is contingent upon availability of funds.  If funds are not available, the University reserves the right to cancel the IFB or not award individual items.

12.	PAYMENT

The Contractor shall be remunerated upon submission of a properly executed original invoice indicating the contract number, to University of Hawaii at Manoa, College of Engineering Business Office, 2540 Dole Street, Holmes Hall 246, Honolulu, Hawaii 96822, no later than THIRTY (30) calendar days following receipt of invoice and acceptance of services, whichever is later.

13.	UNIVERSITY POLICIES

The Bidder’s personnel shall comply with established University of Hawaii policies with regard to Sexual Harassment and Related Conduct, Workplace Non-Violence, and Illegal Drugs and Alcohol Abuse.  The University reserves the right to require the Bidder remove personnel from servicing the University of Hawaii accounts.  The University of Hawaii will not tolerate objectionable or inappropriate behavior.  Please refer to http://www.hawaii.edu/policy for the following University policies:

a.	Sex and Gender Based Misconduct Policy (Executive Policy E1.204).

https://www.hawaii.edu/policy/docs/temp/ep1.204.pdf

b.	Workplace Non-Violence (Executive Policy E9.210).

https://www.hawaii.edu/policy/index.php?action=viewPolicy&policySection=ep&policyChapter=9&policyNumber=210&menuView=closed

c.	Illegal Drugs, Alcohol and Substance Abuse (Executive Policy E11.201).

https://www.hawaii.edu/policy/index.php?action=viewPolicy&policySection=ep&policyChapter=11&policyNumber=201&menuView=closed