- Need to have a 240-V outlet for an autoclave

- Each environmental chamber should have its own outlet. All outlets should be midway up the wall or higher.

- There should be lots of outlets in general near workspaces to allow for small pieces of equipment to be plugged in

- Undermounted stainless steel sink or resign sink integrated with resin countertop.

- AC unit - All the lab equipment gives off a lot of heat. The AC unit needs to be well thought out to ensure it can cool the room appropriately and to prevent hot zones around equipment.

- Walls - we used a hospital-grade wall paneling in the snail lab, which is waterproof and can be sanitized easily. Whatever wall covering is decided on it needs to be waterproof and it needs to be capable of being cleaned easily.

- Ceiling tiles - they should be hospital grade so they can be cleaned as needed.

- Snail lab should have space for a dishwasher.

- Epoxy floor with lip coming up the wall a few inches for easy cleaning after spill/flooding

- Lab benches and counter tops should be black epoxy resin

- make sure the counter tops/backsplash are caulked/sealed around sink to prevent mold behind cabinets

- Data ports/jacks one per wall.

- Electricity should be solar with battery and backup generator.  Disregarding 100amp MECO connection as it will not be used.

Contractors in Attendance:

Valley Isle Enterprises

Hartman Pacific Construction