Furnish, Deliver, and Install camera system for the Hawaii Youth Correctional Facility, in accordance with the requirements and specifications set forth herein.

General Requirements:

- All External equipment must be weatherproof rated.

- All purchased systems must be configured and operational to HYCF standards.

- Due to recent updates, including power distribution issues, cable management, and upgrades, integrator must have worked on HYCF’s system within the last year.

- Must have conducted a site walk by Dec 30, 2025

- Winning vendor must have a minimum of (1) milestone certified technicians located on the island of Oahu

- Winning vendor must have a minimum of (2) certified technicians in the Hanwha camera system

- Winning vendor must be familiar with Velasea systems and provide proof of experience of similar installations

- Winning vendor must upon request provide record of all items to suffice requirements

Technical Specifications

Item No. 1: Furnish, Deliver, and Install ONE (1) new IronLink NVR:

- 6333P

- 48TB STD

Item No. 2: Furnish, Deliver, and Install TWO (2) new IronLink Workstations:

- 16GB

- 5600MT/s ECC memory

Item No. 3: Furnish, Deliver, and Install ONE (1) new XProtect Professional + Base license

Item No. 4: Furnish, Deliver, and Install FORTY-ONE (41) XProtect Professional + Base license

Item No. 5: Furnish, Deliver, and Install FORTY-ONE (41) 1-Year Care Plus for XProtect Professional + Device license

Item No. 6: Furnish, Deliver, and Install ONE (1) new SmartUPS X-Series:

- 1500 VA

- 120V

- 2U Line Interactive

- 8x  5-15 R NEMA

- Extended runtime

Item No. 7: Furnish, Deliver, and Install ONE (1) new SmartUPS X-series Battery Pack:

- 2U

- 48V

Item No. 8: Furnish, Deliver, and Install ONE (1) new Back-UPS:

- 1500S

- 1500VA

- 120V

- Sinewave

- AVR

- LCD

- 2-USB Charging Ports

- 10 NEMA Outlets

Item No.9: Furnish, deliver, and install THIRTY-FIVE (35) new Dome Cameras:

- 5 MP

- 2.8MM Fixed Lens

- IR Vandal IP