Scope of Work:

Paint the interior walls as noted on the reference plans.  Repair minor wall imperfections, apply prime coat, and finish paint coat to the interior wall surfaces of the CORRIDOR and SECRETARY AND STENO POOL area as noted. Primer – Sherwin Williams, Extreme Block Alkyd Primer or approved substitute; Finish – Sherwin Williams ProMar 400 Zero VOC Interior Latex, semi-gloss or approved substitute, color selection by designated Governor’s Office representative.  Pre bid meeting date and time per HiEPRO solicitation.

Project Location:

Governor’s Offices on the fifth floor of the Hawai‘i State Capitol at 415 Beretania Street.  Meet on the outside lanai.

Performance Period:

Per HiEPRO solicitation and will start upon a written notice to proceed.  Work period is weekends (Friday after 5:30P to Sunday 11P) only within the performance period.

Other Information:

Hawaii Compliance Express (HCE) will be used to ensure the requirements of Hawaii Revised Statues, Section 103D-310(c) and Hawaii Administrative Rules, Section 3-122-112 are met.

Prior to the award, the awarded bidder shall provide a certificate of liability insurance naming the State of Hawaii as additional insured.

Bid and Performance Bonds are not required.

Liquidated damages: $50/day

Separate prices are required Location 1 and Location 2 as noted on the drawing.  The State can award either Location 1 or Locations 1 and 2 to the extent of available funds.

The proposal for the subject work shall be provided as follows:

Lump Sum - Provide (furnish and install), complete and in-place, paint interior walls as indicated on the reference sketch with a 1-year material and labor warranty.

Enter the proposed amount in HiEPRO.

Attachments

End of Scope of Work