
ANNUAL FIRE EXTINGUISHER & ADX EQUIPMENT INSPECTION
HAWAII STATE PUBLIC LIBRARY SYSTEM – BIG ISLAND
HSPLS IFB 26-004
This bid includes the annual fire extinguisher and ADX equipment inspection, maintenance, repairs and documentation at various Big Island State Libraries for the Hawaii State Public Library System (HSPLS) as set forth in these Specifications, Special Provisions, 103D General Conditions and Attachments.

A.
GENERAL SCOPE
The service shall consist of the annual inspection, maintenance, repair, and documentation of all fire extinguisher and ADX equipment; in accordance with the best commercial practice governing the maintenance of fire extinguisher and ADX equipment at the listed locations.  See EXHIBIT A – FIRE EXTINGUISHER & ADX EQUIPMENT AT VARIOUS BIG ISLAND HSPLS LIBRARIES.
Testing, maintenance, and repair work necessary to ensure the continuing operation of the fire extinguishers and ADX equipment at each library and compliance with the County fire codes shall be done as soon as possible.  As the situation permits, the HSPLS will work with the Contractor to schedule their work to be completed.
B.
DESCRIPTION OF WORK


The buildings (and their corresponding addresses and fire alarm equipment information) that are part of this bid are listed on the attached spreadsheet – EXHIBIT A – FIRE EXTINGUISHER AND ADX EQUIPMENT AT VARIOUS BIG ISLAND HSPLS LIBRARIES.  The Contractor shall use the data on the spreadsheet for the preparation of their bid proposal. The Contractor shall verify and confirm the equipment at each library.   

Contractor shall exercise infection control methods for all material used on site containing odor and/or material considered hazardous, including, but not limited to air intake filters, interior protection, proper disposal, and a documented safety plan.

HSPLS reserves the right to have maintenance or repair tasks performed on the weekends or after normal operating hours if the work may affect building operations. 
All site inspections/coordination work shall be authorized by the CA/CO.  The contact phone

number is (808) 586-3713.

Any damage caused by the Contractor’s work shall be repaired at no additional cost to the HSPLS.
Contractor shall follow OSHA and HIOSH requirements.  This includes fall protection plans and methods for each location.
Contractor shall keep work area clean and safe at all times.  The construction area shall be roped off and contain warning signs to prevent pedestrians from entering the work area.  Any closing of walkways shall be approved and coordinated with the HSPLS.

The scope of work shall consist of the following:
1. Fire Extinguishers & ADX Equipment Documentation
For the buildings listed in EXHIBIT A – FIRE EXTINGUISHERS & ADX EQUIPMENT AT VARIOUS BIG ISLAND HSPLS LIBRARIES, the Contractor shall verify all fire extinguishers and ADX equipment and document any discrepancies.  The Contractor shall notify the HSPLS of any discrepancies.

      The appropriate inspection Documentation is required to be available at the library.
2.       The annual inspection of each library’s fire extinguishers and ADX system is to
      maintain the required compliance with the appropriate County fire codes.  Repairs
     and/or adjustments will be requested/approved by CA/CO to have our library’s fire
     alarm system to be compliant.

C.
BID PROPOSAL

The Price Proposal shall include all labor (including prevailing wages, personnel travel costs, and per diem), taxes, parts, materials, supplies, consumables, tools, equipment, safety gear, costs for storage, transportation, shipping and supervision as required to accomplish the maintenance activities described herein shall be included in the bid price submitted.  The Price Proposal shall be submitted in the following format:
1. Lump sum prices to provide Annual Fire Extinguishers & ADX Equipment Inspections for the buildings listed in EXHIBIT A – FIRE EXTINGUISHERS & ADX EQUIPMENT AT VARIOUS BIG ISLAND HSPLS LIBRARIES.
2. Hourly pricing for the repairs is required on the offer forms.
D.
BIDDER QUALIFICATIONS
1.
Bidder must have a base facility on Big Island (Hawaii) to perform the inspection, repairs, maintenance of fire extinguishers and ADX equipment.
2.
Bidders shall have computer email and be capable of running Microsoft Office Programs.

3.
Bidder shall have a minimum of five (5) years of proven experience with maintaining/repairing fire extinguisher and ADX equipment.  A reference list of five (5) buildings/organizations which were successfully serviced/maintained by the Bidders shall be submitted with the Offer Forms.  The List shall include location addresses and points of contact to verify references.
4.
A minimum of two (2) factory trained fire extinguisher technicians and two (2) factory trained ADX technicians who are full-time employees of the bidder are required.  And all technicians will have a current State Fire Council (SFC) Certificate of Fitness.  Please provide the aforementioned information.
E.
AUTHORIZED EXTRA WORK
For any extra work not covered by the contract, the Contractor must obtain prior approval from the Facilities Management’s Office of the Hawaii State Public Library’s System and submit a written proposal.  The proposal must include the description and breakdown of materials costs and labor costs (as indicated on Part E of the appropriate Offer Form).  HSPLS will issue a separate Purchase Order for the extra work and Contractor shall invoice all authorized extra work separately.
Specifications
Page 1
                  HSPLS IFB 26-004  

