EXHIBIT B - TECHNICAL SPECIFICATION REQUIREMENTS CHECKLIST

DEPARTMENT OF HAWAIIAN HOME LANDS

RFP-25-HHL-011: Solar Charging Work Stations – Statewide Multi-Island Deployment

Federal Grant Project: NTIA Tribal Broadband Connectivity Program Award ID: NT23TBC0290054

Instructions: Bidders must complete this checklist and provide supporting documentation for each requirement. All items marked "MANDATORY" must be met for proposal to be considered responsive. This checklist applies to all seven (7) solar charging work stations.

Bidder: _________________________________________ Date: _____________

Total Stations: 7

CONSTRUCTION AND DURABILITY REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Heavy-duty, weather-resistant materials designed for Hawaii climate | ☐ | ☐ Yes ☐ No | Manufacturer specs, material certifications |
| Salt spray and coastal corrosion resistance | ☐ | ☐ Yes ☐ No | Corrosion resistance test documentation |
| All metals components composed of marine-grade aluminum or stainless steel components | ☐ | ☐ Yes ☐ No | Material specifications and certifications |
| Operating temperature: 32°F to 120°F (-0°C to 49°C) | ☐ | ☐ Yes ☐ No | Environmental operating specifications |
| Humidity resistance: Up to 95% RH non-condensing | ☐ | ☐ Yes ☐ No | Humidity resistance test results |

ADA ACCESSIBILITY REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| ADA guidelines and Hawaii Accessibility Code compliance | ☐ | ☐ Yes ☐ No | ADA compliance certification |
| Min. 1 wheelchair space per station (preference: 2 spaces) | ☐ | ☐ Yes ☐ No | Dimensional drawings, accessibility plans |

WORKSPACE AND SEATING REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Seating for minimum 4 users per station | ☐ | ☐ Yes ☐ No | Seating layout and capacity drawings |
| Integrated tabletop workspace per station | ☐ | ☐ Yes ☐ No | Workspace design specifications |
| Tabletop minimum 4'-6” x 3'-7” with weather-resistant surface | ☐ | ☐ Yes ☐ No | Dimensional specs and material properties |

CHARGING CAPABILITIES

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Min. 4 GFCI-protected 120V outlets per station | ☐ | ☐ Yes ☐ No | Electrical specifications and GFCI documentation |
| Min. 4 USB-A ports per station (2.4A output each) | ☐ | ☐ Yes ☐ No | USB-A port specifications and output ratings |
| Min. 4 USB-C ports per station (18W PD output each) | ☐ | ☐ Yes ☐ No | USB-C PD specifications and power delivery |
| Individual circuit breakers or fuses for all outlets | ☐ | ☐ Yes ☐ No | Circuit protection details and electrical drawings |

SOLAR POWER SYSTEM

| Requirement | MANDATORY | Meets Spec (Y/N) | Actual Specification | Supporting Documentation |
| --- | --- | --- | --- | --- |
| Solar array: 700-900W per station (higher only if cost-neutral) | ☐ | ☐ Yes ☐ No | _______ watts per station | Solar panel specifications and performance data |
| LiFePO4 or quality lead-acid battery system | ☐ | ☐ Yes ☐ No | Battery type: _________ | Battery technology specifications |
| Battery capacity: 1.0-1.5 kWh usable per station | ☐ | ☐ Yes ☐ No | _______ kWh per station | Battery capacity specifications |
| Battery Management System (BMS) with protection | ☐ | ☐ Yes ☐ No | BMS features: _________ | BMS documentation and safety features |
| Charge min. 50 smartphones (3,000 mAh each) per cycle | ☐ | ☐ Yes ☐ No | Est. devices: _________ | Performance calculations and testing |
| 2+ consecutive cloudy day operation capability | ☐ | ☐ Yes ☐ No | _______ days capacity | Performance analysis and modeling |
| MPPT solar charge controller included | ☐ | ☐ Yes ☐ No | Controller model: _____ | MPPT controller specifications |

SHADE STRUCTURE

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Overhead canopy minimum 6’-5” W x 6’-6” L per station | ☐ | ☐ Yes ☐ No | Canopy dimensions and structural drawings |
| Minimum 6’-8” clearance height at lowest point of overhead canopy | ☐ | ☐ Yes ☐ No | Height specifications and clearance drawings |
| Maximum 7’-6” clearance height at highest point of overhead canopy | ☐ | ☐ Yes ☐ No | Height specifications and clearance drawings |
| Heavy-duty, weather-resistant materials designed to withstand salt spray, high winds, heavy rain, and intense UV exposure with minimal upkeep | ☐ | ☐ Yes ☐ No | Material specifications |
| All metal components shall be marine-grade aluminum or stainless steel with appropriate corrosion protection coatings | ☐ | ☐ Yes ☐ No | Material specifications |
| Withstands 170 mph sustained winds (all 7 stations) | ☐ | ☐ Yes ☐ No | Engineering certification, wind load analysis |
| Bench seat size and footprint: Minimum 4’-6” W x 1’-2” L | ☐ | ☐ Yes ☐ No | Bench dimensions and structural drawings |
| Table top: Minimum 4’-6” W x 3’-7” L | ☐ | ☐ Yes ☐ No | Table top dimensions and structural drawings |

SECURITY FEATURES

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Self-ballasted system (170 mph wind resistance) | ☐ | ☐ Yes ☐ No | Anchoring specifications and wind analysis |
| Lockable electrical compartments with tamper resistance | ☐ | ☐ Yes ☐ No | Security features and locking mechanisms |
| GPS tracking (may be included if cost-effective) | ☐ | ☐ Yes ☐ No ☐ N/A | GPS tracking system specifications |

SMART CONTROLS AND EIT ACCESSIBILITY

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Programmable timer system (business hours control) | ☐ | ☐ Yes ☐ No | Timer/control system specifications |
| LED status indicators for operational status | ☐ | ☐ Yes ☐ No | Status indicator specifications |
| Remote monitoring (may be included if cost-effective) | ☐ | ☐ Yes ☐ No ☐ N/A | Remote monitoring system specifications |

WARRANTY REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Actual Warranty | Supporting Documentation |
| --- | --- | --- | --- | --- |
| Min. 2-year comprehensive warranty (materials) | ☐ | ☐ Yes ☐ No | _______ years | Comprehensive warranty documentation |
| Min. 3-year solar panels and battery system warranty | ☐ | ☐ Yes ☐ No | _______ years | Extended warranty terms |
| Min. 5-year structural warranty | ☐ | ☐ Yes ☐ No | _______ years | Structural warranty documentation |
| Emergency contact for system failures during warranty period | ☐ | ☐ Yes ☐ No | Emergency contact plan | Emergency response procedures |
| Component replacement for defective parts during warranty | ☐ | ☐ Yes ☐ No |  | Warranty terms |
| Technical support contact information and response procedures | ☐ | ☐ Yes ☐ No |  | Manufacturer technical support product information and |
| Parts availability guarantee for warranty repairs | ☐ | ☐ Yes ☐ No |  | Warranty terms |

INDUSTRY STANDARDS AND QUALITY

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Standard commercial solar stations preferred over custom fabrication | ☐ | ☐ Yes ☐ No | Commercial product documentation |
| Quality equivalent to Steelcase, Landscape Forms, or similar | ☐ | ☐ Yes ☐ No | Quality certifications and comparisons |
| All electrical components UL listed for outdoor use | ☐ | ☐ Yes ☐ No | UL listing documentation for all components |
| Cost-effectiveness prioritized - no over-specification | ☐ | ☐ Yes ☐ No | Cost justification for premium features |
| 2021 IBC Building Code Compliance with Hawaii amendments | ☐ | ☐ Yes ☐ No | Commercial product documentation |

FEDERAL COMPLIANCE REQUIREMENTS

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| NTIA TBCP Grant compliance (Award NT23TBC0290054) | ☐ | ☐ Yes ☐ No | Federal grant compliance certification |
| Equal Employment Opportunity compliance (Executive Order 11246) | ☐ | ☐ Yes ☐ No | EEO compliance certification |
| Clean Air Act compliance | ☐ | ☐ Yes ☐ No | Environmental compliance certification |
| Federal Water Pollution Control Act compliance | ☐ | ☐ Yes ☐ No | Water protection compliance documentation |
| Buy American preferences for materials and equipment | ☐ | ☐ Yes ☐ No | Buy American compliance documentation |
| Debarment/Suspension verification (SAM.gov exclusions) | ☐ | ☐ Yes ☐ No | SAM registration and exclusion verification |
| Anti-lobbying compliance (Byrd Amendment) | ☐ | ☐ Yes ☐ No | Anti-lobbying certification |

ACCESSIBILITY CONFORMANCE REPORTING

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Hawaii EIT Disability Access Standards compliance | ☐ | ☐ Yes ☐ No | EIT accessibility compliance certification |
| Section 508 and WCAG 2.1 Level AA compliance | ☐ | ☐ Yes ☐ No | Section 508/WCAG compliance documentation |
| Accessibility Conformance Report (ACR) for electronic components | ☐ | ☐ Yes ☐ No | Complete ACR for digital interfaces/controls |

COST AND BUDGET COMPLIANCE

| Requirement | MANDATORY | Meets Spec (Y/N) | Supporting Documentation |
| --- | --- | --- | --- |
| Total project cost within $224,000.00 budget ceiling | ☐ | ☐ Yes ☐ No | Detailed cost breakdown and budget analysis |
| Cost-effectiveness demonstration (no unnecessary over-specification) | ☐ | ☐ Yes ☐ No | Cost justification for all features and specifications |

BIDDER CERTIFICATION

I certify that:

- The proposed equipment and installation meet or exceed all mandatory requirements listed above for all seven (7) solar charging work stations

- All supporting documentation is accurate and complete

- The proposal complies with all federal grant requirements (NTIA TBCP Award NT23TBC0290054)

- The total project cost does not exceed the $224,000.00 budget ceiling

- The bidder is prepared to coordinate deployment across all four (4) Hawaiian islands

- The bidder understands the DHHL/HSPLS partnership structure and ownership transfer requirements

Authorized Signature:

Print Name:

Title:

Date:

Company Seal: (if applicable)

FOR DHHL USE ONLY

Technical Evaluation Summary:

Overall Technical Score: _____ / 55 points

Federal Compliance Score: _____ / 15 points

Cost-Effectiveness Score: _____ / 10 points

Primary Evaluator: 		Date:

Secondary Evaluator: 		Date:

Evaluation Notes:

Recommendation: ☐ RESPONSIVE ☐ NON-RESPONSIVE

Reason if Non-Responsive: ___________________________________