WASTEWATER REMOVAL SERVICES FROM PIER 1 SEWAGE LIFT STATION

DEPARTMENT OF TRANSPORTATION HARBORS

KAHULUI HARBOR

ISLAND OF MAUI

WASTEWATER REMOVAL SERVICES

FEBRUARY 20, 2026 TO FEBRUARY 19, 2027

Scope of Work

The work required shall consist of wastewater removal services from the Pier 1 sewage lift station at Kahului Harbor and shall include the furnishing of all labor, transportation, equipment, pump trucks, and other appurtenances necessary to collect and dispose of wastewater for the Department of Transportation, Harbors Maui District, Island of Maui, as listed in and in accordance with these Specifications.

The pump trucks, size and service requirements are as follows:

Kahului Harbor has a 6,000-gallon sewage lift station with each pumping operation of 3,000 gallons at a minimum of 1x weekly pumping service and up to 3x weekly pumping service within a seven-day consecutive period.

Term

The term shall be for twelve (12) months period from February 20, 2026 to February 19, 2027.

# Option to Extend Term

Subject to the satisfactory performance of the Contractor and the availability of State appropriations, this contract may be extended for two (2) additional one-year periods at the option of the State provided:

A.	The option to extend if exercised by the State not less than 30 days prior to the expiration of the term of the existing Contract.

B.	The Contract may be extended for additional one-year periods without the necessity for rebidding upon mutual agreement in writing, provided the contract price for the extended period shall remain equal to the initial bid price.

C.	The term, including optional extension terms, shall not exceed three (3) years. The total amount of the contract, inclusive of extensions, may not meet or exceed $100,000.

Invoice

The successful CONTRACTOR shall send an original and one (1) copies of the invoice to:

Department of Transportation, Harbors

101 E Kaahumanu Avenue, Suite 100

Kahului, HI  96732-2151

Liability Insurance

The CONTRACTOR shall provide a Certificate of Insurance with the following minimum insurance coverage(s) and limit(s):

Coverage						Limits

Commercial General Liability			$1,000,000 combined single limit per

occurrence for bodily injury and

property damage

$2,000,0000 general aggregate

Automobile Liability			$1,000,000 combined single limit per

occurrence

$1,000,000 bodily injury per person

and per accident

$1,000,000 property damage per 	accident

Each insurance policy required by this contract, including a subcontractor's policy, shall contain the following clauses:

- "This insurance shall not be canceled, limited in scope of coverage or non-renewed until after 30 days written notice has been given to the State of Hawaii, Department Transportation, Harbors Maui District, 101 E Kaahumanu Avenue, Suite 100, HI 96732-2151.”

- "The State of Hawaii is added as an additional insured as respects to operations performed for the State of Hawaii."

3. 	"It is agreed that any insurance maintained by the State of Hawaii will apply in excess of, and not contribute with, insurance provided by this policy."

The minimum insurance required shall be in full compliance with the Hawaii Insurance Code throughout the entire term of the contract, including supplemental agreements.