## Sheet1
SLD LPRB Temperature Monitoring Equipment and Room List
| Room # | Location Name | Type
1 | 1121 | FDA Storage | -20C Freezer | Temperature Range Requirements
2 | 1121 | FDA Storage | -20C Freezer | Equipment |  | Range
3 | 2104 | BT Main | -20C Freezer | Refrigerators |  | 1.0°C to 9.0°C
4 | 2110 | Core Main | -20C Freezer | -20°C Freezer |  | -40.0°C to -14°C
5 | 2143 | Hallway DIL | -20C Freezer | Ultralow |  | -85°C to -60°C
6 | 2143 | Hallway DIL | -20C Freezer | Incubators |  | 25°C to 60°C
7 | 2206 | DIL Main | -20C Freezer | Room (temp) |  | 10°C to 30°C
8 | 2416 | Food Lab | -20C Freezer | Room (humid) |  | 60% to 90%
9 | 2417 | Food Lab | -20C Freezer
10 | 2434 | WGS Lab | -20C Freezer | Other: | Refrigerators, Freezers, Ultralow and Incubators must have Door open/close monitors.
11 | 2435 | Luminex | -20C Freezer
12 | 2436 | Hallway Food | -20C Freezer
13 | 2502 | PCR Cocktail | -20C Freezer
14 | 2503 | PCR Template | -20C Freezer
15 | 2509 | PCR Darkroom | -20C Freezer
16 | 2212 | DIL Suite #1 | Incubator
17 | 2211 | DIL Suite #2 | Incubator
18 | 2211 | DIL Suite #2 | Incubator
19 | 2104 | BT Main | Incubator
20 | 2418 | Food Lab, Top | Incubator
21 | 2418 | Food Lab, Bottom | Incubator
22 | 2417 | Food Lab, Right | Incubator
26 | 2417 | Food Lab, Left | Incubator
24 | 1121 | FDA Storage | Refrigerator
25 | 2104 | BT Main | Refrigerator
26 | 2104 | BT Main | Refrigerator
27 | 2106 | BT Isolation | Refrigerator
28 | 2109 | Core Extraction | Refrigerator
29 | 2206 | DIL Main | Refrigerator
30 | 2206 | DIL Main | Refrigerator
31 | 2206 | DIL Main | Refrigerator
32 | 2210 | DIL Suite #3 | Refrigerator
33 | 2211 | DIL Suite #2 | Refrigerator
34 | 2212 | DIL Suite #1 | Refrigerator
38 | 2143 | Hallway DIL | Refrigerator
36 | 2418 | Food Lab | Refrigerator
37 | 2418 | Food Lab | Refrigerator
38 | 2416 | Food Lab | Refrigerator
42 | 2435 | Luminex | Refrigerator
40 | 2436 | Hallway Food | Refrigerator
41 | 2509 | PCR Darkroom | Refrigerator
42 | 2529 | Central Services, Walk in | Refrigerator
43 | 2143 | Hallway DIL | Room
44 | 2206 | DIL Main | Room
45 | 2210 | DIL Suite #3 | Room
46 | 2211 | DIL Suite #2 | Room
47 | 2212 | DIL Suite #1 | Room | Temperature Range Requirements
48 | 2106 | BT Isolation | Room | Equipment |  | Range
49 | 2101 | BT Serology | Room | Refrigerators |  | 1.0°C to 9.0°C
50 | 2110 | Core Main | Room | -20°C Freezer |  | -40.0°C to -14°C
51 | 2510 | PCR Main | Room | Ultralow |  | -85°C to -60°C
52 | 2502 | PCR Cocktail | Room | Incubators |  | 25°C to 60°C
53 | 2503 | PCR Template | Room | Room (temp) |  | 10°C to 30°C
54 | 2418 | Food Lab | Room | Room (humid) |  | 60% to 90%
55 | 2417 | Food Lab | Room
56 | 2416 | Food Lab | Room | Other: | Refrigerators, Freezers, Ultralow and Incubators must have Door open/close monitors.
57 | 2433 | WGS Lab | Room
58 | 2434 | WGS Lab | Room
59 | 2435 | Luminex | Room
60 | 2414 | Gel Room | Room
61 | 1121 | FDA Storage | Room
62 | 2110 | Core Main | Ultralow
63 | 2110 | Core Main | Ultralow
64 | 2143 | Hallway DIL | Ultralow
65 | 2143 | Hallway DIL | Ultralow
66 | 2143 | Hallway DIL | Ultralow
67 | 2206 | DIL Main | Ultralow
68 | 2206 | DIL Main | Ultralow
69 | 2206 | BT lab | Ultralow
70 | 2436 | Hallway Food | Ultralow
71 | 2436 | Hallway Food | Ultralow