HYCF BI Monthly Service

Secure Custody BLDG 1	Building 11

Admin- Carrier Split                                                                     Maintenance Sup office- Fujitsu split.

Multipurpose room- LG Split                                                     Maintenance Camera room- Mitsubishi split

Gym Office- Fujitsu split (Broken)

Commissary- Mitsubishi Split

Kitchen Dining Room- Mitsubishi Split

Kitchen Supply Fan- Carrier Weathermaker

Kitchen Manager Office- Mitsubishi Split

Maintenance Office- Fujitsu Split

Electronics room- Fujitsu Split

Kitchen Outside Storage- Mitsubishi Split

Building 7

Electronics Room- Mitsubishi Split

Building 5

Office- Mitsubishi split

Front work area- Mitsubishi split.

Back work area- Mitsubishi split.

NOTE: All units that have UV bulbs will require annual replacement as well.