HYCF MONTHLY AC SERVICE

** ALL UNITS HAVE UV BALLASTS**

Building 1 Roof top

Admin- Carrier

Admin- Carrier

Medical- Carrier

Program Building- Carrier

Program classroom- Carrier

Module A

ACU 7a- Carrier

ACU 7b- Carrier

EF-7g- Loren Cook E/F

Module B

ACU 6a- Carrier

ACU 6b- Carrier

EF6g- Loren Cook E/F

C Module

ACU 5a- Carrier

ACU 5b- Carrier

EF-5g Loren Cook E/F

NOTE: All units that have UV bulbs will require annual replacement as well.