Microbalance Specification Requirements for HIePRO purchase

The Natural Energy Laboratory of Hawaii Authority (NELHA), an attached agency of the Department of Business, Economic Development and Tourism is soliciting bids for the purchase laboratory balance for the Water Quality Laboratory.  The balance must include all the essential functions needed for accurate micro-weighing results, including small footprint, easy cleaning, large display, full visibility, and draft shield.

Balance specifications are:

- Maximum capacity: 1.2g/3.2g

- Repeatability, typical: 0.0008mg

- Readability: 0.001mg/0.01mg

- Settling time: 6s

A product that would meet these requirements is manufactured from Mettler-Toledo, catalog # XPR3DUE; similar products that meet the specifications will be considered.