	JOSH GREEN, M.D.

GOVERNOR OF HAWAIʻI
KE KIAʻĀINA O KA MOKUʻĀINA ʻO HAWAIʻI


	[image: image2.wmf] 


	KENNETH S. FINK, MD, MGA, MPH

DIRECTOR OF HEALTH

KA LUNA HOʻOKELE



	
	[image: image3.wmf] 

STATE OF HAWAIʻI

DEPARTMENT OF HEALTH

KA ʻOIHANA OLAKINO

P. O. BOX 3378

HONOLULU, HI  96801-3378


	


May 4, 2026
The Department of Health, State Laboratories Division (SLD) is requesting a price quotation to replace one (1) air handler fan motor for Air Handler Unit (AHU) #1A and replace two (2) failed air handler variable frequency drives (VFD) for AHU# 2 at the State Laboratories Division.
I.  SCOPE OF WORK

Work site is located on the first floor of the State Laboratories Facility located at 2725 Waimano Home Road, Pearl City, HI 96782.
AHU # 2 (two (2) VFDs)
a. Remove and dispose of non-functional VFDs.

b. Purchase, deliver and install new VFD and any other needed materials.  Connect new VFD to the building Automation System, the Honeywell Enterprise Building Integrator (EBI) and existing fan motors.
c. Replacement VFD and materials shall be new.  VFDs shall be the Honeywell NXS0600A1008 or equivalent. Any substitution must be compatible with the existing fan motors and the EBI.
d. Start up and test newly installed VFDs and make any needed adjustments.
AHU # 1A (one (1) fan motor)
a. Remove and dispose of failed fan motor.
b. Deliver and install new 60 hp fan motor.  Please see attached picture of the motor plate for additional details.  Replacement motor should be equivalent to the existing motor.
c. Connect to existing VFD.
d. Start up, test, and make any necessary adjustments to insure proper functioning.  
General

a. Contractor shall provide shop drawing or manufacture’s installation information for the VFDs and motor within 4 weeks of the notice of award.

b. Contractor shall be responsible for delivery of the replacement VFDs, fan motor, and any other required materials to SLD.  Contractor shall provide an estimated delivery date for equipment as soon as it is available.
c. Contractor shall provide all needed equipment and tools to properly lock out equipment where needed and to complete the work listed above for AHU# 1 and AHU# 2.

d. All materials purchased for this project shall be new.

e. Motor and VFD shall have a Manufacturer's Warranty which at a minimum provides the following:  Three (3) month warranty on parts from date of installation and acceptance to the original user of the equipment if it should prove defective workmanship or defective materials.  The manufacturer shall replace the defective parts without charge to the Government.
f. At completion of the work, Contractor shall provide a written warranty that the completed project is free from any workmanship or material defects for a period of three (3) months starting from the date of the works formal acceptance.  The warranty shall state that, in case of any workmanship defects that will occur within the period of three (3) months, the Contractor shall implement the necessary corrective work without charging the Government for the costs of materials, labor, and equipment use.
g. All work must be done in accordance with all Federal, State, and Local laws including but not limited to Chapter 104, HRS (State of Hawaii prevailing wage laws)

h. All work which requires the shutdown of the air handler units must be scheduled at least 2 weeks in advance and must be done on Saturday or Sunday 8 am – 5 pm HST.  All cost associated with weekend work shall be included in the bid price.

i. Contractor shall dispose of all wastes generated in accordance with all Federal, State, and Local laws and leave the work areas clean.
2. CONTACT
While not required, if you wish to inspect the work site prior to submitting a bid, the only times available will be on May 11, 2026 at 10 am or May 14, at 3 pm.  Not attending a site visit does not relieve the Contractor of the responsibility of understanding the work site conditions prior to placing a bid.  If you have any questions, wish to request additional information, or would like to participate in a site visit, please contact Mr. Stephen Schanzenbach, at 453-6651, fax. 453-6662 or e-mail: stephen.schanzenbach@doh.hawaii.gov.  
3. BID SUBMISSION

Please submit your bid on HIePRO by 2PM HST on May 22, 2026.  Bids submitted outside of HIePRO or after the deadline will not be considered.
4. BASIS OF AWARD
Award shall be made to the lowest responsive, responsible bidder.  While the State intends to award all 3 items (2 VFDs and 1 Motor) to a single bidder the STATE may need to make a partial award based on the availability of funds.  The State is not obligated to purchase all three (3) of the items if it is in the best interest of the STATE.  STATE reserves the right to reject any or all bids in the STATE’s best interest.
5. PROTESTS
Are allowed for any phase of solicitation and award.

Protest of any phase of solicitation: shall be submitted in writing prior to receipt of offers. (HAR Section 3-126-3)

Protest of an award: shall be submitted in writing within 5 working days of posting of award. (HAR Section 3-126-4)

Stay of Procurement: Once filed, no further action shall be taken on the procurement until the protest has been settled. (HAR Section 3-126-5)

6.  INSURANCE REQUIREMENTS
Vendor must be properly insured and provided a Certificate of Insurance (COI) that covers the service period prior to the start of work. Failure to provide the COI may result in cancellation of the award.  Please see COI attachment for required insurance amounts and details.
7.  TERMS AND CONDITIONS

Please see the attached State of Hawaii General Terms and Conditions.  No modifications to the terms and conditions are allowed.
8.  OTHER INFORMATION

The Hawai‘i Department of Health does not discriminate on the basis of race, color, sex, national origin, age, or disability, or any other class as protected under applicable federal or state law, in administration of its programs, or activities, and, the Department of Health does not intimidate or retaliate against any individual or group because they have exercised their rights to participate in actions protected, or oppose action prohibited, by 40 C.F.R. Parts 5 and 7, or for the purpose of interfering with such rights.

If you have any questions about this notice or any of the Department’s non-discrimination programs, policies, or procedures, you may contact: 


Valerie Kato


Acting Non-Discrimination Coordinator 


Hawai‘i Department of Health 


1250 Punchbowl Street, HI 96813, 


(808) 586-4400 


doh.nondiscrimination@doh.hawaii.gov 

If you believe that you have been discriminated against with respect to a Department of Health program or activity, you may contact the Non-Discrimination Coordinator identified above. 

To request language or accessibility for this document, please contact: the HDOH Non-Discrimination Coordinator, located at 1250 Punchbowl Street, Honolulu, HI 96813 (Phone: (808) 586-4400 or email: doh.nondiscrimination@doh.hawaii.gov). 
Please allow sufficient time for HDOH to meet accommodation requests.

[image: image1.jpg]NISONNAHL 2d/1d
M ) ()20 (s)—=27
- 3

e 5
o) =) ()=

4




AHU#1 Motor Plate
� EMBED Word.Picture.8  ���





In reply, please refer to:


File:











_1031661413.doc
[image: image1.png]% A~ XS
®0, @
@% © oc®

o2
DL s
©00000000
@"@OB@E\] o
22

(
A/
l’ 2
A







