Operation & Maintenance of the WWTP

Hilo International Airport

State Project No. BH1626-33

- Scope of Work

- The Contractor shall operate and maintain one packaged wastewater treatment plant, packaged lift station, and the aircraft sewage reduction station, located at the Hilo International Airport. Contractor shall pay for all material costs for lab materials & relevant equipment.  Specific details of the Plant and Operation & Maintenance Manual is attached for informational purposes.

- Operation and maintenance work shall be supervised by a Certified Grade 2 WWTP Operator in accordance with all Department of Health (DOH) requirements.

- The Contractor shall obtain and maintaining all necessary permits, licenses and approvals.

- O&M work shall include 7-days a week of operation & maintenance.  Normal working hours for the O&M work shall be from 7:00am to 3:30pm, daily.

- ITO WWTP equipment shall be checked for proper operation, greased and maintained during O&M work (daily, weekly, monthly, quarterly or as required for each equipment).

- ITO Lift Station equipment shall be checked for proper operation, greased and maintained during O&M work (daily, weekly, monthly, quarterly or as required for each equipment).

- ITO Sewage Reduction Station equipment shall be checked for proper operation and maintained during O&M work (weekly, monthly, quarterly or as required for each equipment).

- Emergency callouts will include travel time from the responder's home location with a minimum of 4 hours.

- Maintain a daily log of facility operations (service logs, etc.) to be submitted to DOTA monthly.

- Maintenance and renewal of UIC permit. Comply with DOH guidelines of monthly and quarterly testing.

- The Contractor shall supply all tools required to perform daily and general operation & maintenance tasks.

- The Contractor shall clean & wash down facility as required.

- Sludge removal as necessary for O&M work will be paid for under an allowance.

- Chemical cost reimbursement as necessary for O&M work will be paid for under an allowance.

- All rust-removal, repainting, parts and materials for repairs for necessary O&M work will be paid for under an allowance.

- Any major repairs beyond the baseline O&M scope of work, special problems, special troubleshooting including but not limited to repairs/replace process equipment, electrical work, etc.  Additional/Emergency work shall be approved in writing prior to starting the extra work.

- After-hours emergency callouts or service calls/inspections/repairs.  Additional/Emergency work shall be approved in writing prior to starting the extra work.