“EXHIBIT A”

- Manufacturer:   A-dec

- One (1) Dental Operatory Unit

Requested configuration (all components mounted on the dental chair):

- Dental Operatory Chair:  A-dec 311 Chair

  - Formed Upholstery

  - Color: Sapphire

  - Two position armrests

  - Maximum patient weight capacity minimum 400 lb

  - Chair base – Height adjustable

  - 60% Swivel (30 degrees each side of center)

  - Dual-articulating and gliding headrest

  - Chair control via delivery system control pad or foot switch

- System Mount:   A-dec 332 Radius system mount, chair mounting

- Delivery System:  A-dec 332 Traditional Radius Delivery System

  - Radius mount to dental chair

  - Traditional delivery system configuration

  - Control block 3 position

  - Handpiece holder positions – 4 + air/water syringe

  - Position 2, 3, and 4 – 4 hole tubing (no fiberoptics)

  - Standard touch pad with delivery system (with chair controls)

  - With Tray for instruments

  - Foot control: Disc foot control

- Assistant’s Holder System:  A-dec 351 Radius ASST

  - Radius mount to dental chair

  - Four position holder

    - Air/Water Syringe and 3 other holders (including 1 saliva ejector, 2 HVE)

  - Assistant touch pad with chair controls

- Cuspidor:  None

- Dental Light:  A-dec 372L LED Dental Light, Radius Mt.

  - Radius mount to dental chair

  - LED Light

  - Minimum 4 bright white LED

  - Touchpad function for light

  - Composite Mode

  - Rotational axes – 3 axis

- Monitor:  None

- Dental Operatory Unit Manufacturer’s Warranty

Requirement: 10-Year Warranty covers dental chairs, delivery systems, and lights.

*Images of the Hawaii State Hospital’s Dental Clinic Operatory Room and Existing Dental Operatory Unit to be Replaced.  Refer to the images below.