Materials Testing and Research Branch Sand Cone Testing Pit Roof

20’ x 12’  roof for sand pit area

16x8 CMU Columns

#4 rebar each cell, fully grouted, #4 vertical dowl/epoxy

4x10 beam to top of CMU

84” clearance at front, 2:12 slope of roof

3 columns at rear and two columns at front

2x6 rafters, 5/8 cox plywood, all lumber treated

2x8 fascia at edge of shed roof, no gutters

30” overhang