Fire Sprinkler System Repairs - Hawaii Youth Correctional Facility- MOD C and Gym Locations Replace Alarm Valve Assembly Supply bypass check failure is affecting the Alarm System. Labor and Materials (2) men (2) days Alarm Valve w/Trim Piping (2) Couplings (3) Flange Nut & Bold Kit w/Gasket (1)
