## Offer Pages
| The following offer is hereby submitted: |  |  |  |  | Offeror:
[6 empty] | OAHU |  |  | HAWAII, MAUI, MOLOKAI-LANAI AND KAUAI
Item Number | DESCRIPTION | Manufacturer (or equal) | Product Number (or equal) | Manufacturer and Product Number (pre-approved equal) | Unit | Estimated Quantities (A) | Unit Bid Price* (B) | Total Bid Price (A x B) | Estimated Quantities (C) | Unit Bid Price* (D) | Total Bid Price (C x D)
1 | ALTOS Loose Tube, all dielectric gel-free cable, 12-F, Single Mode Fast Access Binderless | Corning | 012ZU4-T4F22D20 |  | foot | 20000 | 0 | 0 | 10000 | 0 | 0
2 | ALTOS Loose Tube, all dielectric gel-free cable, 24-F, Single Mode Fast Access Binderless | Corning | 024ZU4-T4F22D20 |  | foot | 20000 | 0 | 0 | 20000 | 0 | 0
3 | ALTOS Loose Tube, all dielectric gel-free cable, 48-F, Single Mode Fast Access Binderless | Corning | 048ZU4-T4F22D20 |  | foot | 35000 | 0 | 0 | 20000 | 0 | 0
4 | ALTOS® HD Gel-Free, All-Dielectric Cable with Binderless FastAccess® Technology 96 F, SMF-28® Ultra fiber, Single-mode (OS2) MINIMUM ORDER 3000ft. | Corning | 096ZU4-Y4F22D20 |  | foot | 3000 | 0 | 0 | 3000 | 0 | 0
5 | Loose Tube, all dielectric gel-free cable, 12-F, Single Mode | Corning | 012EU4-T4700D20 |  | foot | 5000 | 0 | 0 | 5000 | 0 | 0
6 | Loose Tube, all dielectric gel-free cable, 24-F, Single Mode | Corning | 024EU4-T4700D20 |  | foot | 5000 | 0 | 0 | 5000 | 0 | 0
7 | Loose Tube, all dielectric gel-free cable, 48-F, Single Mode | Corning | 048EU4-T4700D20 |  | foot | 5000 | 0 | 0 | 5000 | 0 | 0
8 | FREEDM® Loose Tube Gel-Free Cable, Riser, 24 F, Single-mode (OS2) | Corning | 024ZUF-T4101D20 |  | foot | 5000 | 0 | 0 | 5000 | 0 | 0
9 | FREEDM® Loose Tube Gel-Free Cable, Riser, 48 F, Single-mode (OS2) | Corning | 048ZUF-T4101D20 |  | foot | 5000 | 0 | 0 | 5000 | 0 | 0
10 | Riser 12-F Single Mode, riser fiber optic cabling, flame-retardant, UV-resistant, indoor and outdoor; small diameter and bend radius, all-dielectric cable construction | Corning | 012E8F-31131-29 |  | foot | 5000 | 0 | 0 | 5000 | 0 | 0
11 | Riser 24-F Single Mode, riser fiber optic cabling, flame-retardant, UV-resistant, indoor and outdoor; small diameter and bend radius, all-dielectric cable construction | Corning | 024E8F-31131-29 |  | foot | 5000 | 0 | 0 | 5000 | 0 | 0
12 | LSZH flat drop indoor and outdoor riser. 12 F Single Mode OS2 | Corning | 012ZBZ-14101A20 |  | foot | 5000 | 0 | 0 | 10000 | 0 | 0
13 | Pigtail, 62.5/125 micrometer MULTIMODE with SC clip, 2 feet length | Corning | 003901K4130002F |  | each | 200 | 0 | 0 | 200 | 0 | 0
14 | Pigtail, SINGLE MODE with SC clip, 2 feet length | Corning | 005801R4131002F |  | each | 200 | 0 | 0 | 200 | 0 | 0
15 | Fusion Splice Protectors, single fiber, 60 millimeters long, package of 50 | Corning | HEAT SHRINKS 2806031-01 |  | pack | 85 | 0 | 0 | 25 | 0 | 0
16 | Fiber Optic Wipes, 90 wipes per pack | Corning | FCC-WIPES |  | pack | 50 | 0 | 0 | 30 | 0 | 0
17 | Fiber Optic Cleaning Fluid, 3 ounce can | Corning | FCC-CLEANER-FIBER |  | each | 50 | 0 | 0 | 30 | 0 | 0
18 | Single-Fiber Port Cleaner, LC and Keyed LC, 1.25 millimeter connectors, over 525 | Corning | CLEANER-PORT-LC |  | each | 50 | 0 | 0 | 30 | 0 | 0
19 | Single-Fiber Port Cleaner, SC and ST Compatible, for cleaning connector end faces in patch panels and adapters | Corning | CLEANER-PORT-2.5 |  | each | 50 | 0 | 0 | 30 | 0 | 0
20 | Buffer Tube Fan-Out Kit, Indoor, 6 Fiber, 25 inch legs | Corning | FAN-BT25-06 |  | each | 60 | 0 | 0 | 50 | 0 | 0
21 | Buffer Tube Fan-Out Kit, Indoor, 12 Fiber, 25 inch legs | Corning | FAN-BT25-12 |  | each | 200 | 0 | 0 | 100 | 0 | 0
22 | Splice Tray, 0.4-inches, 12 heat-shrink fusion splices or 6-heat-shrink mass fusion splices | Corning | M67-110 |  | each | 200 | 0 | 0 | 100 | 0 | 0
23 | Hardware Lock Kit | Corning | CCHA-LOCK-KIT |  | kit | 50 | 0 | 0 | 40 | 0 | 0
24 | Armored Cable Grounding Kit; contains armored grounding clip and ground strap | Corning | FDC-CABLE-GRND |  | kit | 50 | 0 | 0 | 40 | 0 | 0
25 | Internal strain-relief bracket | Corning | CCH1-STRN-INT |  | each | 50 | 0 | 0 | 40 | 0 | 0
26 | External strain-relief bracket | Corning | CCH1-STRN-EXT |  | each | 50 | 0 | 0 | 40 | 0 | 0
27 | Intermediate strain-relief bracket 2 per pack | Corning | CCHA-CLIP-BTF-2 |  | pack | 50 | 0 | 0 | 40 | 0 | 0
28 | Internal strain-relief bracket for large enclosures | Corning | CCH4-STRN-INT |  | each | 50 | 0 | 0 | 40 | 0 | 0
29 | External strain-relief bracket for large enclosures | Corning | CCH4-STRN-EXT |  | each | 50 | 0 | 0 | 40 | 0 | 0
30 | Additional Label Kit ; contains 50 labels | Corning | CCHA-LABEL-PNL-50 |  | pack | 50 | 0 | 0 | 40 | 0 | 0
31 | Closet Jumper Management Panel, 1 rack unit | Corning | CJP-O1U |  | each | 50 | 0 | 0 | 40 | 0 | 0
32 | Closet Jumper Management Panel, 2 rack unit | Corning | CJP-02U |  | each | 50 | 0 | 0 | 40 | 0 | 0
33 | Closet Connector Housing (CCH); 1 RU with slide-out tray and see-through removable top cover accepts up to 2 CCH panels, cassettes or modules; comes with blank panels and hardware to strain-relieve cables internally or externally; 1.77 inches by 19 inches by 17 inches; 10 pounds | Corning | CCH-01U |  | each | 30 | 0 | 0 | 10 | 0 | 0
34 | Closet Connector Housing (CCH); designed for rack mounting in 19 inch or 23 inch equipment racks; 2 RU with slide-out tray and see-through removable top cover accepts up to 4 CCH panels, cassettes or modules; comes with blank panels and hardware to strain-relieve cables internally or externally; 3.5 inches by 19 inches by 17 inches; 12 pounds | Corning | CCH-02U |  | each | 30 | 0 | 0 | 10 | 0 | 0
35 | Closet Connector Housing (CCH); designed for rack mounting in 19 inch or 23 inch equipment racks; 3 RU with slide-out tray and see-through removable top cover accepts up to 6 CCH panels, cassettes or modules; comes with blank panels and hardware to strain-relieve cables internally or externally; 5.25 inches by 19 inches by 17 inches; 14 pounds | Corning | CCH-03U |  | each | 20 | 0 | 0 | 10 | 0 | 0
36 | Closet Connector Housing (CCH); designed for rack mounting in 19 inch or 23 inch equipment racks; 4 RU with a clear door, removable front and rear enclosures; accepts up to 12 CCH panels, cassettes or modules; comes with blank panels and hardware to strain-relieve cables internally or externally; 7 inches by 19 inches by 17 inches; 17 pounds | Corning | CCH-04U |  | each | 20 | 0 | 0 | 10 | 0 | 0
37 | Wall Mount Industrial Connector Housing (ICH), holds two CCH connector panels, black, 10.5 inches by 13 inches by 5.5 inches, 10 pounds | Corning | ICH--02P |  | each | 10 | 0 | 0 | 10 | 0 | 0
38 | Industrial Connector Housing (ICH) accessory: Splice Tray Holder for ICH-02P | Corning | ICH-SPLC-2 |  | each | 10 | 0 | 0 | 10 | 0 | 0
39 | Wall Mount Industrial Connector Housing (ICH), holds 6 CCH connector panels, black, 16 inches by 20 inches by 6 inches, 20 pounds | Corning | ICH-06P |  | each | 50 | 0 | 0 | 30 | 0 | 0
40 | Industrial Connector Housing (ICH) accessory: Splice Tray Holder for ICH-06P | Corning | ICH-SPLC-6 |  | each | 75 | 0 | 0 | 40 | 0 | 0
41 | Wall Mount Industrial Connector Housing (ICH), holds 12 CCH connector panels, black, 16 inches by 20 inches by 10.2 inches, 28 pounds | Corning | ICH-12P |  | each | 30 | 0 | 0 | 20 | 0 | 0
42 | Industrial Connector Housing (ICH) accessory: Splice Tray Holder for ICH-12P | Corning | ICH-SPLC-12 |  | each | 30 | 0 | 0 | 20 | 0 | 0
43 | Wall Mount Industrial Connector Housing (ICH), holds 2 CCH connector panels, black, 10.5 inches by 13 inches by 5.5 inches, 10 pound CCH Cassette Compatible | Corning | ICH-CS-02P |  | each | 10 | 0 | 0 | 5 | 0 | 0
44 | Wall Mount Industrial Connector Housing (ICH), holds 6 CCH connector panels, black, 16 inches by 20 inches by 6 inches, 20 pound CCH Cassette Compatible | Corning | ICH-CS-06P |  | each | 10 | 0 | 0 | 5 | 0 | 0
45 | Single Panel Housing; Wall Mountable, holds one CCH panel | Corning | SPH-01P |  | each | 10 | 0 | 0 | 5 | 0 | 0
46 | Closet Connector Housing (CCH), Panel, 12F, SC Duplex, Single Mode (OS2) | Corning | CCH-CP12-59 |  | each | 100 | 0 | 0 | 60 | 0 | 0
47 | Closet Connector Housing (CCH), Panel, 12F, SC Duplex, Single Mode (OS2), APC Connector | Corning | CCH-CP12-D9 |  | each | 100 | 0 | 0 | 60 | 0 | 0
48 | Closet Connector Housing (CCH), Panel, 12F, Pigtailed SC Duplex, Single Mode (OS2), UPC Connector | Corning | CCH-RM12-59-P03RH |  | each | 100 | 0 | 0 | 60 | 0 | 0
49 | Closet Connector Housing (CCH), Panel, 12F, Pigtailed SC Duplex, Single Mode (OS2), APC Connector | Corning | CCH-RM12-D9-P03RH |  | each | 100 | 0 | 0 | 60 | 0 | 0
50 | Closet Connector Housing (CCH), Pigtail Cassette, loaded with CCH panel and factory-terminated pigtails, 24F, LC Duplex, Single Mode, UPC, single fiber splicing | Corning | CCH-CS24-A9-P00RE |  | each | 50 | 0 | 0 | 25 | 0 | 0
51 | Closet Connector Housing (CCH), Pigtail Cassette, loaded with CCH panel and factory-terminated pigtails, 24F, LC Duplex, Single Mode, APC, single fiber splicing | Corning | CCH-CS24-B3-P00RE |  | each | 50 | 0 | 0 | 25 | 0 | 0
52 | Closet Connector Housing CCH Module, pigtailed, LC connectors Duplex, UPC, 24F Single Mode (OS2) | Corning | CCH-RM24-A9-P03RH |  | each | 50 | 0 | 0 | 25 | 0 | 0
53 | Closet Connector Housing CCH Module, pigtailed, LC connectors Duplex, UPC, 12F Single Mode (OS2) | Corning | CCH-RM12-A9-P03RH |  | each | 50 | 0 | 0 | 25 | 0 | 0
54 | ST Multimode Unicam connector for 62.5 micrometer Fiber, Composite ferrule: 25 inch organizer pack | Corning | 95-000-50-Z |  | pack | 100 | 0 | 0 | 100 | 0 | 0
55 | SC Multimode Unicam connector for 62.5 micrometer Fiber, Composite ferrule: 25 inch organizer pack | Corning | 95-000-40-Z |  | pack | 100 | 0 | 0 | 100 | 0 | 0
56 | SC Single-Mode connector with Super PC polish: 25 inch organizer pack | Corning | 95-200-41-Z |  | pack | 400 | 0 | 0 | 200 | 0 | 0
57 | SC Single-Mode APC connector with Super PC polish: 25 inch organizer pack | Corning | 95-200-44-Z |  | pack | 10 | 0 | 0 | 25 | 0 | 0
58 | LC Single-Mode APC connector with Super PC polish: 25 inch organizer pack | Corning | 95-200-94-Z |  | pack | 10 | 0 | 0 | 25 | 0 | 0
59 | Cletop Version S Ferrule Cleaner-White Tape | AFL | 8500-10-0016MZ |  | each | 20 | 0 | 0 | 10 | 0 | 0
60 | Cletop-S Replacement Cartridge (White) | AFL | 8500-10-0017MZ |  | each | 20 | 0 | 0 | 10 | 0 | 0
61 | One-Click Cleaner MPO (MPO and MTP®, 500 cleans) | AFL | 8500-05-0030MZ |  | each | 20 | 0 | 0 | 10 | 0 | 0
62 | Cat6 Enhanced, UTP, 23AWG Solid, TIA-EIA-568A, UL or ETL Verified, 500 Megahertz, white, CMR (Riser), 1000 foot reel | Berk-Tek | 10032459 |  | 1000 foot reel | 200 | 0 | 0 | 100 | 0 | 0
63 | Cat6 Outside Plant, UTP, 24AWG, OSP, fully water blocked, Black, 1000 foot reel | Berk-Tek | 10139885 |  | 1000 foot reel | 60 | 0 | 0 | 30 | 0 | 0
64 | Stadion Cat 6 UTP Extended Distance Cable, Outside Plant, Black, 1000 foot (305 meters), Reel | Berk-Tek | 11144870 |  | 1000 foot reel | 10 | 0 | 0 | 10 | 0 | 0
65 | LANmark-10G OSP Category 6A, Black 1000 foot reel | Berk-Tek | 11094458 |  | 1000 foot reel | 150 | 0 | 0 | 100 | 0 | 0
66 | LM-RDT Cat 6A UTP CMR Cable GREEN | Berk-Tek | 11143102 |  | 1000 foot reel | 100 | 0 | 0 | 50 | 0 | 0
67 | LM-RDT Cat 6A UTP CMR Cable BLUE | Berk-Tek | 11142398 |  | 1000 foot reel | 100 | 0 | 0 | 50 | 0 | 0
68 | LM-RDT Cat 6A UTP CMP Cable GREEN | Berk-Tek | 11142235 |  | 1000 foot reel | 100 | 0 | 0 | 50 | 0 | 0
69 | LM-RDT Cat 6A UTP CMP Cable BLUE | Berk-Tek | 11141650 |  | 1000 foot reel | 100 | 0 | 0 | 50 | 0 | 0
70 | LM-RDT Indoor and Outdoor Cat 6A UTP CMP Cable, black, reel | Berk-Tek | 11142753 |  | 1000 foot reel | 10 | 0 | 0 | 10 | 0 | 0
71 | RJ-45 Crimp Tool | Leviton | 40989-ACT |  | each | 50 | 0 | 0 | 50 | 0 | 0
72 | RJ-45 Module, QuickPort Snap-in Cat5E, T568A, UL listed, Red | Leviton | 5G110-RR5 |  | each | 10 | 0 | 0 | 10 | 0 | 0
73 | Cat6 RJ-45 Plugs (50 per pack),8 position, 8 wire for use with EZ-RJ45 crimper, Leviton part number 40989-ACT | Leviton | 47613-EZ6 |  | each | 100 | 0 | 0 | 50 | 0 | 0
74 | CAT 6A Sheilded tool free RJ-45 plug | Leviton | 6APLG-S6A |  | each | 100 | 0 | 0 | 50 | 0 | 0
75 | Flat QuickPort Patch panel 48 port, 1RU, UNLOADED | Leviton | 49255-Q48 |  | each | 100 | 0 | 0 | 50 | 0 | 0
76 | Atlas-X1 Cat 6A UTP QuickPort Connector with Shutters, Purple | Leviton | 6AUJK-SP6 |  | each | 100 | 0 | 0 | 100 | 0 | 0
77 | Atlas-X1 Cat 6A UTP QuickPort Connector, PURPLE | Leviton | 6AUJK-RP6 |  | each | 100 | 0 | 0 | 100 | 0 | 0
78 | Extreme Cat 6A QuickPort Connector, Channel-rated, PURPLE | Leviton | 6110G-RP6 |  | each | 25 | 0 | 0 | 15 | 0 | 0
79 | Extreme 6+ Cat6 connector, QuickPort Snap-in Cat6, T568A, UL listed, orange, Quickpack, 25 per bag | Leviton | 61110-BO6 |  | each | 25 | 0 | 0 | 15 | 0 | 0
80 | Extreme 6+ Cat6 connector, QuickPort Snap-in Cat6, T568A, UL listed, orange, Quickpack 6 Bags of 25 with Jack Rapid Tool | Leviton | 61110-JO6 |  | each | 25 | 0 | 0 | 15 | 0 | 0
81 | CAT5E Gigamax connector, QuickPort Snap-in, T568A, UL Listed, DARK RED, Quickpack 25 per bag | Leviton | 5G108-BR5 |  | each | 25 | 0 | 0 | 15 | 0 | 0
82 | USOC Jack 6P6C YELLOW | Leviton | 41106-RY6 |  | each | 25 | 0 | 0 | 15 | 0 | 0
83 | Cat 6A Flat QuickPort Patch Panel, 24-Port, 1RU | Leviton | 6910G-U24 |  | each | 25 | 0 | 0 | 15 | 0 | 0
84 | Cat 6A Flat QuickPort Patch Panel, 48-Port, 2RU | Leviton | 6910G-U48 |  | each | 25 | 0 | 0 | 15 | 0 | 0
85 | Extreme 6+ Quickport 24-port Cat6 Patch Panel, 1RU, Extreme 6+ connectors included (Black) | Leviton | 69270-U24 |  | each | 25 | 0 | 0 | 15 | 0 | 0
86 | Extreme 6+ Quickport 48-port Cat6 Patch Panel, 2RU, Extreme 6+ connectors included (Black) | Leviton | 69270-U48 |  | each | 25 | 0 | 0 | 15 | 0 | 0
87 | Empty modular patch panel, 24-port | Leviton | 49255-H24 |  | each | 25 | 0 | 0 | 15 | 0 | 0
88 | Empty modular patch panel, 48-port | Leviton | 49255-H48 |  | each | 15 | 0 | 0 | 5 | 0 | 0
89 | 1RU ANGLED Patch panel 24 port UNLOADED | Leviton | 49256-H24 |  | each | 40 | 0 | 0 | 20 | 0 | 0
90 | 1RU ANGLED Patch panel 48 port (High Density) UNLOADED | Leviton | 49256-D48 |  | each | 25 | 0 | 0 | 15 | 0 | 0
91 | 2RU ANGLED Patch panel 48 port UNLOADED | Leviton | 49256-H48 |  | each | 25 | 0 | 0 | 15 | 0 | 0
92 | Cat5E Patch Panel,1RU 24-port QuickPort Flat Panel | Leviton | 5G270-U24 |  | each | 30 | 0 | 0 | 10 | 0 | 0
93 | Cat5E Patch Panel, 2 RU 48-port QuickPort Flat Panel | Leviton | 5G270-U48 |  | each | 15 | 0 | 0 | 10 | 0 | 0
94 | 1 RU 19 inch Stand-off Bracket | Allen Tel | AT55HM-1 |  | each | 15 | 0 | 0 | 10 | 0 | 0
95 | Hinged, wall mount bracket, 2RU | Leviton | 49251-W62 |  | each | 15 | 0 | 0 | 10 | 0 | 0
96 | Hinged, wall mount bracket, 3RU | Leviton | 49251-W63 |  | each | 5 | 0 | 0 | 5 | 0 | 0
97 | Hinged, wall mount bracket, 4RU | Leviton | 49251-W64 |  | each | 100 | 0 | 0 | 50 | 0 | 0
98 | Horizontal Cable Management, 2RU, Black | Leviton | 492RU-HFO |  | each | 100 | 0 | 0 | 50 | 0 | 0
99 | 1RU Horizontal Cable manager, with front cover | Leviton | 491RU-HFO |  | each | 100 | 0 | 0 | 50 | 0 | 0
100 | 1RU Horizontal Cable manager, with front and rear cover | Leviton | 491RU-HFR |  | each | 100 | 0 | 0 | 50 | 0 | 0
101 | Horizontal Cable Management, 1RU, Black 4 inch metal rings | Leviton | 49253-LPM |  | each | 100 | 0 | 0 | 50 | 0 | 0
102 | Horizontal Cable Management, 2RU, Black 6 inch metal rings | Leviton | 49253-6MR |  | each | 100 | 0 | 0 | 50 | 0 | 0
103 | Recessed Horizontal Cable Management, 1RU, Black 3 inch metal rings | Leviton | 49253-RCM |  | each | 100 | 0 | 0 | 50 | 0 | 0
104 | Cable management clip | Leviton | 49005-CMC |  | each | 100 | 0 | 0 | 50 | 0 | 0
105 | High density Cable Management Bar, 1RU | Leviton | 49005-DMB |  | each | 100 | 0 | 0 | 50 | 0 | 0
106 | Atlas-X1 Cat6A SlimLine Patch Cord 3 feet, WHITE | Leviton | 6AS10-03W |  | each | 100 | 0 | 0 | 50 | 0 | 0
107 | Atlas-X1 Cat6A SlimLine Patch Cord 5 feet, WHITE | Leviton | 6AS10-05W |  | each | 100 | 0 | 0 | 50 | 0 | 0
108 | Atlas-X1 Cat6A SlimLine Patch Cord 10 feet, WHITE | Leviton | 6AS10-10W |  | each | 100 | 0 | 0 | 50 | 0 | 0
109 | Atlas-X1 Cat6A SlimLine Patch Cord 15 feet, WHITE | Leviton | 6AS10-15W |  | each | 50 | 0 | 0 | 50 | 0 | 0
110 | Atlas-X1 Cat6A SlimLine Patch Cord 20 feet, WHITE | Leviton | 6AS10-20W |  | each | 100 | 0 | 0 | 100 | 0 | 0
111 | Atlas-X1 Cat6A SlimLine Patch Cord 30 feet, WHITE | Leviton | 6AS10-30W |  | each | 100 | 0 | 0 | 100 | 0 | 0
112 | Atlas-X1 Cat6A SlimLine Patch Cord 3 feet, GREEN | Leviton | 6AS10-03G |  | each | 50 | 0 | 0 | 50 | 0 | 0
113 | Atlas-X1 Cat6A SlimLine Patch Cord 5 feet, GREEN | Leviton | 6AS10-05G |  | each | 300 | 0 | 0 | 200 | 0 | 0
114 | Atlas-X1 Cat6A SlimLine Patch Cord 10 feet, GREEN | Leviton | 6AS10-10G |  | each | 300 | 0 | 0 | 200 | 0 | 0
115 | Atlas-X1 Cat6A SlimLine Patch Cord 15 feet, GREEN | Leviton | 6AS10-15G |  | each | 50 | 0 | 0 | 25 | 0 | 0
116 | Atlas-X1 Cat6A SlimLine Patch Cord 20 feet, GREEN | Leviton | 6AS10-20G |  | each | 50 | 0 | 0 | 25 | 0 | 0
117 | Atlas-X1 Cat6A SlimLine Patch Cord 30 feet, GREEN | Leviton | 6AS10-30G |  | each | 100 | 0 | 0 | 100 | 0 | 0
118 | CAT 6A 10GB CORD 1-FOOT PURPLE | Allen Tel | ATG1001-P |  | each | 50 | 0 | 0 | 25 | 0 | 0
119 | CAT 6A 10GB CORD 5-FOOT PURPLE | Allen Tel | ATG1005-P |  | each | 50 | 0 | 0 | 25 | 0 | 0
120 | CAT 6A 10GB CORD 10-FOOT PURPLE | Allen Tel | ATG1010-P |  | each | 50 | 0 | 0 | 25 | 0 | 0
121 | CAT 6A 10GB CORD 15-FOOT PURPLE | Allen Tel | ATG1015-P |  | each | 50 | 0 | 0 | 25 | 0 | 0
122 | CAT 6A 10GB CORD 20-FOOT PURPLE | Allen Tel | ATG1020-P |  | each | 50 | 0 | 0 | 25 | 0 | 0
123 | CAT 6A 10GB CORD 25-FOOT PURPLE | Allen Tel | ATG1025-P |  | each | 50 | 0 | 0 | 25 | 0 | 0
124 | CAT 6A 10GB CORD 50-FOOT PURPLE | Allen Tel | ATG1050-P |  | each | 50 | 0 | 0 | 25 | 0 | 0
125 | CAT 6A 10GB CORD 1-FOOT ORANGE | Allen Tel | ATG1001-OR |  | each | 50 | 0 | 0 | 25 | 0 | 0
126 | CAT 6A 10GB CORD 5-FOOT ORANGE | Allen Tel | ATG1005-OR |  | each | 50 | 0 | 0 | 25 | 0 | 0
127 | CAT 6A 10GB CORD 10-FOOT ORANGE | Allen Tel | ATG1010-OR |  | each | 50 | 0 | 0 | 25 | 0 | 0
128 | CAT 6A 10GB CORD 15-FOOT ORANGE | Allen Tel | ATG1015-OR |  | each | 50 | 0 | 0 | 25 | 0 | 0
129 | CAT 6A 10GB CORD 20-FOOT ORANGE | Allen Tel | ATG1020-OR |  | each | 50 | 0 | 0 | 25 | 0 | 0
130 | CAT 6A 10GB CORD 25-FOOT ORANGE | Allen Tel | ATG1025-OR |  | each | 50 | 0 | 0 | 25 | 0 | 0
131 | CAT 6A 10GB CORD 50-FOOT ORANGE | Allen Tel | ATG1050-OR |  | each | 50 | 0 | 0 | 25 | 0 | 0
132 | 1G Ultraflex patch cord, Blue, 1 foot | Leviton | 6H460-01L |  | each | 100 | 0 | 0 | 800 | 0 | 0
133 | Cat6 patch cable, Blue, Slimline snagless boot, UL or ETL Verified, 5 feet | Leviton | 6D460-05L |  | each | 100 | 0 | 0 | 800 | 0 | 0
134 | Cat6 patch cable, Blue, Slimline snagless boot, UL or ETL Verified, 10 feet | Leviton | 6D460-10L |  | each | 300 | 0 | 0 | 200 | 0 | 0
135 | Cat6 patch cable, Blue, Slimline snagless boot, UL or ETL Verified, 15 feet | Leviton | 6D460-15L |  | each | 300 | 0 | 0 | 200 | 0 | 0
136 | Cat6 patch cable, Blue, Slimline snagless boot, UL or ETL Verified, 20 feet | Leviton | 6D460-20L |  | each | 50 | 0 | 0 | 25 | 0 | 0
137 | Cat6 patch cable, Blue, Slimline snagless boot, UL or ETL Verified, 25 feet | Leviton | 6D460-25L |  | each | 50 | 0 | 0 | 50 | 0 | 0
138 | Cat6 patch cable, Blue, Slimline snagless boot, UL or ETL Verified, 30 feet | Leviton | 6D460-30L |  | each | 100 | 0 | 0 | 100 | 0 | 0
139 | Cat6 patch cable, Blue, Slimline snagless boot, UL or ETL Verified, 50 feet | Leviton | 6D460-50L |  | each | 1000 | 0 | 0 | 800 | 0 | 0
140 | 1G Ultraflex patch cord, Yellow, 1 foot | Leviton | 6H460-01Y |  | each | 1000 | 0 | 0 | 800 | 0 | 0
141 | Cat6 patch cable, Yellow, Slimline snagless boot, UL or ETL Verified, 5 feet | Leviton | 6D460-05Y |  | each | 300 | 0 | 0 | 200 | 0 | 0
142 | Cat6 patch cable, Yellow, Slimline snagless boot, UL or ETL Verified, 10 feet | Leviton | 6D460-10Y |  | each | 300 | 0 | 0 | 200 | 0 | 0
143 | Cat6 patch cable, Yellow, Slimline snagless boot, UL or ETL Verified, 15 feet | Leviton | 6D460-15Y |  | each | 50 | 0 | 0 | 25 | 0 | 0
144 | Cat6 patch cable, Yellow, Slimline snagless boot, UL or ETL Verified, 20 feet | Leviton | 6D460-20Y |  | each | 300 | 0 | 0 | 200 | 0 | 0
145 | Cat6 patch cable, Yellow, Slimline snagless boot, UL or ETL Verified, 25 feet | Leviton | 6D460-25Y |  | each | 300 | 0 | 0 | 200 | 0 | 0
146 | Cat6 patch cable, Yellow, Slimline snagless boot, UL or ETL Verified, 30 feet | Leviton | 6D460-30Y |  | each | 300 | 0 | 0 | 200 | 0 | 0
147 | Cat6 patch cable, Yellow, Slimline snagless boot, UL or ETL Verified, 50 feet | Leviton | 6D460-50Y |  | each | 300 | 0 | 0 | 200 | 0 | 0
148 | 1G Ultraflex patch cord, Green, 1 foot | Leviton | 6D460-01G |  | each | 300 | 0 | 0 | 200 | 0 | 0
149 | Cat6 patch cable, Green, Slimline snagless boot, UL or ETL Verified, 5 feet | Leviton | 6D460-05G |  | each | 300 | 0 | 0 | 200 | 0 | 0
150 | Cat6 patch cable, Green, Slimline snagless boot, UL or ETL Verified, 10 feet | Leviton | 6D460-10G |  | each | 300 | 0 | 0 | 200 | 0 | 0
151 | Cat6 patch cable, Green, Slimline snagless boot, UL or ETL Verified, 15 feet | Leviton | 6D460-15G |  | each | 300 | 0 | 0 | 200 | 0 | 0
152 | Cat6 patch cable, Green, Slimline snagless boot, UL or ETL Verified, 20 feet | Leviton | 6D460-20G |  | each | 300 | 0 | 0 | 200 | 0 | 0
153 | Cat6 patch cable, Green, Slimline snagless boot, UL or ETL Verified, 25 feet | Leviton | 6D460-25G |  | each | 300 | 0 | 0 | 200 | 0 | 0
154 | Cat6 patch cable, Green, Slimline snagless boot, UL or ETL Verified, 30 feet | Leviton | 6D460-30G |  | each | 300 | 0 | 0 | 200 | 0 | 0
155 | Cat6 patch cable, Green, Slimline snagless boot, UL or ETL Verified, 50 feet | Leviton | 6D460-50G |  | each | 300 | 0 | 0 | 200 | 0 | 0
156 | Cat6 patch cable, White, Slimline snagless boot, UL or ETL Verified, 5 feet | Leviton | 6D460-5W |  | each | 100 | 0 | 0 | 100 | 0 | 0
157 | cat6 patch cable, White, Slimline snagless boot, UL or ETL Verified, 10 feet | Leviton | 6D460-10W |  | each | 100 | 0 | 0 | 100 | 0 | 0
158 | Cat6 patch cable, White, Slimline snagless boot, UL or ETL Verified, 15 feet | Leviton | 6D460-15W |  | each | 100 | 0 | 0 | 100 | 0 | 0
159 | Cat6 patch cable, White, Slimline snagless boot, UL or ETL Verified, 20 feet | Leviton | 6D460-20W |  | each | 100 | 0 | 0 | 100 | 0 | 0
160 | Cat6 patch cable, White, Slimline snagless boot, UL or ETL Verified, 25 feet | Leviton | 6D460-25W |  | each | 100 | 0 | 0 | 100 | 0 | 0
161 | Cat6 patch cable, White, Slimline snagless boot, UL or ETL Verified, 30 feet | Leviton | 6D460-30W |  | each | 100 | 0 | 0 | 50 | 0 | 0
162 | Cat6 patch cable, White, Slimline snagless boot, UL or ETL Verified, 50 feet | Leviton | 6D460-50W |  | each | 100 | 0 | 0 | 50 | 0 | 0
163 | Cat6 patch cable, Black, Slimline snagless boot, UL or ETL Verified, 5 feet | Leviton | 6D460-5E |  | each | 100 | 0 | 0 | 50 | 0 | 0
164 | Cat6 patch cable, Black, Slimline snagless boot, UL or ETL Verified, 10 feet | Leviton | 6D460-10E |  | each | 100 | 0 | 0 | 50 | 0 | 0
165 | Cat6 patch cable, Black, Slimline snagless boot, UL or ETL Verified, 15 feet | Leviton | 6D460-15E |  | each | 100 | 0 | 0 | 50 | 0 | 0
166 | Cat6 patch cable, Black, Slimline snagless boot, UL or ETL Verified, 20 feet | Leviton | 6D460-20E |  | each | 100 | 0 | 0 | 50 | 0 | 0
167 | Cat6 patch cable, Black, Slimline snagless boot, UL or ETL Verified, 25 feet | Leviton | 6D460-25E |  | each | 100 | 0 | 0 | 50 | 0 | 0
168 | Cat6 patch cable, Black, Slimline snagless boot, UL or ETL Verified, 30 feet | Leviton | 6D460-30E |  | each | 100 | 0 | 0 | 50 | 0 | 0
169 | Cat6 patch cable, Black, Slimline snagless boot, UL or ETL Verified, 50 feet | Leviton | 6D460-50E |  | each | 100 | 0 | 0 | 50 | 0 | 0
170 | Cat6 patch cable, Orange, ETL Verified, 1 foot | Allen Tel | AT1601-OR |  | each | 100 | 0 | 0 | 50 | 0 | 0
171 | Cat6 patch cable, Orange, ETL Verified, 3 feet | Allen Tel | AT1603-OR |  | each | 100 | 0 | 0 | 50 | 0 | 0
172 | Cat6 patch cable, Orange, ETL Verified, 5 feet | Allen Tel | AT1605-OR |  | each | 100 | 0 | 0 | 50 | 0 | 0
173 | Cat6 patch cable, Orange, ETL Verified, 10 feet | Allen Tel | AT1610-OR |  | each | 100 | 0 | 0 | 50 | 0 | 0
174 | Cat6 patch cable, Orange, ETL Verified, 15 feet | Allen Tel | AT1615-OR |  | each | 100 | 0 | 0 | 50 | 0 | 0
175 | Cat6 patch cable, Orange, ETL Verified, 20 feet | Allen Tel | AT1620-OR |  | each | 100 | 0 | 0 | 50 | 0 | 0
176 | Cat6 patch cable, Orange, ETL Verified, 25 feet | Allen Tel | AT1625-OR |  | each | 100 | 0 | 0 | 50 | 0 | 0
177 | Cat6 patch cable, Orange, ETL Verified, 50 feet | Allen Tel | AT1650-OR |  | each | 5 | 0 | 0 | 5 | 0 | 0
178 | Extreme Cat6 High Flex Patch Cord 3 feet, Green | Leviton | 6H460-03G |  | each | 5 | 0 | 0 | 5 | 0 | 0
179 | Extreme Cat6 High Flex Patch Cord 5 feet, Green | Leviton | 6H460-05G |  | each | 5 | 0 | 0 | 5 | 0 | 0
180 | Extreme Cat6 High Flex Patch Cord 10 feet, Green | Leviton | 6H460-10G |  | each | 5 | 0 | 0 | 5 | 0 | 0
181 | Extreme Cat6 High Flex Patch Cord 15 feet, Green | Leviton | 6H460-15G |  | each | 5 | 0 | 0 | 5 | 0 | 0
182 | Extreme Cat6 High Flex Patch Cord 20 feet, Green | Leviton | 6H460-20G |  | each | 5 | 0 | 0 | 5 | 0 | 0
183 | Extreme Cat6 High Flex Patch Cord 30 feet, Green | Leviton | 6H460-30G |  | each | 100 | 0 | 0 | 50 | 0 | 0
184 | Extreme Cat6 High Flex Patch Cord 50 feet, Green | Leviton | 6H460-50G |  | each | 100 | 0 | 0 | 50 | 0 | 0
185 | Extreme Cat6 High Flex Patch Cord 3 feet, Blue | Leviton | 6H460-03L |  | each | 100 | 0 | 0 | 50 | 0 | 0
186 | Extreme Cat6 High Flex Patch Cord 5 feet, Blue | Leviton | 6H460-05L |  | each | 100 | 0 | 0 | 50 | 0 | 0
187 | Extreme Cat6 High Flex Patch Cord 10 feet, Blue | Leviton | 6H460-10L |  | each | 100 | 0 | 0 | 50 | 0 | 0
188 | Extreme Cat6 High Flex Patch Cord 15 feet, Blue | Leviton | 6H460-15L |  | each | 100 | 0 | 0 | 50 | 0 | 0
189 | Extreme Cat6 High Flex Patch Cord 20 feet, Blue | Leviton | 6H460-20L |  | each | 100 | 0 | 0 | 50 | 0 | 0
190 | Extreme Cat6 High Flex Patch Cord 30 feet, Blue | Leviton | 6H460-30L |  | each | 100 | 0 | 0 | 50 | 0 | 0
191 | Extreme Cat6 High Flex Patch Cord 50 feet, Blue | Leviton | 6H460-50L |  | each | 100 | 0 | 0 | 50 | 0 | 0
192 | Extreme Cat6 High Flex Patch Cord 3 feet, Yellow | Leviton | 6H460-03Y |  | each | 100 | 0 | 0 | 50 | 0 | 0
193 | Extreme Cat6 High Flex Patch Cord 5 feet, Yellow | Leviton | 6H460-05Y |  | each | 100 | 0 | 0 | 50 | 0 | 0
194 | Extreme Cat6 High Flex Patch Cord 10 feet, Yellow | Leviton | 6H460-10Y |  | each | 100 | 0 | 0 | 50 | 0 | 0
195 | Extreme Cat6 High Flex Patch Cord 15 feet, Yellow | Leviton | 6H460-15Y |  | each | 100 | 0 | 0 | 50 | 0 | 0
196 | Extreme Cat6 High Flex Patch Cord 20 feet, Yellow | Leviton | 6H460-20Y |  | each | 100 | 0 | 0 | 50 | 0 | 0
197 | Extreme Cat6 High Flex Patch Cord 30 feet, Yellow | Leviton | 6H460-30Y |  | each | 100 | 0 | 0 | 50 | 0 | 0
198 | Extreme Cat6 High Flex Patch Cord 50 feet, Yellow | Leviton | 6H460-50Y |  | each | 100 | 0 | 0 | 50 | 0 | 0
199 | QuickPort In-Ceiling Bracket with Drop Ceiling Clip | Leviton | 49223-CBC |  | each | 100 | 0 | 0 | 50 | 0 | 0
200 | Duplex receptacle single-gang wallplate (1duplex), nylon, ivory | Leviton | 80703-00I |  | each | 50 | 0 | 0 | 50 | 0 | 0
201 | QuickPort wallplate, 2-port, ABS plastic, fire-retardant material rated UL 94V-0, single-gang, ivory | Leviton | 41080-2IP |  | each | 10 | 0 | 0 | 20 | 0 | 0
202 | QuickPort wallplate, 4-port, ABS plastic, fire-retardant material rated UL 94V-0, single-gang, ivory | Leviton | 41080-4IP |  | each | 5 | 0 | 0 | 5 | 0 | 0
203 | QuickPort wallplate, 6-port, ABS plastic, fire-retardant material rated UL 94V-0, single-gang, ivory | Leviton | 41080-6IP |  | each | 5 | 0 | 0 | 5 | 0 | 0
204 | QuickPort wallplate, 4-port, ABS plastic, fire-retardant material rated UL 94V-0, double-gang, ivory | Leviton | 42080-4IP |  | each | 20 | 0 | 0 | 10 | 0 | 0
205 | QuickPort wallplate, 6-port, ABS plastic, fire-retardant material rated UL 94V-0, double-gang, ivory | Leviton | 42080-6IP |  | each | 10 | 0 | 0 | 10 | 0 | 0
206 | QuickPort wallplate, 8-port, ABS plastic fire-retardant material rated UL 94V-0, double-gang, ivory | Leviton | 42080-8IP |  | each | 10 | 0 | 0 | 10 | 0 | 0
207 | QuickPort 2 port Angled Single-Gang, Ivory | Leviton | 41081-2IP |  | each | 10 | 0 | 0 | 10 | 0 | 0
208 | QuickPort 4 port Angled Single-Gang, Ivory | Leviton | 41081-4IP |  | each | 10 | 0 | 0 | 10 | 0 | 0
209 | QuickPort wallplate, 2-port, ABS plastic, fire-retardant material rated UL 94V-0, single-gang, WHITE | Leviton | 41080-2WP |  | each | 10 | 0 | 0 | 20 | 0 | 0
210 | QuickPort wallplate, 4-port, ABS plastic, fire-retardant material rated UL 94V-0, single-gang, WHITE | Leviton | 41080-4WP |  | each | 5 | 0 | 0 | 5 | 0 | 0
211 | QuickPort wallplate, 6-port, ABS plastic, fire-retardant material rated UL 94V-0, single-gang, WHITE | Leviton | 41080-6WP |  | each | 5 | 0 | 0 | 5 | 0 | 0
212 | QuickPort wallplate, 4-port, ABS plastic, fire-retardant material rated UL 94V-0, double-gang, WHITE | Leviton | 42080-4WP |  | each | 20 | 0 | 0 | 10 | 0 | 0
213 | QuickPort wallplate, 6-port, ABS plastic, fire-retardant material rated UL 94V-0, double-gang, WHITE | Leviton | 42080-6WP |  | each | 10 | 0 | 0 | 10 | 0 | 0
214 | QuickPort wallplate, 8-port, ABS plastic fire-retardant material rated UL 94V-0, double-gang, WHITE | Leviton | 42080-8WP |  | each | 10 | 0 | 0 | 10 | 0 | 0
215 | Blank single-gang wallplate, ABS plastic fire-retardant material rated UL 94V-0 | Leviton | 86014 |  | each | 10 | 0 | 0 | 10 | 0 | 0
216 | Blank double gang wallplate, ABS plastic, fire-retardant material rated UL 94V-0 | Leviton | 86025 |  | each | 10 | 0 | 0 | 10 | 0 | 0
217 | 2 Port Surface mount box (Biscuit) | Leviton | 41089-2IP |  | each | 10 | 0 | 0 | 10 | 0 | 0
218 | Duplex double-gang, nylon faceplate | Leviton | 80716-00I |  | each | 10 | 0 | 0 | 10 | 0 | 0
219 | Duplex 106, 2-hole adapter | Leviton | 41087-2IP |  | each | 10 | 0 | 0 | 10 | 0 | 0
220 | Duplex 106, quad adapter | Leviton | 41087-QIP |  | each | 10 | 0 | 0 | 10 | 0 | 0
221 | Duraport Industrial Outlet Kit, stainless steel, 1-port, single-gang | Leviton | D670K-1S1 |  | each | 50 | 0 | 0 | 40 | 0 | 0
222 | Duraport Industrial Outlet Kit, stainless steel, 2-port, single-gang | Leviton | D670K-1S2 |  | each | 50 | 0 | 0 | 40 | 0 | 0
223 | Duraport Industrial Outlet Kit, stainless steel, 2-port, dual-gang | Leviton | D670K-2S2 |  | each | 30 | 0 | 0 | 20 | 0 | 0
224 | F-Connector Insert for Quickport Modules | Leviton | 41084-FIF |  | each | 30 | 0 | 0 | 20 | 0 | 0
225 | Blank insert, 10 per pack, Ivory | Leviton | 41084-BI |  | Pack | 30 | 0 | 0 | 20 | 0 | 0
226 | velcro tie wrap, 75 feet by 1/2 inch, black | Leviton | 43115-075 |  | each | 50 | 0 | 0 | 50 | 0 | 0
227 | Storage Rings, inside plant, 11.75 inch diameter | Leviton | 48900-IFR |  | each | 20 | 0 | 0 | 20 | 0 | 0
228 | Storage Rings, Outside plant, 24.00 inch diameter | Leviton | 48900-OFR |  | each | 60 | 0 | 0 | 30 | 0 | 0
229 | 62.5 OM1 Fiber Jumper, SC-LC, 2 meters | Leviton | 62DCL-M02 |  | each | 60 | 0 | 0 | 30 | 0 | 0
230 | 62.5 OM1 Fiber Jumper, SC-LC, 5 meters | Leviton | 62DCL-M05 |  | each | 100 | 0 | 0 | 100 | 0 | 0
231 | 62.5 OM1 Fiber Jumper, SC-LC, 10 meters | Leviton | 62DCL-M10 |  | each | 100 | 0 | 0 | 100 | 0 | 0
232 | PREMIUM PLUS FIBER PATCH CORD, OM1 ORANGE, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, ST, 2 METERS, A-B | Leviton | PCF-M1PD1RA-0020MAB |  | each | 40 | 0 | 0 | 30 | 0 | 0
233 | PREMIUM PLUS FIBER PATCH CORD, OM1 ORANGE, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, ST, 5 METERS, A-B | Leviton | PCF-M1PD1RA-0050MAB |  | each | 40 | 0 | 0 | 30 | 0 | 0
234 | PREMIUM PLUS FIBER PATCH CORD, OM1 ORANGE, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, ST, 10 METERS, A-B | Leviton | PCF-M1PD1RA-0100MAB |  | each | 50 | 0 | 0 | 20 | 0 | 0
235 | PREMIUM PLUS FIBER PATCH CORD, OM1 ORANGE, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, SC, 2 METERS, A-B | Leviton | PCF-M1PD1RQ-0020MAB |  | each | 50 | 0 | 0 | 20 | 0 | 0
236 | PREMIUM PLUS FIBER PATCH CORD, OM1 ORANGE, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, SC, 3 METERS, A-B | Leviton | PCF-M1PD1RQ-0030MAB |  | each | 50 | 0 | 0 | 50 | 0 | 0
237 | PREMIUM PLUS FIBER PATCH CORD, OM1 ORANGE, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, SC, 5 METERS, A-B | Leviton | PCF-M1PD1RQ-0050MAB |  | each | 50 | 0 | 0 | 50 | 0 | 0
238 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, SC, 3 METERS, A-B | Leviton | PCF-S2PD1RQ-0030MAB |  | each | 30 | 0 | 0 | 20 | 0 | 0
239 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, SC, 5 METERS, A-B | Leviton | PCF-S2PD1RQ-0050MAB |  | each | 30 | 0 | 0 | 20 | 0 | 0
240 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, SC, 10 METERS, A-B | Leviton | PCF-S2PD1RQ-0100MAB |  | each | 30 | 0 | 0 | 20 | 0 | 0
241 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, SC, 20 METERS, A-B | Leviton | PCF-S2PD1RQ-0200MAB |  | each | 20 | 0 | 0 | 20 | 0 | 0
242 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, SC, 30 METERS, A-B | Leviton | PCF-S2PD1RQ-0300MAB |  | each | 20 | 0 | 0 | 20 | 0 | 0
243 | Singlemode Fiber Jumper, SC-SC, 1 meter | Leviton | UPDSC-S01 |  | each | 20 | 0 | 0 | 20 | 0 | 0
244 | Singlemode Fiber Jumper, SC-SC, 3 meters | Leviton | UPDSC-S03 |  | each | 20 | 0 | 0 | 20 | 0 | 0
245 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUPLEX ROUND, LC, LC, 1 METERS, A-B | Leviton | PCF-S2PR2VV-0010MAB |  | each | 20 | 0 | 0 | 20 | 0 | 0
246 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUPLEX ROUND, LC, LC, 3 METERS, A-B | Leviton | PCF-S2PR2VV-0030MAB |  | each | 20 | 0 | 0 | 10 | 0 | 0
247 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUPLEX ROUND, LC, LC, 5 METERS, A-B | Leviton | PCF-S2PR2VV-0050MAB |  | each | 20 | 0 | 0 | 10 | 0 | 0
248 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUPLEX ROUND, LC, LC, 10 METERS, A-B | Leviton | PCF-S2PR2VV-0100MAB |  | each | 20 | 0 | 0 | 10 | 0 | 0
249 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUPLEX ROUND, LC, LC, 15 METERS, A-B | Leviton | PCF-S2PR2VV-0150MAB |  | each | 20 | 0 | 0 | 10 | 0 | 0
250 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUPLEX ROUND, LC, LC, 20 METERS, A-B | Leviton | PCF-S2PR2VV-0200MAB |  | each | 20 | 0 | 0 | 10 | 0 | 0
251 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUPLEX ROUND, LC, LC, 25 METERS, A-B | Leviton | PCF-S2PR2VV-0250MAB |  | each | 20 | 0 | 0 | 10 | 0 | 0
252 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, DUPLEX ROUND, LC, LC, 30 METERS, A-B | Leviton | PCF-S2PR2VV-0300MAB |  | each | 20 | 0 | 0 | 10 | 0 | 0
253 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, SIMPLEX 2.0 MILLIMETERS, LC, LC, 1 METER | Leviton | PCF-S2PS2RR-0010M |  | each | 20 | 0 | 0 | 10 | 0 | 0
254 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, SIMPLEX 2.0 MILLIMETERS, LC, LC, 2 METERS | Leviton | PCF-S2PS2RR-0020M |  | each | 20 | 0 | 0 | 10 | 0 | 0
255 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, SIMPLEX 2.0 MILLIMETERS, LC, LC, 3 METERS | Leviton | PCF-S2PS2RR-0030M |  | each | 50 | 0 | 0 | 30 | 0 | 0
256 | PREMIUM PLUS FIBER PATCH CORD, OS2 YELLOW, PLENUM, SIMPLEX 2.0 MILIMETERS, LC, LC, 5 METERS | Leviton | PCF-S2PS2RR-0050M |  | each | 50 | 0 | 0 | 30 | 0 | 0
257 | 50 micron Multi Mode OM4 LC-LC 1 Meter Patch Cable | Leviton | 54DLC-M01 |  | each | 50 | 0 | 0 | 30 | 0 | 0
258 | 50 micron Multi Mode OM4 LC-LC 2 Meters Patch Cable | Leviton | 54DLC-M02 |  | each | 50 | 0 | 0 | 30 | 0 | 0
259 | 50 micron Multi Mode OM4 LC-LC 3 Meters Patch Cable | Leviton | 54DLC-M03 |  | each | 50 | 0 | 0 | 30 | 0 | 0
260 | 50 micron Multi Mode OM4 LC-LC 5 Meters Patch Cable | Leviton | 54DLC-M05 |  | each | 50 | 0 | 0 | 30 | 0 | 0
261 | 50 micron Multi Mode OM4 LC-LC 7 Meters Patch Cable | Leviton | 54DLC-M07 |  | each | 20 | 0 | 0 | 30 | 0 | 0
262 | 50 micron Multi Mode OM4 LC-LC 10 Meters Patch Cable | Leviton | 54DLC-M10 |  | each | 50 | 0 | 0 | 30 | 0 | 0
263 | 50 micron Multi Mode OM4 LC-LC 15 Meters Patch Cable | Leviton | 54DLC-M15 |  | each | 50 | 0 | 0 | 30 | 0 | 0
264 | PREMIUM PLUS FIBER PATCH CORD, OM4 AQUA, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, LC, 20 METERS, A-B | Leviton | PCF-M4PD1RR-0200MAB |  | each | 50 | 0 | 0 | 30 | 0 | 0
265 | PREMIUM PLUS FIBER PATCH CORD, OM4 AQUA, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, LC, 25 METERS, A-B | Leviton | PCF-M4PD1RR-0250MAB |  | each | 50 | 0 | 0 | 30 | 0 | 0
266 | PREMIUM PLUS FIBER PATCH CORD, OM4 AQUA, PLENUM, DUP-ZIP 1.6 MILLIMETERS, LC, LC, 30 METERS, A-B | Leviton | PCF-M4PD1RR-0300MAB |  | each | 50 | 0 | 0 | 50 | 0 | 0
267 | Wall mount bracket, 19 inches (to "hang" mount up to 3RMU of equipment flush to the wall) | Chatsworth | 11583-719 |  | each | 50 | 0 | 0 | 50 | 0 | 0
268 | Wall mount bracket, 19 inches (to "hang" mount up to 6RMU of equipment flush to the wall) | Chatsworth | 11754-719 |  | each | 10 | 0 | 0 | 20 | 0 | 0
269 | Adjustable Equipment 4 Post Rack, 7 feet 45RMU, Black Uses 12-24 threaded | Chatsworth | 15217-703 |  | each | 5 | 0 | 0 | 5 | 0 | 0
270 | Adjustable SERVER 4 Post Rack, 7 feet 45RMU, Black USES Cage Nuts | Chatsworth | 15213-703 |  | each | 5 | 0 | 0 | 5 | 0 | 0
271 | Verticle cable manager, single sided 7 feet tall with 6 inches by 9.8 inches depth, Black | Chatsworth | 13902-703 |  | each | 20 | 0 | 0 | 10 | 0 | 0
272 | Rack Mount ground bar 19 inch Width, Copper | Chatsworth | 10610-019 |  | each | 10 | 0 | 0 | 10 | 0 | 0
273 | 9 feet Green Jumper | Chatsworth | 40159-009 |  | each | 10 | 0 | 0 | 10 | 0 | 0
274 | Two hole Ground Terminal block, Tin Electroplated aluminum | Chatsworth | 40167-001 |  | each | 10 | 0 | 0 | 10 | 0 | 0
275 | PDU 20A , 120V, Verticle 14 5-20R, surge, 5-20P input, 8 foot cord, with mounting brackets | Chatsworth | 12850-706 |  | each | 10 | 0 | 0 | 10 | 0 | 0
276 | Combination Pan Head Pilot point Mounting Screws, 12-24, Black. 50 Pack | Chatsworth | 40605-005 |  | each | 10 | 0 | 0 | 10 | 0 | 0
277 | Cage Nut - M6 pack of 20 | Chatsworth | 16346-001 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
278 | Cage Nut - 10-32 pack of 20 | Chatsworth | 16347-001 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
279 | Click-Nut - Cage Nut - Black Zinc Finish 12-24 threaded 25 Pack | Chatsworth | 76544-701 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
280 | Click-Nut - Cage Nut - Black Zinc Finish 12-24 threaded 250 Pack | Chatsworth | 76544-702 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
281 | Click-Nut - Cage Nut - Black Zinc Finish M6 threaded 25 Pack | Chatsworth | 76543-701 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
282 | Click-Nut - Cage Nut - Black Zinc Finish M6 threaded 250 Pack | Chatsworth | 76543-702 |  | pack | 50 | 0 | 0 | 40 | 0 | 0
283 | Tool-Less Mounting Bracket Kit for PDUs | Chatsworth | 35700-701 |  | each | 50 | 0 | 0 | 40 | 0 | 0
284 | Fixed wall mount equipment rack 19 inches Width by 24.5 inches Height by 18 inches Depth: Black | Chatsworth | 11960-718 |  | each | 30 | 0 | 0 | 20 | 0 | 0
285 | 10 inch deep shelf: 19 inches Width by 2.19 inches Height by 1 inch Depth: Black: Non Vented. | Chatsworth | 12291-701 |  | each | 30 | 0 | 0 | 20 | 0 | 0
286 | SmartRack 24U Mid-Depth Half-Height Rack Enclosure Cabinet with Casters | Eaton/TrippLite | SR24UB |  | each | 5 | 0 | 0 | 5 | 0 | 0
287 | Tripp Lite series 1.9kW Single-Phase Local Metered Automatic Transfer Switch PDU, 2 120V L5-20P/5-20P Inputs, 16 5-15/20R Outputs, 1U, TAA | Eaton/TrippLite | PDUMH20AT |  | each | 10 | 0 | 0 | 10 | 0 | 0
288 | Power Extension Cord, NEMA L6-30P to NEMA L6-30R - Heavy-Duty, 30A, 250V, 10 AWG, 8 foot (2.43 meters), Black | Eaton/TrippLite | P041-008 |  | each | 5 | 0 | 0 | 5 | 0 | 0
289 | 2400W 120V 3U Rack-Mount Power Conditioner with Automatic Voltage Regulation (AVR), AC Surge Protection, 14 Outlets, TAA | Eaton/TrippLite | LCR2400 |  | each | 5 | 0 | 0 | 5 | 0 | 0
290 | Distribution Ring, Die Cast Aluminum, 4 7/8 inches by 1 7/8 inches by 3 1/8 inches by 2 3/4 inches | Allen Tel | GB13A |  | each | 50 | 0 | 0 | 50 | 0 | 0
291 | Distribution Ring, Die Cast Aluminum, 6 1/8 inches by 3 1/8 inches by 4 3/8 inches by 3 3/4 inches | Allen Tel | GB13B |  | each | 50 | 0 | 0 | 50 | 0 | 0
292 | Distribution Ring, Die Cast Aluminum, 8 1/8 inches by 5 1/8 inches by 6 3/8 inches by 3 3/4 inches | Allen Tel | GB13C |  | each | 50 | 0 | 0 | 30 | 0 | 0
293 | ClearGlide Wire Pulling Lubricant, clear and colorless, non-toxic, non-flammable, non-corrosive, 1 gallon bucket | Ideal | 31-381 |  | each | 50 | 0 | 0 | 30 | 0 | 0
294 | Pull line | Green Lee | 430G |  | each | 50 | 0 | 0 | 30 | 0 | 0
295 | 8 inch Cable Ties, package of 1000, 8 inches, white | Burndy | CT50175M |  | each | 50 | 0 | 0 | 30 | 0 | 0
296 | 7.5 inch Cable Ties, package of 1000, 8 inches, BLACK | Burndy | CT50175MO |  | each | 50 | 0 | 0 | 30 | 0 | 0
297 | Cable Tie Mount Nylon 100 pack | Panduit | HVTM-06-C0 |  | each | 50 | 0 | 0 | 30 | 0 | 0
298 | Duct Seal, permanently soft, non-toxic,1 pound block | Ideal Bridgeport | 31-601 DS-100 |  | each | 50 | 0 | 0 | 30 | 0 | 0
299 | Duct Seal, permanently soft, non-toxic, 5 pound block | Ideal Bridgeport | 31-605 DS-500 |  | each | 50 | 0 | 0 | 50 | 0 | 0
300 | Blue Adjustable Blade Ringer Cable Stripper | Ideal | 45-163 |  | each | 50 | 0 | 0 | 50 | 0 | 0
301 | 1 inch Fire Stop Sleeve Kit | Hilti STI | 2177231 FS100 |  | each | 50 | 0 | 0 | 30 | 0 | 0
302 | 2 inch Retrofit Fire Stop Sleeve kit | Hilti STI | 2064089 FSR200 |  | each | 50 | 0 | 0 | 30 | 0 | 0
303 | Duct Seal, Dark Gray Putty, Size: 5 pound Block, Specific Gravity: 1.65, Base Content: Butyl Rubber Composite | Ideal | 31-605 |  | each | 50 | 0 | 0 | 30 | 0 | 0
304 | SSB Intumescent fire stop putty in 36 cubic inch tube, highly adhesive and non-hardening. | Specified Technologies | SSP100 |  | each | 50 | 0 | 0 | 30 | 0 | 0
305 | Extra Strength Adhesive Labeling Tape, 1/4 inch by 26.2 feet, black print on white tape | Brother | TZe-S211 |  | each | 50 | 0 | 0 | 30 | 0 | 0
306 | Extra Strength Adhesive Labeling Tape, 3/8 inch by 26.2 feet, black print on white tape | Brother | TZe-S221 |  | each | 50 | 0 | 0 | 30 | 0 | 0
307 | Extra Strength Adhesive Labeling Tape, 3/8 inch by 26.2 feet, black print on clear tape | Brother | TZe-S121 |  | each | 50 | 0 | 0 | 20 | 0 | 0
308 | Extra Strength Adhesive Labeling Tape, 1 inch by 26.2 feet, black print on white tape | Brother | TZe-S251 |  | each | 50 | 0 | 0 | 20 | 0 | 0
309 | Extra Strength Adhesive Labeling Tape, 1 inch by 26.2 feet, black print on Yellow tape | Brother | Tze-S651 |  | each | 50 | 0 | 0 | 30 | 0 | 0
310 | 12 millimeters (0.47 inch) Red on White tape for P-Touch 8 meters (26.2 feet) | Brother | TZe-232 |  | each | 50 | 0 | 0 | 30 | 0 | 0
311 | 24 millimeters (0.94 inch) Red on White tape for P-Touch 8 meters (26.2 feet) | Brother | TZe-252 |  | each | 50 | 0 | 0 | 30 | 0 | 0
312 | Brother P-touch TZE 1 inch Black Print on White Flexible ID label tape | Brother | TZEFX251 |  | each | 25 | 0 | 0 | 20 | 0 | 0
313 | Self-Laminating Fiber Optic Cable Marker Tag, 3.5 inches by 2 inches, Yellow with Black text | Panduit | PST-FO |  | each | 50 | 0 | 0 | 30 | 0 | 0
314 | White Self Laminating Label 1.00 inch by 1.50 inch (25.4 millimeters by 38.1 millimeters) | Panduit | S100X150VAC |  | each | 50 | 0 | 0 | 30 | 0 | 0
315 | Laser printer compatible White Self Laminating Label 1.00 inch by 1.50 inch (25.4 millimeters by 38.1 millimeters) 2500 labels | Panduit | S100X150YAJ |  | pack | 50 | 0 | 0 | 30 | 0 | 0
316 | RG-6 coaxial cable, Series 6, 18 AWG solid .040 inch bare copper-covered steel conductor(s), gas-injected foam polyethylene insulation, Duobond Plus® + aluminum braid shield (75 percent coverage), PVC jacket, 1000 feet box | Belden | 9058 0101000 |  | each | 20 | 0 | 0 | 20 | 0 | 0
317 | Connector, Snap-N-Seal Universal F Male, for standard or quad-shield RG11 Cable | Belden | 716SNS1P11HQ-25 |  | pack | 20 | 0 | 0 | 50 | 0 | 0
318 | 25-pair Solid 24AWG, Air Core Qualpeth Sheath, REA PE-22 AL | Superior Essex | 01-097-40 |  | foot | 1000 | 0 | 0 | 1000 | 0 | 0
319 | 66 Punchdown Block (25-pair), Cat5 Compliant | Siemon | S66M1-50 |  | each | 10 | 0 | 0 | 10 | 0 | 0
320 | 66 Standoff Bracket | Siemon | S89-B |  | each | 10 | 0 | 0 | 10 | 0 | 0
321 | 66 Clear Plastic Cover | Siemon | MC4 |  | each | 10 | 0 | 0 | 10 | 0 | 0
322 | 66 Punchdown Block (12-pair) | Siemon | S66M4-24 |  | each | 10 | 0 | 0 | 10 | 0 | 0
323 | 66 Standoff Bracket | Siemon | S89E |  | each | 20 | 0 | 0 | 50 | 0 | 0
324 | 66 Clear Plastic Cover | Siemon | MC425 |  | each | 20 | 0 | 0 | 50 | 0 | 0
325 | Bridging Clips (100 per bag) | Siemon | SA-1-100 |  | each | 20 | 0 | 0 | 50 | 0 | 0
326 | 25-pair protector panel, 66 block input-output with cover and removable splice chamber | Circa | 1890ECT1-25 |  | each | 10 | 0 | 0 | 5 | 0 | 0
327 | 5-pin solid state protection module with PTC (positive temperature coefficient) technology, 300VDC (DC voltage breakover) | Circa | 4B1S-300 |  | each | 10 | 0 | 0 | 10 | 0 | 0
328 | Indoor Wall Mount PoE+ IP Loudspeaker Endpoint with Microphone and LCD Display CLOCK | Atlas | IP-SDM |  | each | 10 | 0 | 0 | 10 | 0 | 0
329 | Surface Mount Slanted Enclosure for IP-SDM | Atlas | IP-SEA-SD |  | each | 10 | 0 | 0 | 10 | 0 | 0
330 | Indoor and Outdoor High Output Horn PoE+ Vandal and Weather Resistant IP Endpoint | Atlas | IP-HVP |  | each | 10 | 0 | 0 | 10 | 0 | 0
331 | Surface Mount Straight Enclosure for IP-HVP | Atlas | IP-SEST-HVP |  | each | 10 | 0 | 0 | 10 | 0 | 0
332 | Atlas PoE+ Indoor Wall Mount IP Horn Loudspeaker with LCD | AtlasIED | IP-SDH |  | each | 10 | 0 | 0 | 10 | 0 | 0
333 | PoE+ Weather Resistant Constant Directivity IP Horn | AtlasIED | IP-APX |  | each | 10 | 0 | 0 | 10 | 0 | 0
334 | PoE+ Indoor 2 feet by 2 feet Suspended Ceiling Mount IP Speaker | AtlasIED | IP-22SYSM |  | each | 10 | 0 | 0 | 10 | 0 | 0
335 | Informacast IP Horn, Marine (white) 117 decibels Wall Mountable | Valcom | VIP-130AL-M-IC |  | each | 10 | 0 | 0 | 10 | 0 | 0
336 | Informacast IP Horn, Beige 117 decibels Wall Mountable | Valcom | VIP-130AL-BGE-IC |  | each | 10 | 0 | 0 | 10 | 0 | 0
337 | Free Fall Snip - Stainless Steel | Klein Tools | 2100-8 |  | each | 20 | 0 | 0 | 10 | 0 | 0
338 | Single Serrated Blade Blunt Shear | Klein Tools | 23015 |  | each | 10 | 0 | 0 | 10 | 0 | 0
339 | Punchdown Multi-Tool with 110/66 Blade and WorkEnds Kit | Klein Tools | VDV427-807 |  | each | 10 | 0 | 0 | 10 | 0 | 0
340 | Diagonal Cutting Pliers, Heavy-Duty, 8-Inch | Klein Tools | J2000-28 |  | each | 10 | 0 | 0 | 10 | 0 | 0
341 | Can Wrench, 3/8-Inch and 7/16-Inch Hex Nut | Klein Tools | 68005 |  | each | 10 | 0 | 0 | 10 | 0 | 0
342 | Booth Wrench 3 Inch Long Shaft 5/32 Inch hex security | Jonard Tools | BW-532-3 |  | each | 10 | 0 | 0 | 10 | 0 | 0
343 | Carbide Cutter 1 3/8 inch | Greenlee | 625-1-3/8 |  | each | 20 | 0 | 0 | 10 | 0 | 0
344 | Sheet metal Hole cutter 1.125 inch | Greenlee | 925-1-1/8 |  | each | 80 | 0 | 0 | 10 | 0 | 0
345 | Sheet metal Hole cutter 1 7/32 inch | Greenlee | 925-1-7/32 |  | each | 15 | 0 | 0 | 15 | 0 | 0
346 | 1 3/8 inch Multi-hole Kwik Stepper Step Bit | Greenlee | GSB12 |  | each | 20 | 0 | 0 | 10 | 0 | 0
347 | 1 1/8 inch Electricians Multi-hole Kwik Stepper Step Bit | Greenlee | GSB09 |  | each | 20 | 0 | 0 | 10 | 0 | 0
348 | 6-Piece Spade Bit Set, 3/8 inch - 1 inch | Greenlee | 33AR-6 |  | each | 5 | 0 | 0 | 2 | 0 | 0
349 | 6 by 5/32 Inch 44 Magnum™ 2-Cutter SDS-PLUS Bit | Milwaukee | 48-20-7401 |  | each | 10 | 0 | 0 | 10 | 0 | 0
350 | 6 by 3/16 Inch 44 Magnum™ 2-Cutter SDS-PLUS Bit | Milwaukee | 48-20-7411 |  | each | 20 | 0 | 0 | 20 | 0 | 0
351 | Wall Driller 50Pack | Dottie | WDK8W |  | each | 50 | 0 | 0 | 50 | 0 | 0
352 | Number 6 by 1 inch (WR61) Steel Drywall Screw 100 pieces | Dottie | WR61 |  | pack | 100 | 0 | 0 | 50 | 0 | 0
353 | Number 6 by 2 1/4 inch Steel Drywall Screw 100 pieces | Dottie | WR6214 |  | pack | 100 | 0 | 0 | 50 | 0 | 0
354 | Number 8 by 1 inch K-Lath Phillips Head Sheet Metal Screw 100 pieces | Dottie | KW81 |  | pack | 100 | 0 | 0 | 50 | 0 | 0
355 | Number 8 by 3/4 inch K-Lath Phillips Head Sheet Metal Screw 100 pieces | Dottie | KW834 |  | pack | 100 | 0 | 0 | 50 | 0 | 0
356 | 1/4 inch by 1 inch Steel Fender Flat Washer 100 pieces | Dottie | FENW141 |  | pack | 100 | 0 | 0 | 50 | 0 | 0
357 | 1/4 inch Steel Flat Washer 100 pieces | Dottie | FW14 |  | pack | 100 | 0 | 0 | 50 | 0 | 0
358 | 1/4 inch by 1 1/14 inch Flat Head Phillips Anchoring Concrete Screw 100 pieces | Dottie | 14P114 |  | pack | 40 | 0 | 0 | 30 | 0 | 0
359 | 1/4 inch by 2 3/4 inch Flat Head Phillips Anchoring Concrete Screw 100 pieces | Dottie | 14P234 |  | pack | 300 | 0 | 0 | 200 | 0 | 0
360 | 1/4 inch by 2 3/4 inch Slotted Hexagonal Head Anchoring Concrete Screw 100 pieces | Dottie | 14H234 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
361 | 1/4 inch by 1-1/4 inch Slotted Hex Washer Head Concrete Screw Anchor | Dottie | 14H114 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
362 | #8-#10-#12 Yellow Wing Conical Plastic Anchor 100pack | Dottie | 122 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
363 | Tapered Plastic Screw Anchor with Wing 100 pieces | Dottie | 121 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
364 | Number 6-8-10 Tapered Anchors with Collar - Red 100 pieces | Dottie | 21 |  | pack | 10 | 0 | 0 | 10 | 0 | 0
365 | 3/4 inch by 3000 feet Pull Line Measuring Tape | Dottie | DWP3002 |  | each | 10 | 0 | 0 | 10 | 0 | 0
366 | 2 inch by 2 inch by 10 feet Flextray Electroplated Zinc Galvanized Finish 10 feet Length | Cooper B-Line | FT2X2X10 ELG |  | each | 10 | 0 | 0 | 10 | 0 | 0
367 | 2 inch by 4 inch by 10 feet Flextray Electroplated Zinc Galvanized Finish 10 feet Length | Cooper B-Line | FT2X4X10 ELG |  | each | 10 | 0 | 0 | 10 | 0 | 0
368 | 2 inch by 6 inch by 10 feet Flextray Electroplated Zinc Galvanized Finish 10 feet Length | Cooper B-Line | FT2X6X10 ELG |  | each | 10 | 0 | 0 | 10 | 0 | 0
369 | Shelf Bracket For Use with 6 inch Flextray Galvanized finish | Cooper B-Line | FTB06CS |  | each | 10 | 0 | 0 | 10 | 0 | 0
370 | L Bracket for use with 4 inch Flextray, Electroplated Zinc Galvanized Finish | Cooper B-Line | 4 L BRKT |  | each | 10 | 0 | 0 | 10 | 0 | 0
371 | L Bracket for use with 6 inch or 8 inch Flextray, Electroplated Zinc Galvanized Finish | Cooper B-Line | 8 L BRKT |  | each | 10 | 0 | 0 | 10 | 0 | 0
372 | Wall Support Bracket for use with 2 inch and 4 inch wide Flextray, Galvanized Finish 10 pieces Per box | Cooper B-Line | FTA100CC |  | each | 10 | 0 | 0 | 10 | 0 | 0
373 | Installs on 4 inch or 6 inch Flextray, Protects Cable Radii | Cooper B-Line | CABLE ROLLER |  | each | 10 | 0 | 0 | 10 | 0 | 0
374 | Drop Out Fitting For Use With 4 inch or 6 inch FLEXTRAY, Electroplated Zinc Galvanized Finish, 50 pieces per Box | Cooper B-Line | DROP OUT |  | each | 10 | 0 | 0 | 10 | 0 | 0
375 | Radius Shield for use with 2 inch Deep Flextray, 50 pieces per Box | Cooper B-Line | FTA2RS |  | each | 10 | 0 | 0 | 10 | 0 | 0
376 | Rubber Cap For Flextray Ends 100 pieces Per box | Cooper B-Line | B719EB |  | Box | 10 | 0 | 0 | 10 | 0 | 0
377 | Flextray Cutter | Cooper B-Line | CLEANSHEAR |  | each | 10 | 0 | 0 | 10 | 0 | 0
378 | 0.50 inches by 10 feet LD RACEWAY (WHITE) | Panduit | LD3WH10-A |  | each | 5 | 0 | 0 | 5 | 0 | 0
379 | LD3 COUPLER (WHITE) | Panduit | CF3WH-E |  | each | 5 | 0 | 0 | 5 | 0 | 0
380 | LD3 INSIDE CORNER (WHITE) | Panduit | ICFC3WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
381 | LD3 OUTSIDE CORNER (WHITE) | Panduit | OCFX3WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
382 | LD3 RIGHT ANGLE (WHITE) | Panduit | RAFC3WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
383 | LD3 END CAP (WHITE) | Panduit | ECF3WH-E |  | each | 10 | 0 | 0 | 5 | 0 | 0
384 | LD3 TEE FITTING (WHITE) | Panduit | TFC3WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
385 | LD3 DROP CEILING (WHITE) | Panduit | DCF3WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
386 | 0.70 inches by 10 Feet LD RACEWAY (WHITE) | Panduit | LD5WH10-A |  | each | 10 | 0 | 0 | 5 | 0 | 0
387 | LD5 COUPLER (WHITE) | Panduit | CF5WH-E |  | each | 10 | 0 | 0 | 5 | 0 | 0
388 | LD5 INSIDE CORNER (WHITE) | Panduit | ICFC5WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
389 | LD5 OUTSIDE CORNER (WHITE) | Panduit | OCFX5WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
390 | LD5 RIGHT ANGLE (WHITE) | Panduit | RAFC5WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
391 | LD5 END CAP (WHITE) | Panduit | ECF5WH-E |  | each | 10 | 0 | 0 | 5 | 0 | 0
392 | LD5 TEE FITTING (WHITE) | Panduit | TFC5WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
393 | LD5 DROP CEILING (WHITE) | Panduit | DCF5WH-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
394 | 1.00 inch by 6 feet LD RACEWAY (ELECTRICAL IVORY) | Panduit | LD10EI6-A |  | each | 10 | 0 | 0 | 5 | 0 | 0
395 | LD10 COUPLER (ELECTRICAL IVORY) | Panduit | CF10EI-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
396 | LD10 INSIDE CORNER (ELECTRICAL IVORY) | Panduit | ICFC10EI-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
397 | LD10 OUTSIDE CORNER (ELECTRICAL IVORY) | Panduit | OCFC10EI-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
398 | LD10 RIGHT ANGLE (ELECTRICAL IVORY) | Panduit | RAFC10EI-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
399 | LD10 END CAP (ELECTRICAL IVORY) | Panduit | ECF10EI-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
400 | LD10 TEE FITTING (ELECTRICAL IVORY) | Panduit | TFC10EI-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
401 | LD10 DROP CEILING (ELECTRICAL IVORY) | Panduit | DCF10EI-X |  | each | 10 | 0 | 0 | 5 | 0 | 0
402 | SINGLE GANG JUNCTION BOX, DEEP | Panduit | JB1DEI-A |  | each | 10 | 0 | 0 | 5 | 0 | 0
403 | DOUBLE GANG JUNCTION BOX, DEEP | Panduit | JBP1DEI |  | each | 10 | 0 | 0 | 5 | 0 | 0
404 | Slit Wall Corrugated Loom Tubing, Yellow, 100 foot by .50 inch Diameter | Panduit | CLT50F-C4 |  | each | 10 | 0 | 0 | 5 | 0 | 0
405 | Slit Wall Corrugated Loom Tubing, Black, 100 foot Length by .76 inch Diameter | Panduit | CLT75F-C20 |  | each | 10 | 0 | 0 | 5 | 0 | 0
406 | Slit Wall Corrugated Loom Tubing, Black, 100 foot Length by .92 inch Diameter | Panduit | CLT100F-C20 |  | each | 10 | 0 | 0 | 5 | 0 | 0
407 | Slit Wall Corrugated Loom Tubing, Yellow, 100 foot, .75 inch Diameter | Panduit | CLT75F-C4 |  | each | 10 | 0 | 0 | 5 | 0 | 0
408 | Scotch® Vinyl Electrical Color Coding Tape, 20-feet by 1/2-inch, White | 3M | 35-WHITE-1/2X20FT |  | each | 10 | 0 | 0 | 5 | 0 | 0
409 | Temflex™ Electrical Tape, Black, 3/4 inch by 36 yards | 3M | 1700-3/4X36YD-1.5CORE |  | each | 10 | 0 | 0 | 5 | 0 | 0
410 | Straight Snap2IT Non-Metallic Push-On Connector 25 Pack | Arlington | NMLT10 |  | each | 10 | 0 | 0 | 5 | 0 | 0
411 | 90° SNAP2IT Non-Metallic Push-On Connector 25 Pack | Arlington | NMLT9010 |  | each | 10 | 0 | 0 | 5 | 0 | 0
412 | 2-GANG Weatherproof Deep Box, 5 in 1 Threaded Outlets | Hubbel/Bell | 5389-0 |  | each | 10 | 0 | 0 | 5 | 0 | 0
413 | Eaton Crouse-Hinds series RE reducer, Rigid/IMC, End 1: 1 Inch NPT, End 2: 3/4 Inch NPT | Eaton | RE32 |  | each | 10 | 0 | 0 | 5 | 0 | 0
414 | Junction Box 2 (2 inch by 4 inch by 2 inch) ORDERED BY CARTON QUANTITY ONLY (40 each Per carton ) IVORY | Hellermann-Tyton | TSRI-JB2 |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
415 | Junction Box 3 (4 inch by 4 inch by 2 inch) ORDERED BY CARTON QUANTITY ONLY (25 each Per carton) IVORY | Hellermann-Tyton | TSRI-JBD2 |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
416 | Junction Box 2 (2 inch by 4 inch by 2 inch) ORDERED BY CARTON QUANTITY ONLY (40 each Per carton ) OFFICE WHITE | Hellermann-Tyton | TSRW-JB2 |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
417 | Junction Box 3 (4 inch by 4 inch by 2 inch) ORDERED BY CARTON QUANTITY ONLY (25 each Per carton) OFFICE WHITE | Hellermann-Tyton | TSRW-JBD2 |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
418 | Raceway (6 foot by 3/4 inch stick) ORDERED BY CARTON QUANTITY ONLY (120 feet per carton) IVORY | Hellermann-Tyton | TSR1I-6A |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
419 | Raceway (6 foot by 1-1/4 inch stick) ORDERED BY CARTON QUANTITY ONLY (120 feet per carton) IVORY | Hellermann-Tyton | TSR2I-6A |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
420 | Raceway (6 foot by 1-3/4 inch stick) ORDERED BY CARTON QUANTITY ONLY (120 feet per carton) IVORY | Hellermann-Tyton | TSR3I-6A |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
421 | Raceway (6 foot by 3/4 inch stick) ORDERED BY CARTON QUANTITY ONLY (120 feet per carton) OFFICE WHITE | Hellermann-Tyton | TSR1FW-6A |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
422 | Raceway (6 foot by 1-1/4 inch stick) ORDERED BY CARTON QUANTITY ONLY (120 feet per carton) OFFICE WHITE | Hellermann-Tyton | TSR2FW-6A |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
423 | Raceway (6 foot by 1-3/4 inch stick) ORDERED BY CARTON QUANTITY ONLY (120 feet per carton) OFFICE WHITE | Hellermann-Tyton | TSR3FW-6A |  | Carton | 10 | 0 | 0 | 5 | 0 | 0
* Unit Bid Price shall be FOB (Free on Board) destination and shall include labor, equipment, materials, transportation, overhead, profit, insurance, warranty, shipping, all applicable taxes and any other incidental and operational expenses incurred in the performance of all obligations hereunder. Unit Bid Price shall be the all-inclusive cost to the STATE and no other charges will be honored. In case of error in extension of bid price, unit bid price shall govern. • Oahu: each Item will be awarded per line Item, to the lowest Total Bid Price per Item. • Hawaii, Maui, Molokai-Lanai and Kauai: each Item will be awarded per line Item, to the lowest Total Bid Price per Item. Refer to IFB Special Conditions Number 13, Bid Price.