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Unit 3L wall
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[bookmark: _GoBack]Unit 3L & 3R share a wall both wet and mold.
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Unit 3R closet wall
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Unit 3L under vanity
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Water heater room where mold penetrated into bathroom wall
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Unit 3L only this wall as the wall behind the toilet was dry
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Unit 3L need to replace tile area. Found mold and dripping shower valve.
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