# SIDEWALKS & STORMWATER BASIN REPAIRS IN KAPOLEI

# KAPOLEI, ISLAND OF OAHU

# IFB-22-HHL-015

Pre-bid Conference Minutes and Site Visit

Pre-bid Conference:  9:00 a.m., Tuesday, October 5, 2021

Site Visit:  1:00 p.m., Tuesday, October 5, 2021

The Pre-bid Conference was held online via Microsoft Teams.  Meeting commenced at 9:00 am.  In attendance at this meeting was Kehaulani Quartero, DHHL and Mark Rau, Hawaii Engineering Group. The companies represented at the meeting were:

- RHSD

- CC Engineering and Construction

- Close Construction

- Hawaii Works

- Global Specialty

Kehaulani Quartero went over the project summary (see Attachment 1 for project summary.)  Summary included Introductions, Purpose. Scope of Work, Procurement reminders, Completion Schedule and Liquidated Damages, and Deadlines.

A site visit was conducted by Kehaulani Quartero and Mark Rau to familiarize prospective bidders with the current site conditions.

Questions and Answers:

Q:  Are there any irrigation lines on the sidewalks?

A:  The only area that has irrigation lines is in the Kaupea Subdivision on Kamaaha Avenue from Kapolei Parkway to Kualakai Street.

Q:  Will grass need to be restored?

A:  Any area disturbed shall be restored to original conditions.

Q:  Is there a staging area?

A:  There are no designated staging areas at this time.  There are possibilities to stage along Kaiau Ave for the Maluohai Subdivision, along Kamaaha Ave for the Kaupea Subdivison, and along Kinoiki Street for the Kanehili Subdivision.  The contractor would be responsible to secure the street usage permit to utilize these areas as a staging area.

Q:  What water sources can we tap off of?

A:   There are fire hydrants throughout all subdivisions. However please know that pursuant to Special Condition SC-10 WATER CHARGES AND REQUIREMENTS - The contractor is responsible for obtaining water to meet any requirements of the contract.  Any cost or fees to obtain water shall not be paid for separately but shall be incidental to the various contract items.

Q:  Do we need traffic control?

A:  Work zone traffic control shall be limited to the curbside area adjacent to the sidewalk and roadway shoulders. No full roadway closures will be permitted. Contractor is responsible to keep roads for public traffic open and in passable condition; providing and maintaining temporary access for affected driveways. Signage should be provided to redirect pedestrian traffic to alternative accessible routes.

Q:  Who is the project manager?

A:  The DHHL project manager will be Richard Speer.

Q:  Are electronic submittals acceptable?

A:  Yes electronic submittals will be acceptable.

Q:  For Bonding purposes, what is the range of the estimated contract amount?

A:  Estimated amount is $450,000 to $600,000.

Q:  Detail 5/S00-2; epoxy injection will not work because the backside (Bottom Side) of the crack is inaccessible.  We cannot “butter” the backside of the crack allowing the epoxy to run out, resulting in an ineffective repair.  We believe another repair method is necessary.

A:  Detail 5/S00-2 is reserved for repairs of cracks in the top slab of stormwater catch basins.

Site Visit Notes:

Q:  Detail 1/S0-03; Type F repair does not show additional reinforcing steel or doweling requirements. What is required?

A:  Any existing rebar shall be thoroughly cleaned to remove rust prior to concrete repairs. No additional rebar or doweling is anticipated.